|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	03src0862

Empirical formula 	C7H8S3

Formula weight 	188.31

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 8.01160(10) Å	a = 90°

b = 8.34090(10) Å	b = 90°

c = 12.2865(2) Å	g  = 90°

Volume	821.03(2) Å3

Z	4

Density (calculated)	1.523 Mg / m3

Absorption coefficient	0.819 mm-1

F(000)	392

Crystal	plate; colourless

Crystal size	0.45 ´ 0.28 ´ 0.10 mm3

q range for data collection	2.95 - 27.48°

Index ranges	-10 £ h £ 10, -10 £ k £ 9, -15 £ l £ 15

Reflections collected	9402

Independent reflections	1862 [Rint = 0.0508]

Completeness to q = 27.48°	99.7 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9226 and 0.7094

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1862 / 0 / 92

Goodness-of-fit on F2	1.049

Final R indices [F2 > 2s(F2)]	R1 = 0.0197, wR2 = 0.0495

R indices (all data)	R1 = 0.0202, wR2 = 0.0500

Absolute structure parameter	-0.01(7)

Extinction coefficient	0.027(3)

Largest diff. peak and hole	0.170 and -0.230 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33-37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421-426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	10289(2)	6918(2)	2556(1)	18(1)	1

C2	11585(2)	7071(2)	1660(1)	19(1)	1

C3	11488(2)	5864(2)	732(1)	16(1)	1

C4	7416(2)	5855(2)	1500(1)	14(1)	1

C5	8083(2)	5259(2)	494(1)	14(1)	1

C6	7179(2)	3998(2)	107(1)	18(1)	1

C7	6051(2)	5019(2)	1838(1)	17(1)	1

S1	8175(1)	7543(1)	2195(1)	16(1)	1

S2	9770(1)	6110(1)	-216(1)	16(1)	1

S3	5532(1)	3537(1)	936(1)	21(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-C2	1.519(2)

C1-S1	1.8266(15)

C1-H1A	0.9900

C1-H1B	0.9900

C2-C3	1.523(2)

C2-H2A	0.9900

C2-H2B	0.9900

C3-S2	1.8147(14)

C3-H3A	0.9900

C3-H3B	0.9900

C4-C7	1.362(2)

C4-C5	1.4349(18)

C4-S1	1.7553(14)

C5-C6	1.363(2)

C5-S2	1.7581(15)

C6-S3	1.7108(15)

C6-H6	0.9500

C7-S3	1.7108(15)

C7-H7	0.9500

C2-C1-S1	115.70(10)

C2-C1-H1A	108.4

S1-C1-H1A	108.4

C2-C1-H1B	108.4

S1-C1-H1B	108.4

H1A-C1-H1B	107.4

C1-C2-C3	116.86(12)

C1-C2-H2A	108.1

C3-C2-H2A	108.1

C1-C2-H2B	108.1

C3-C2-H2B	108.1

H2A-C2-H2B	107.3

C2-C3-S2	116.39(10)

C2-C3-H3A	108.2

S2-C3-H3A	108.2

C2-C3-H3B	108.2

S2-C3-H3B	108.2

H3A-C3-H3B	107.3

C7-C4-C5	112.60(12)

C7-C4-S1	122.74(11)

C5-C4-S1	124.56(11)

C6-C5-C4	111.71(13)

C6-C5-S2	123.14(11)

C4-C5-S2	125.03(11)

C5-C6-S3	112.04(11)

C5-C6-H6	124.0

S3-C6-H6	124.0

C4-C7-S3	111.57(11)

C4-C7-H7	124.2

S3-C7-H7	124.2

C4-S1-C1	102.16(7)

C5-S2-C3	102.64(6)

C7-S3-C6	92.06(7)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	19(1) 	18(1)	17(1) 	-1(1)	-3(1) 	-2(1)

C2	14(1) 	22(1)	19(1) 	0(1)	-2(1) 	-4(1)

C3	13(1) 	19(1)	18(1) 	2(1)	-1(1) 	1(1)

C4	15(1) 	15(1)	12(1) 	0(1)	-3(1) 	2(1)

C5	13(1) 	15(1)	13(1) 	0(1)	-2(1) 	2(1)

C6	15(1) 	21(1)	18(1) 	-2(1)	-3(1) 	3(1)

C7	16(1) 	18(1)	16(1) 	1(1)	0(1) 	1(1)

S1	19(1) 	15(1)	15(1) 	-3(1)	1(1) 	1(1)

S2	15(1) 	22(1)	12(1) 	2(1)	1(1) 	0(1)

S3	16(1) 	22(1)	25(1) 	-2(1)	-2(1) 	-4(1)