|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	00src001

Empirical formula 	C21H20O5S3

Formula weight 	448.55

Temperature 	293(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 12.732(3) Å	 = 90°

b = 13.131(3) Å	 = 96.88(3)°

c = 13.040(3) Å	  = 90°

Volume	2164.3(7) Å3

Z	4

Density (calculated)	1.377 Mg / m3

Absorption coefficient	0.372 mm1

F(000)	936

Crystal	block; yellow

Crystal size	0.3  0.25  0.1 mm3

 range for data collection	2.11  27.53°

Index ranges	16  h  16, 15  k  17, 13  l  16

Reflections collected	16442

Independent reflections	4938 [Rint = 0.0533]

Completeness to  = 27.53°	99.2 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.970 and 0.856

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4938 / 0 / 266

Goodness-of-fit on F2	0.991

Final R indices [F2 > 2(F2)]	R1 = 0.0493, wR2 = 0.1220

R indices (all data)	R1 = 0.1006, wR2 = 0.1432

Largest diff. peak and hole	0.226 and 0.337 e Å3

Diffractometer: Enraf Nonius KappaCCD area detector ( scans and  scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Program used to solve structure:

SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Program used to refine structure: SHELXL97 (G. M. Sheldrick

(1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

S1	10440(1)	1451(1)	4793(1)	83(1)	1

S2	8619(1)	1402(1)	6018(1)	59(1)	1

S3	8249(1)	1089(1)	3811(1)	53(1)	1

O1	6645(2)	1493(2)	7068(2)	82(1)	1

O2	6184(1)	974(1)	3568(1)	55(1)	1

O3	6451(2)	876(1)	21(1)	72(1)	1

O4	3897(1)	1334(1)	3655(1)	54(1)	1

O5	4037(1)	4941(1)	3561(2)	69(1)	1

C1	9174(2)	1329(2)	4882(2)	54(1)	1

C2	7309(2)	1244(2)	5478(2)	47(1)	1

C3	7130(2)	1115(1)	4441(2)	42(1)	1

C4	6479(2)	1302(2)	6157(2)	58(1)	1

C5	6053(2)	1081(1)	3798(2)	43(1)	1

C6	6133(2)	606(2)	2740(2)	44(1)	1

C7	6208(2)	450(2)	2661(2)	45(1)	1

C8	6303(2)	910(2)	1727(2)	51(1)	1

C9	6347(2)	321(2)	852(2)	54(1)	1

C10	6270(2)	727(2)	907(2)	59(1)	1

C11	6150(2)	1172(2)	1842(2)	54(1)	1

C12	6322(3)	2036(2)	3543(2)	90(1)	1

C13	6506(3)	322(2)	955(2)	88(1)	1

C14	5546(2)	2138(2)	3743(2)	44(1)	1

C15	4448(2)	2229(2)	3674(2)	41(1)	1

C16	3975(2)	3180(2)	3630(2)	46(1)	1

C17	4593(2)	4048(2)	3626(2)	49(1)	1

C18	5671(2)	3980(2)	3688(2)	60(1)	1

C19	6128(2)	3020(2)	3754(2)	61(1)	1

C20	2768(2)	1391(2)	3551(3)	76(1)	1

C21	4610(2)	5859(2)	3486(2)	78(1)	1

Table 3. Bond lengths [Å] and angles [°].

S1C1	1.637(2)

S2C1	1.718(3)

S2C2	1.744(2)

S3C3	1.727(2)

S3C1	1.745(3)

O1C4	1.208(3)

O2C7	1.371(3)

O2C12	1.406(3)

O3C9	1.371(3)

O3C13	1.428(3)

O4C15	1.368(2)

O4C20	1.430(3)

O5C17	1.368(2)

O5C21	1.419(3)

C2C3	1.355(3)

C2C4	1.459(3)

C3C5	1.520(3)

C5C14	1.528(3)

C5C6	1.528(3)

C6C11	1.390(3)

C6C7	1.395(3)

C7C8	1.377(3)

C8C9	1.385(3)

C9C10	1.383(3)

C10C11	1.378(3)

C14C19	1.374(3)

C14C15	1.396(3)

C15C16	1.384(3)

C16C17	1.385(3)

C17C18	1.368(3)

C18C19	1.387(3)

C1S2C2	96.80(12)

C3S3C1	97.59(11)

C7O2C12	117.48(18)

C9O3C13	117.2(2)

C15O4C20	117.62(17)

C17O5C21	117.8(2)

S1C1S2	124.47(16)

S1C1S3	122.46(16)

S2C1S3	113.06(13)

C3C2C4	124.4(2)

C3C2S2	117.07(18)

C4C2S2	118.46(18)

C2C3C5	125.9(2)

C2C3S3	115.35(17)

C5C3S3	118.55(16)

O1C4C2	123.6(3)

C3C5C14	110.32(16)

C3C5C6	110.90(17)

C14C5C6	113.72(17)

C11C6C7	117.5(2)

C11C6C5	123.45(19)

C7C6C5	119.05(19)

O2C7C8	123.80(19)

O2C7C6	115.21(19)

C8C7C6	121.0(2)

C7C8C9	120.1(2)

O3C9C10	125.9(2)

O3C9C8	113.9(2)

C10C9C8	120.2(2)

C11C10C9	119.0(2)

C10C11C6	122.2(2)

C19C14C15	117.58(19)

C19C14C5	122.73(19)

C15C14C5	119.69(17)

O4C15C16	123.74(19)

O4C15C14	115.76(17)

C16C15C14	120.50(18)

C15C16C17	119.9(2)

O5C17C18	124.6(2)

O5C17C16	114.6(2)

C18C17C16	120.8(2)

C17C18C19	118.3(2)

C14C19C18	122.9(2)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

S1	38(1) 	103(1)	112(1) 	11(1)	14(1) 	6(1)

S2	44(1) 	73(1)	58(1) 	3(1)	0(1) 	1(1)

S3	39(1) 	65(1)	57(1) 	1(1)	12(1) 	2(1)

O1	69(1) 	121(2)	57(1) 	15(1)	15(1) 	3(1)

O2	72(1) 	43(1)	52(1) 	5(1)	14(1) 	6(1)

O3	74(1) 	94(1)	50(1) 	10(1)	11(1) 	5(1)

O4	33(1) 	48(1)	82(1) 	2(1)	5(1) 	5(1)

O5	57(1) 	44(1)	106(2) 	2(1)	7(1) 	10(1)

C1	36(1) 	55(1)	69(2) 	0(1)	6(1) 	3(1)

C2	40(1) 	49(1)	52(2) 	0(1)	7(1) 	0(1)

C3	36(1) 	38(1)	52(2) 	3(1)	10(1) 	2(1)

C4	51(2) 	67(2)	55(2) 	6(1)	10(1) 	1(1)

C5	31(1) 	41(1)	56(1) 	0(1)	8(1) 	0(1)

C6	34(1) 	46(1)	50(1) 	0(1)	5(1) 	0(1)

C7	38(1) 	47(1)	51(1) 	1(1)	7(1) 	2(1)

C8	46(1) 	50(1)	57(2) 	5(1)	10(1) 	4(1)

C9	38(1) 	73(2)	51(2) 	4(1)	7(1) 	4(1)

C10	54(2) 	73(2)	50(2) 	12(1)	7(1) 	0(1)

C11	51(2) 	50(1)	61(2) 	6(1)	5(1) 	2(1)

C12	147(3) 	48(2)	80(2) 	11(1)	34(2) 	16(2)

C13	77(2) 	134(3)	57(2) 	8(2)	23(2) 	16(2)

C14	36(1) 	44(1)	51(1) 	2(1)	7(1) 	0(1)

C15	38(1) 	45(1)	39(1) 	2(1)	8(1) 	4(1)

C16	34(1) 	53(1)	50(1) 	2(1)	5(1) 	4(1)

C17	45(1) 	45(1)	56(2) 	5(1)	4(1) 	6(1)

C18	44(2) 	43(1)	91(2) 	3(1)	4(1) 	5(1)

C19	35(1) 	50(1)	99(2) 	0(1)	8(1) 	2(1)

C20	38(2) 	67(2)	123(3) 	5(2)	8(2) 	10(1)

C21	88(2) 	45(1)	100(2) 	4(1)	1(2) 	4(1)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H4	5784	1187	5872	69	1

H5	5601	635	4158	51	1

H8	6337	1616	1684	61	1

H10	6299	1126	321	71	1

H11	6078	1876	1874	65	1

H12A	5820	2324	3013	135	1

H12B	6212	2321	4200	135	1

H12C	7026	2188	3398	135	1

H13A	5914	134	1070	132	1

H13B	6489	790	1523	132	1

H13C	7152	62	900	132	1

H16	3244	3235	3603	55	1

H18	6086	4562	3686	72	1

H19	6861	2971	3807	73	1

H20A	2549	1710	4153	114	1

H20B	2476	717	3480	114	1

H20C	2521	1785	2950	114	1

H21A	5158	5906	4058	118	1

H21B	4140	6429	3499	118	1

H21C	4922	5863	2851	118	1