|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005src1028   (SeF4)

Empirical formula 	C26H30F4Se2

Formula weight 	576.42

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P-1

Unit cell dimensions	a = 5.3882(3) Å	a = 115.884(3)°

b = 10.8855(7) Å	b = 103.172(4)°

c = 11.6244(7) Å	g  = 93.878(4)°

Volume	586.30(6) Å3

Z	1

Density (calculated)	1.633 Mg / m3

Absorption coefficient	3.197 mm-1

F(000)	290

Crystal	blade; colourless

Crystal size	0.24 ´ 0.04 ´ 0.01 mm3

q range for data collection	3.55 - 27.50°

Index ranges	-6 £ h £ 6, -14 £ k £ 14, -15 £ l £ 15

Reflections collected	12155

Independent reflections	2676 [Rint = 0.0520]

Completeness to q = 27.50°	99.8 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9687 and 0.5142

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2676 / 0 / 146

Goodness-of-fit on F2	1.072

Final R indices [F2 > 2s(F2)]	R1 = 0.0331, wR2 = 0.0804

R indices (all data)	R1 = 0.0389, wR2 = 0.0832

Largest diff. peak and hole	0.461 and -0.594 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33-37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421-426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Se1	14019(1)	5914(1)	7584(1)	25(1)	1

F1	18984(3)	6994(1)	9271(2)	25(1)	1

F2	16568(3)	2618(1)	9071(2)	25(1)	1

C1	17488(4)	4785(2)	9061(2)	18(1)	1

C2	19412(5)	5975(2)	9611(2)	19(1)	1

C3	18214(4)	3821(2)	9509(2)	20(1)	1

C4	14927(4)	4565(2)	8105(2)	17(1)	1

C5	12980(5)	3430(2)	7496(2)	20(1)	1

C6	10712(4)	3497(3)	6620(2)	20(1)	1

C7	10869(5)	4702(3)	6537(3)	24(1)	1

C8	8415(5)	2303(3)	5878(2)	21(1)	1

C9	6266(5)	2456(3)	4869(2)	23(1)	1

C10	4058(5)	1193(3)	4115(2)	23(1)	1

C11	1891(5)	1323(3)	3099(3)	24(1)	1

C12	-275(5)	39(3)	2316(3)	24(1)	1

C13	-2401(5)	163(3)	1274(3)	29(1)	1

Table 3. Bond lengths [Å] and angles [°].

Se1-C7	1.859(3)

Se1-C4	1.871(2)

F1-C2	1.347(3)

F2-C3	1.348(3)

C1-C2	1.398(3)

C1-C3	1.402(3)

C1-C4	1.490(3)

C2-C3i	1.378(3)

C3-C2i	1.378(3)

C4-C5	1.360(3)

C5-C6	1.430(3)

C5-H5	0.9500

C6-C7	1.355(4)

C6-C8	1.511(3)

C7-H7	0.9500

C8-C9	1.524(3)

C8-H8A	0.9900

C8-H8B	0.9900

C9-C10	1.525(3)

C9-H9A	0.9900

C9-H9B	0.9900

C10-C11	1.522(3)

C10-H10A	0.9900

C10-H10B	0.9900

C11-C12	1.526(3)

C11-H11A	0.9900

C11-H11B	0.9900

C12-C13	1.526(4)

C12-H12A	0.9900

C12-H12B	0.9900

C13-H13A	0.9800

C13-H13B	0.9800

C13-H13C	0.9800

C7-Se1-C4	86.97(11)

C2-C1-C3	112.9(2)

C2-C1-C4	123.7(2)

C3-C1-C4	123.4(2)

F1-C2-C3i	116.7(2)

F1-C2-C1	119.5(2)

C3i-C2-C1	123.8(2)

F2-C3-C2i	116.5(2)

F2-C3-C1	120.2(2)

C2i-C3-C1	123.3(2)

C5-C4-C1	127.6(2)

C5-C4-Se1	110.85(17)

C1-C4-Se1	121.58(17)

C4-C5-C6	115.9(2)

C4-C5-H5	122.1

C6-C5-H5	122.1

C7-C6-C5	113.6(2)

C7-C6-C8	125.2(2)

C5-C6-C8	121.2(2)

C6-C7-Se1	112.69(18)

C6-C7-H7	123.7

Se1-C7-H7	123.7

C6-C8-C9	115.2(2)

C6-C8-H8A	108.5

C9-C8-H8A	108.5

C6-C8-H8B	108.5

C9-C8-H8B	108.5

H8A-C8-H8B	107.5

C8-C9-C10	112.6(2)

C8-C9-H9A	109.1

C10-C9-H9A	109.1

C8-C9-H9B	109.1

C10-C9-H9B	109.1

H9A-C9-H9B	107.8

C11-C10-C9	113.5(2)

C11-C10-H10A	108.9

C9-C10-H10A	108.9

C11-C10-H10B	108.9

C9-C10-H10B	108.9

H10A-C10-H10B	107.7

C10-C11-C12	113.3(2)

C10-C11-H11A	108.9

C12-C11-H11A	108.9

C10-C11-H11B	108.9

C12-C11-H11B	108.9

H11A-C11-H11B	107.7

C13-C12-C11	112.9(2)

C13-C12-H12A	109.0

C11-C12-H12A	109.0

C13-C12-H12B	109.0

C11-C12-H12B	109.0

H12A-C12-H12B	107.8

C12-C13-H13A	109.5

C12-C13-H13B	109.5

H13A-C13-H13B	109.5

C12-C13-H13C	109.5

H13A-C13-H13C	109.5

H13B-C13-H13C	109.5

Symmetry transformations used to generate equivalent atoms:

(i) -x+4,-y+1,-z+2

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Se1	21(1) 	22(1)	29(1) 	14(1)	0(1) 	0(1)

F1	22(1) 	20(1)	31(1) 	15(1)	0(1) 	1(1)

F2	20(1) 	19(1)	30(1) 	12(1)	-2(1) 	-3(1)

C1	16(1) 	21(1)	15(1) 	6(1)	4(1) 	2(1)

C2	21(1) 	17(1)	19(1) 	8(1)	6(1) 	4(1)

C3	20(1) 	16(1)	19(1) 	6(1)	5(1) 	-1(1)

C4	17(1) 	17(1)	14(1) 	5(1)	8(1) 	4(1)

C5	20(1) 	20(1)	21(1) 	10(1)	6(1) 	5(1)

C6	17(1) 	23(1)	19(1) 	8(1)	5(1) 	3(1)

C7	20(1) 	27(1)	24(1) 	12(1)	2(1) 	3(1)

C8	18(1) 	22(1)	21(1) 	9(1)	3(1) 	2(1)

C9	18(1) 	26(1)	22(1) 	10(1)	4(1) 	1(1)

C10	19(1) 	24(1)	23(1) 	10(1)	4(1) 	3(1)

C11	19(1) 	26(1)	24(1) 	11(1)	4(1) 	3(1)

C12	17(1) 	23(1)	26(1) 	9(1)	0(1) 	1(1)

C13	23(1) 	30(1)	29(1) 	13(1)	-1(1) 	1(1)