|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2009src1319

Empirical formula 	C27H21NO

Formula weight 	375.45

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 10.1895(10) Å	 = 102.487(5)°

b = 11.4764(16) Å	 = 96.931(8)°

c = 17.763(3) Å	  = 101.360(8)°

Volume	1959.1(4) Å3

Z	4

Density (calculated)	1.273 Mg / m3

Absorption coefficient	0.077 mm1

F(000)	792

Crystal	block; yellow

Crystal size	0.41  0.07  0.05 mm3

 range for data collection	3.01  25.00°

Index ranges	12  h  11, 13  k  13, 21  l  21

Reflections collected	30858

Independent reflections	6734 [Rint = 0.1570]

Completeness to  = 25.00°	97.7 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9962 and 0.9692

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6734 / 0 / 523

Goodness-of-fit on F2	1.063

Final R indices [F2 > 2(F2)]	R1 = 0.1077, wR2 = 0.2145

R indices (all data)	R1 = 0.1912, wR2 = 0.2550

Largest diff. peak and hole	0.258 and 0.278 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS (Sheldrick, G. M. (2007). SADABS. Version 2007/2. Bruker AXS Inc., Madison, Wisconsin, USA.). Structure solution: SHELXS97 (Sheldrick, G.M. (2008). Acta Cryst. A64, 112-122.). Structure refinement: SHELXL97 (G Sheldrick, G.M. (2008). Acta Cryst. A64, 112-122.). Graphics: CAMERON (Watkin, D. M., Pearce, L. & Prout, C. K. (1993). Chemical Crystallography Lab, University of Oxford)

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

O1	12530(4)	3513(4)	6117(3)	67(1)	1

N1	9034(4)	2971(3)	1396(3)	44(1)	1

C1	8600(4)	4080(4)	1580(3)	37(1)	1

C2	7939(4)	4348(4)	2209(3)	44(1)	1

C3	7479(5)	5426(5)	2371(3)	52(1)	1

C4	7639(6)	6214(5)	1884(4)	61(2)	1

C5	8303(5)	5963(4)	1263(4)	55(2)	1

C6	8777(5)	4892(4)	1100(3)	50(1)	1

C7	9042(5)	2381(4)	604(3)	42(1)	1

C8	7916(5)	2187(4)	21(3)	47(1)	1

C9	7937(5)	1595(4)	746(3)	47(1)	1

C10	9063(5)	1182(4)	927(3)	44(1)	1

C11	10163(5)	1363(4)	363(3)	44(1)	1

C12	10164(4)	1964(4)	397(3)	42(1)	1

C13	9334(4)	2334(4)	1968(3)	40(1)	1

C14	8885(4)	1052(4)	1776(3)	40(1)	1

C15	9191(4)	394(4)	2314(3)	44(1)	1

C16	9923(4)	961(4)	3052(3)	41(1)	1

C17	10332(4)	2244(4)	3249(3)	41(1)	1

C18	10047(5)	2910(4)	2710(3)	45(1)	1

C19	10344(4)	276(4)	3614(3)	42(1)	1

C20	10275(4)	925(4)	3457(3)	43(1)	1

C21	10699(4)	1642(4)	3985(3)	40(1)	1

C22	10496(5)	2902(4)	3713(3)	47(1)	1

C23	10850(5)	3614(4)	4202(3)	49(1)	1

C24	11443(5)	3096(4)	4976(3)	42(1)	1

C25	11681(4)	1834(4)	5253(3)	47(1)	1

C26	11306(5)	1115(4)	4769(3)	44(1)	1

C27	11836(5)	3878(5)	5476(4)	54(1)	1

O101	12979(4)	4412(3)	4309(3)	67(1)	1

N101	16030(4)	2947(3)	8635(3)	44(1)	1

C101	16446(4)	4042(4)	8341(3)	41(1)	1

C102	16045(5)	4651(5)	7565(4)	54(1)	1

C103	16457(6)	5708(5)	7259(4)	65(2)	1

C104	17248(6)	6188(5)	7737(5)	67(2)	1

C105	17627(5)	5595(5)	8513(4)	57(2)	1

C106	17252(4)	4522(4)	8824(4)	48(1)	1

C107	15825(4)	2582(4)	9419(3)	41(1)	1

C108	15298(5)	3438(4)	9814(3)	45(1)	1

C109	15146(5)	3070(5)	10582(3)	48(1)	1

C110	15453(4)	1839(5)	10961(3)	46(1)	1

C111	15905(4)	988(4)	10554(3)	45(1)	1

C112	16113(4)	1343(4)	9798(3)	41(1)	1

C113	15826(4)	2158(4)	8134(3)	39(1)	1

C114	14631(4)	1735(4)	8065(3)	42(1)	1

C115	14438(4)	984(4)	7575(3)	40(1)	1

C116	15424(4)	594(4)	7154(3)	42(1)	1

C117	16614(4)	1024(4)	7230(3)	43(1)	1

C118	16827(5)	1782(4)	7711(3)	43(1)	1

C119	15283(5)	207(4)	6633(3)	42(1)	1

C120	14254(5)	742(4)	6495(3)	43(1)	1

C121	14140(4)	1505(4)	5939(3)	42(1)	1

C122	13110(5)	2148(4)	5937(3)	47(1)	1

C123	12980(5)	2889(4)	5420(3)	49(1)	1

C124	13887(5)	3009(4)	4909(3)	44(1)	1

C125	14895(5)	2363(4)	4904(3)	44(1)	1

C126	15028(5)	1626(4)	5408(3)	46(1)	1

C127	13811(5)	3814(4)	4365(3)	52(1)	1

Table 3. Bond lengths [Å] and angles [°].

O1C27	1.205(7)

N1C13	1.412(6)

N1C1	1.413(6)

N1C7	1.425(6)

C1C2	1.383(7)

C1C6	1.394(7)

C2C3	1.393(7)

C2H2	0.9500

C3C4	1.381(8)

C3H3	0.9500

C4C5	1.370(8)

C4H4	0.9500

C5C6	1.394(7)

C5H5	0.9500

C6H6	0.9500

C7C12	1.382(6)

C7C8	1.397(7)

C8C9	1.389(7)

C8H8	0.9500

C9C10	1.372(6)

C9H9	0.9500

C10C11	1.361(7)

C10H10	0.9500

C11C12	1.377(7)

C11H11	0.9500

C12H12	0.9500

C13C18	1.380(7)

C13C14	1.404(6)

C14C15	1.383(6)

C14H14	0.9500

C15C16	1.380(7)

C15H15	0.9500

C16C17	1.402(6)

C16C19	1.472(6)

C17C18	1.386(6)

C17H17	0.9500

C18H18	0.9500

C19C20	1.331(6)

C19H19	0.9500

C20C21	1.456(6)

C20H20	0.9500

C21C22	1.387(6)

C21C26	1.403(7)

C22C23	1.378(7)

C22H22	0.9500

C23C24	1.384(7)

C23H23	0.9500

C24C25	1.387(6)

C24C27	1.468(7)

C25C26	1.384(6)

C25H25	0.9500

C26H26	0.9500

C27H27	0.9500

O101C127	1.199(5)

N101C101	1.418(6)

N101C107	1.418(6)

N101C113	1.426(6)

C101C102	1.375(7)

C101C106	1.389(7)

C102C103	1.384(7)

C102H102	0.9500

C103C104	1.372(8)

C103H103	0.9500

C104C105	1.370(9)

C104H104	0.9500

C105C106	1.382(7)

C105H105	0.9500

C106H106	0.9500

C107C108	1.388(6)

C107C112	1.391(7)

C108C109	1.375(7)

C108H108	0.9500

C109C110	1.383(7)

C109H109	0.9500

C110C111	1.377(7)

C110H110	0.9500

C111C112	1.370(7)

C111H111	0.9500

C112H112	0.9500

C113C118	1.393(6)

C113C114	1.398(6)

C114C115	1.374(6)

C114H114	0.9500

C115C116	1.386(6)

C115H115	0.9500

C116C117	1.398(6)

C116C119	1.453(7)

C117C118	1.373(6)

C117H117	0.9500

C118H118	0.9500

C119C120	1.338(6)

C119H119	0.9500

C120C121	1.464(7)

C120H120	0.9500

C121C126	1.394(7)

C121C122	1.398(6)

C122C123	1.391(7)

C122H122	0.9500

C123C124	1.380(7)

C123H123	0.9500

C124C125	1.380(6)

C124C127	1.479(7)

C125C126	1.371(6)

C125H125	0.9500

C126H126	0.9500

C127H127	0.9500

C13N1C1	122.0(4)

C13N1C7	116.9(4)

C1N1C7	120.7(4)

C2C1C6	119.1(4)

C2C1N1	121.1(4)

C6C1N1	119.8(5)

C1C2C3	120.5(5)

C1C2H2	119.7

C3C2H2	119.7

C4C3C2	119.9(6)

C4C3H3	120.1

C2C3H3	120.1

C5C4C3	120.0(5)

C5C4H4	120.0

C3C4H4	120.0

C4C5C6	120.5(5)

C4C5H5	119.8

C6C5H5	119.8

C5C6C1	119.9(5)

C5C6H6	120.0

C1C6H6	120.0

C12C7C8	118.3(5)

C12C7N1	120.4(4)

C8C7N1	121.3(4)

C9C8C7	120.4(5)

C9C8H8	119.8

C7C8H8	119.8

C10C9C8	119.6(5)

C10C9H9	120.2

C8C9H9	120.2

C11C10C9	120.5(5)

C11C10H10	119.8

C9C10H10	119.8

C10C11C12	120.5(4)

C10C11H11	119.8

C12C11H11	119.8

C11C12C7	120.7(5)

C11C12H12	119.6

C7C12H12	119.6

C18C13C14	118.1(4)

C18C13N1	123.2(4)

C14C13N1	118.6(5)

C15C14C13	120.3(5)

C15C14H14	119.9

C13C14H14	119.9

C16C15C14	121.9(4)

C16C15H15	119.0

C14C15H15	119.0

C15C16C17	117.5(4)

C15C16C19	122.9(4)

C17C16C19	119.6(5)

C18C17C16	121.0(5)

C18C17H17	119.5

C16C17H17	119.5

C13C18C17	121.2(5)

C13C18H18	119.4

C17C18H18	119.4

C20C19C16	126.0(5)

C20C19H19	117.0

C16C19H19	117.0

C19C20C21	128.3(5)

C19C20H20	115.9

C21C20H20	115.9

C22C21C26	117.7(4)

C22C21C20	119.5(5)

C26C21C20	122.8(4)

C23C22C21	121.0(5)

C23C22H22	119.5

C21C22H22	119.5

C22C23C24	121.3(5)

C22C23H23	119.4

C24C23H23	119.4

C23C24C25	118.4(4)

C23C24C27	119.8(5)

C25C24C27	121.7(5)

C26C25C24	120.6(5)

C26C25H25	119.7

C24C25H25	119.7

C25C26C21	120.9(5)

C25C26H26	119.5

C21C26H26	119.5

O1C27C24	125.1(5)

O1C27H27	117.4

C24C27H27	117.4

C101N101C107	122.8(4)

C101N101C113	119.4(4)

C107N101C113	117.7(4)

C102C101C106	118.9(5)

C102C101N101	119.9(5)

C106C101N101	121.2(5)

C101C102C103	121.1(5)

C101C102H102	119.4

C103C102H102	119.4

C104C103C102	120.1(6)

C104C103H103	120.0

C102C103H103	120.0

C105C104C103	118.8(5)

C105C104H104	120.6

C103C104H104	120.6

C104C105C106	121.8(6)

C104C105H105	119.1

C106C105H105	119.1

C105C106C101	119.2(6)

C105C106H106	120.4

C101C106H106	120.4

C108C107C112	118.8(5)

C108C107N101	121.2(4)

C112C107N101	120.0(4)

C109C108C107	120.5(5)

C109C108H108	119.8

C107C108H108	119.8

C108C109C110	120.5(5)

C108C109H109	119.7

C110C109H109	119.7

C111C110C109	118.8(5)

C111C110H110	120.6

C109C110H110	120.6

C112C111C110	121.3(5)

C112C111H111	119.4

C110C111H111	119.4

C111C112C107	120.0(5)

C111C112H112	120.0

C107C112H112	120.0

C118C113C114	118.8(4)

C118C113N101	120.3(4)

C114C113N101	120.8(4)

C115C114C113	120.5(4)

C115C114H114	119.8

C113C114H114	119.8

C114C115C116	121.5(4)

C114C115H115	119.2

C116C115H115	119.2

C115C116C117	117.3(4)

C115C116C119	124.0(4)

C117C116C119	118.7(4)

C118C117C116	122.2(4)

C118C117H117	118.9

C116C117H117	118.9

C117C118C113	119.6(4)

C117C118H118	120.2

C113C118H118	120.2

C120C119C116	128.1(5)

C120C119H119	116.0

C116C119H119	116.0

C119C120C121	125.8(4)

C119C120H120	117.1

C121C120H120	117.1

C126C121C122	118.0(4)

C126C121C120	122.6(4)

C122C121C120	119.4(4)

C123C122C121	120.8(5)

C123C122H122	119.6

C121C122H122	119.6

C124C123C122	120.0(4)

C124C123H123	120.0

C122C123H123	120.0

C123C124C125	119.2(4)

C123C124C127	121.9(4)

C125C124C127	118.9(5)

C126C125C124	121.2(5)

C126C125H125	119.4

C124C125H125	119.4

C125C126C121	120.7(4)

C125C126H126	119.7

C121C126H126	119.7

O101C127C124	125.3(5)

O101C127H127	117.4

C124C127H127	117.4

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

O1	82(3) 	77(3)	52(3) 	31(2)	12(2) 	25(2)

N1	58(2) 	39(2)	44(3) 	16(2)	13(2) 	22(2)

C1	43(2) 	34(3)	36(3) 	9(2)	4(2) 	11(2)

C2	42(3) 	35(3)	52(4) 	8(2)	1(2) 	8(2)

C3	53(3) 	52(3)	47(4) 	7(3)	6(3) 	18(2)

C4	72(4) 	50(3)	59(4) 	6(3)	8(3) 	28(3)

C5	66(3) 	39(3)	59(4) 	22(3)	11(3) 	9(2)

C6	56(3) 	45(3)	50(4) 	17(3)	0(3) 	13(2)

C7	51(3) 	36(3)	43(4) 	17(3)	10(2) 	14(2)

C8	55(3) 	45(3)	49(4) 	23(3)	13(3) 	16(2)

C9	55(3) 	51(3)	37(4) 	14(3)	6(2) 	17(2)

C10	59(3) 	42(3)	38(3) 	14(3)	17(3) 	17(2)

C11	48(3) 	44(3)	45(4) 	16(3)	15(3) 	14(2)

C12	43(3) 	42(3)	47(4) 	19(3)	7(2) 	14(2)

C13	45(3) 	39(3)	43(3) 	15(3)	11(2) 	19(2)

C14	42(2) 	40(3)	44(3) 	16(3)	8(2) 	14(2)

C15	45(3) 	39(3)	51(4) 	13(3)	11(2) 	11(2)

C16	45(3) 	46(3)	40(3) 	18(3)	11(2) 	17(2)

C17	44(3) 	41(3)	40(3) 	8(2)	9(2) 	14(2)

C18	49(3) 	41(3)	48(4) 	13(3)	9(3) 	15(2)

C19	38(2) 	43(3)	46(3) 	13(3)	9(2) 	10(2)

C20	45(3) 	46(3)	45(3) 	18(3)	13(2) 	16(2)

C21	40(2) 	40(3)	47(4) 	16(3)	12(2) 	16(2)

C22	59(3) 	40(3)	44(3) 	12(3)	5(2) 	14(2)

C23	49(3) 	40(3)	59(4) 	15(3)	6(3) 	13(2)

C24	50(3) 	41(3)	40(4) 	15(3)	10(2) 	16(2)

C25	47(3) 	51(3)	46(4) 	16(3)	7(2) 	12(2)

C26	58(3) 	39(3)	42(4) 	16(3)	15(3) 	14(2)

C27	57(3) 	53(3)	66(5) 	27(3)	26(3) 	24(3)

O101	83(3) 	56(2)	72(3) 	28(2)	13(2) 	29(2)

N101	62(2) 	36(2)	38(3) 	11(2)	10(2) 	18(2)

C101	45(3) 	34(3)	45(4) 	9(3)	16(2) 	6(2)

C102	69(3) 	45(3)	51(4) 	15(3)	15(3) 	10(3)

C103	89(4) 	41(3)	61(4) 	3(3)	28(3) 	10(3)

C104	83(4) 	35(3)	92(6) 	13(4)	45(4) 	18(3)

C105	56(3) 	48(3)	81(5) 	26(3)	27(3) 	23(2)

C106	47(3) 	38(3)	62(4) 	18(3)	16(3) 	12(2)

C107	44(3) 	41(3)	45(4) 	16(3)	11(2) 	17(2)

C108	59(3) 	35(3)	49(4) 	17(3)	17(3) 	19(2)

C109	61(3) 	48(3)	51(4) 	27(3)	24(3) 	26(2)

C110	48(3) 	58(3)	42(3) 	16(3)	12(2) 	28(2)

C111	44(3) 	43(3)	50(4) 	15(3)	2(2) 	16(2)

C112	41(2) 	39(3)	47(4) 	16(3)	11(2) 	14(2)

C113	51(3) 	33(3)	34(3) 	7(2)	8(2) 	9(2)

C114	48(3) 	43(3)	38(3) 	6(2)	13(2) 	13(2)

C115	41(3) 	40(3)	40(3) 	9(2)	5(2) 	15(2)

C116	48(3) 	36(3)	42(3) 	9(2)	11(2) 	9(2)

C117	39(3) 	48(3)	49(4) 	19(3)	11(2) 	14(2)

C118	49(3) 	46(3)	41(3) 	13(3)	10(2) 	19(2)

C119	47(3) 	40(3)	39(3) 	9(2)	12(2) 	11(2)

C120	52(3) 	41(3)	39(3) 	12(2)	13(2) 	15(2)

C121	44(3) 	35(3)	46(3) 	11(3)	5(2) 	8(2)

C122	53(3) 	43(3)	51(4) 	15(3)	17(2) 	15(2)

C123	57(3) 	46(3)	48(4) 	13(3)	7(3) 	23(2)

C124	55(3) 	35(3)	39(3) 	6(2)	1(2) 	10(2)

C125	56(3) 	43(3)	33(3) 	9(2)	11(2) 	9(2)

C126	48(3) 	44(3)	44(4) 	11(3)	4(2) 	11(2)

C127	58(3) 	47(3)	51(4) 	14(3)	4(3) 	14(2)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H2	7797	3792	2534	53	1

H3	7055	5619	2815	62	1

H4	7289	6931	1979	74	1

H5	8442	6523	942	66	1

H6	9221	4715	662	60	1

H8	7132	2461	149	56	1

H9	7175	1478	1143	56	1

H10	9074	766	1449	53	1

H11	10938	1072	495	53	1

H12	10944	2094	784	51	1

H14	8368	634	1274	48	1

H15	8888	474	2170	53	1

H17	10811	2663	3759	50	1

H18	10348	3778	2854	54	1

H19	10697	733	4137	50	1

H20	9903	1370	2933	52	1

H22	10107	3280	3181	57	1

H23	10683	4477	4003	58	1

H25	12104	1459	5780	57	1

H26	11463	254	4971	53	1

H27	11517	4740	5279	64	1

H102	15474	4340	7232	65	1

H103	16193	6103	6718	78	1

H104	17528	6918	7532	80	1

H105	18162	5932	8848	69	1

H106	17542	4118	9363	57	1

H108	15041	4284	9552	54	1

H109	14827	3667	10855	58	1

H110	15355	1584	11493	56	1

H111	16076	139	10801	54	1

H112	16453	743	9533	49	1

H114	13949	1969	8359	51	1

H115	13608	726	7524	48	1

H117	17298	783	6939	52	1

H118	17653	2047	7756	52	1

H119	16011	373	6356	50	1

H120	13534	614	6784	51	1

H122	12490	2079	6293	57	1

H123	12267	3311	5419	59	1

H125	15507	2430	4544	53	1

H126	15733	1193	5395	55	1

H127	14475	3861	4034	62	1