|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2010src0036 / HJM 128

Empirical formula 	C17H15BrClN2O3Re

Formula weight 	596.87

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 8.5959(2) Å	 = 90°

b = 13.7519(4) Å	 = 92.572(2)°

c = 15.1599(5) Å	  = 90°

Volume	1790.25(9) Å3

Z	4

Density (calculated)	2.215 Mg / m3

Absorption coefficient	9.187 mm1

F(000)	1128

Crystal	Cut Blade; Yellow

Crystal size	0.26  0.13  0.09 mm3

 range for data collection	3.25  27.48°

Index ranges	11  h  9, 17  k  17, 18  l  19

Reflections collected	20565

Independent reflections	4090 [Rint = 0.0449]

Completeness to  = 27.48°	99.8 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.4919 and 0.1986

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4090 / 45 / 255

Goodness-of-fit on F2	1.074

Final R indices [F2 > 2(F2)]	R1 = 0.0334, wR2 = 0.0734

R indices (all data)	R1 = 0.0441, wR2 = 0.0774

Extinction coefficient	0.00109(15)

Largest diff. peak and hole	1.220 and 1.402 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP3 for Windows (L. J. Farrugia, J. Appl. Crystallogr. 1997, 30, 565).

Special details:

All hydrogen atoms were fixed using a standard riding model.

There was disorder of two of the ligands (CO and Cl-) binding to the rhenium ion. The occupancy was allowed to freely refine, under the restraint that the total charge remained zero for the entire species.

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Re1	8390(1)	5360(1)	1886(1)	25(1)	1

C1	5911(7)	7034(4)	1901(4)	32(1)	1

C2	4462(8)	7473(4)	1783(4)	39(2)	1

C3	3238(7)	6925(5)	1427(4)	40(2)	1

C4	3478(6)	5965(5)	1221(4)	34(1)	1

C5	4946(6)	5558(4)	1360(4)	29(1)	1

C6	5318(6)	4537(4)	1145(4)	25(1)	1

C7	4225(6)	3865(5)	835(4)	34(1)	1

C8	4672(7)	2933(5)	643(4)	35(1)	1

C9	6233(7)	2668(4)	741(4)	31(1)	1

C10	7271(6)	3372(4)	1057(4)	26(1)	1

C11	6781(7)	1665(4)	516(4)	35(1)	1

C12	6452(7)	921(4)	1228(4)	39(1)	1

C13	6810(8)	133(4)	977(5)	41(2)	1

C14	8425(7)	260(4)	708(5)	38(2)	1

N1	6168(5)	6096(3)	1695(3)	26(1)	1

N2	6836(5)	4284(3)	1261(3)	23(1)	1

Br1	8897(1)	1636(1)	503(1)	45(1)	1

C21	10220(6)	4562(4)	2024(4)	30(1)	1

O21	11316(4)	4077(3)	2095(3)	36(1)	1

C31	9505(7)	6397(4)	2485(4)	33(1)	1

O31	10153(5)	7014(3)	2858(3)	47(1)	1

C41	9070(20)	5844(13)	770(8)	25(3)	0.735(13)

O41	9580(10)	6132(6)	141(6)	33(2)	0.735(13)

Cl41	9185(12)	5895(8)	456(5)	20(2)	0.265(13)

C51	7700(30)	4870(20)	3009(14)	17(4)	0.265(13)

O51	7340(20)	4685(15)	3646(16)	16(3)	0.265(13)

Cl51	7360(3)	4788(2)	3276(2)	24(1)	0.735(13)

Table 3. Bond lengths [Å] and angles [°].

Re1C21	1.922(6)

Re1C31	1.923(6)

Re1C41	1.934(11)

Re1C51	1.949(15)

Re1N1	2.169(4)

Re1N2	2.181(4)

Re1Cl41	2.417(8)

Re1Cl51	2.451(3)

C1N1	1.348(7)

C1C2	1.389(8)

C1H1	0.9500

C2C3	1.384(10)

C2H2	0.9500

C3C4	1.375(9)

C3H3	0.9500

C4C5	1.388(8)

C4H4	0.9500

C5N1	1.364(7)

C5C6	1.479(8)

C6N2	1.354(7)

C6C7	1.385(8)

C7C8	1.374(9)

C7H7	0.9500

C8C9	1.392(8)

C8H8	0.9500

C9C10	1.388(7)

C9C11	1.501(8)

C10N2	1.349(7)

C10H10	0.9500

C11C12	1.522(8)

C11H11A	0.9900

C11H11B	0.9900

C12C13	1.533(9)

C12H12A	0.9900

C12H12B	0.9900

C13C14	1.475(9)

C13H13A	0.9900

C13H13B	0.9900

C14Br1	1.962(6)

C14H14A	0.9900

C14H14B	0.9900

C21O21	1.155(6)

C31O31	1.150(7)

C41O41	1.137(17)

C51O51	1.06(3)

C21Re1C31	89.1(2)

C21Re1C41	90.7(6)

C31Re1C41	89.7(6)

C21Re1C51	89.2(9)

C31Re1C51	90.6(10)

C41Re1C51	179.7(11)

C21Re1N1	172.90(19)

C31Re1N1	97.7(2)

C41Re1N1	91.2(6)

C51Re1N1	88.8(9)

C21Re1N2	98.2(2)

C31Re1N2	172.1(2)

C41Re1N2	93.2(5)

C51Re1N2	86.5(10)

N1Re1N2	74.91(16)

C21Re1Cl41	90.5(3)

C31Re1Cl41	92.5(3)

C41Re1Cl41	2.8(7)

C51Re1Cl41	176.9(10)

N1Re1Cl41	91.2(3)

N2Re1Cl41	90.5(3)

C21Re1Cl51	92.80(19)

C31Re1Cl51	91.37(19)

C41Re1Cl51	176.3(6)

C51Re1Cl51	3.7(9)

N1Re1Cl51	85.12(13)

N2Re1Cl51	85.28(13)

Cl41Re1Cl51	175.0(3)

N1C1C2	122.8(6)

N1C1H1	118.6

C2C1H1	118.6

C3C2C1	118.4(6)

C3C2H2	120.8

C1C2H2	120.8

C4C3C2	119.5(6)

C4C3H3	120.2

C2C3H3	120.2

C3C4C5	119.8(6)

C3C4H4	120.1

C5C4H4	120.1

N1C5C4	121.2(5)

N1C5C6	115.2(5)

C4C5C6	123.6(6)

N2C6C7	120.5(5)

N2C6C5	115.6(5)

C7C6C5	123.9(5)

C8C7C6	120.2(5)

C8C7H7	119.9

C6C7H7	119.9

C7C8C9	119.9(5)

C7C8H8	120.0

C9C8H8	120.0

C10C9C8	117.1(5)

C10C9C11	121.1(5)

C8C9C11	121.8(5)

N2C10C9	123.2(5)

N2C10H10	118.4

C9C10H10	118.4

C9C11C12	112.7(5)

C9C11H11A	109.0

C12C11H11A	109.0

C9C11H11B	109.0

C12C11H11B	109.0

H11AC11H11B	107.8

C11C12C13	114.5(5)

C11C12H12A	108.6

C13C12H12A	108.6

C11C12H12B	108.6

C13C12H12B	108.6

H12AC12H12B	107.6

C14C13C12	112.5(5)

C14C13H13A	109.1

C12C13H13A	109.1

C14C13H13B	109.1

C12C13H13B	109.1

H13AC13H13B	107.8

C13C14Br1	111.2(4)

C13C14H14A	109.4

Br1C14H14A	109.4

C13C14H14B	109.4

Br1C14H14B	109.4

H14AC14H14B	108.0

C1N1C5	118.3(5)

C1N1Re1	124.6(4)

C5N1Re1	117.1(3)

C10N2C6	119.0(5)

C10N2Re1	124.0(3)

C6N2Re1	116.8(3)

O21C21Re1	179.1(5)

O31C31Re1	178.6(6)

O41C41Re1	174.9(16)

O51C51Re1	173(3)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Re1	21(1) 	18(1)	35(1) 	2(1)	0(1) 	1(1)

C1	34(3) 	20(3)	42(4) 	0(2)	12(3) 	3(2)

C2	48(4) 	27(3)	45(4) 	9(3)	19(3) 	14(3)

C3	35(3) 	41(4)	43(4) 	15(3)	9(3) 	17(3)

C4	25(3) 	40(3)	37(3) 	8(3)	3(2) 	6(2)

C5	27(3) 	28(3)	30(3) 	8(2)	5(2) 	6(2)

C6	25(3) 	29(3)	23(3) 	3(2)	3(2) 	1(2)

C7	21(3) 	42(3)	37(3) 	4(3)	0(2) 	6(2)

C8	26(3) 	40(3)	39(4) 	6(3)	1(2) 	8(2)

C9	40(3) 	25(3)	29(3) 	2(2)	3(2) 	4(2)

C10	26(3) 	24(3)	29(3) 	1(2)	3(2) 	1(2)

C11	42(3) 	26(3)	37(4) 	1(3)	4(3) 	5(3)

C12	40(3) 	32(3)	46(4) 	3(3)	5(3) 	1(3)

C13	41(4) 	28(3)	54(4) 	3(3)	5(3) 	5(3)

C14	40(3) 	22(3)	52(4) 	3(3)	2(3) 	1(2)

N1	24(2) 	22(2)	32(3) 	2(2)	3(2) 	0(2)

N2	22(2) 	19(2)	27(2) 	1(2)	2(2) 	1(2)

Br1	41(1) 	29(1)	63(1) 	1(1)	1(1) 	2(1)

C21	27(3) 	25(3)	36(3) 	1(2)	0(2) 	8(2)

O21	25(2) 	31(2)	54(3) 	3(2)	0(2) 	6(2)

C31	30(3) 	28(3)	39(4) 	2(3)	1(3) 	3(2)

O31	47(3) 	30(2)	63(3) 	11(2)	11(2) 	6(2)

C41	18(4) 	21(4)	35(7) 	0(6)	10(6) 	1(3)

O41	31(4) 	32(4)	37(5) 	5(3)	3(3) 	1(3)

Cl41	19(4) 	23(3)	21(6) 	6(4)	10(4) 	2(2)

C51	18(7) 	18(7)	15(8) 	2(7)	10(6) 	3(6)

O51	11(5) 	16(6)	22(8) 	3(7)	13(6) 	5(4)

Cl51	26(1) 	26(1)	21(3) 	5(2)	5(1) 	2(1)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H1	6757	7410	2137	38	1

H2	4314	8133	1943	47	1

H3	2240	7211	1325	47	1

H4	2641	5581	983	40	1

H7	3163	4050	754	40	1

H8	3916	2469	444	42	1

H10	8340	3204	1134	32	1

H11A	7915	1684	430	42	1

H11B	6258	1457	48	42	1

H12A	5340	967	1367	47	1

H12B	7079	1089	1770	47	1

H13A	6630	561	1488	49	1

H13B	6085	336	485	49	1

H14A	9152	1	1176	46	1

H14B	8578	114	161	46	1