|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005slh0421    (CAG 149)

Empirical formula 	C56H48N8NiO4P2S4

Formula weight 	1145.91

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P-1

Unit cell dimensions	a = 9.2767(11) Å	a = 79.283(13)°

b = 10.467(2) Å	b = 84.701(8)°

c = 15.0969(13) Å	g  = 65.476(16)°

Volume	1310.2(4) Å3

Z	1

Density (calculated)	1.452 Mg / m3

Absorption coefficient	0.647 mm-1

F(000)	594

Crystal	lath; red

Crystal size	0.12 ´ 0.04 ´ 0.02 mm3

q range for data collection	3.04 - 27.49°

Index ranges	-12 £ h £ 12, -13 £ k £ 13, -19 £ l £ 19

Reflections collected	26207

Independent reflections	5955 [Rint = 0.0588]

Completeness to q = 27.49°	99.2 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9872 and 0.9264

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	5955 / 0 / 343

Goodness-of-fit on F2	1.038

Final R indices [F2 > 2s(F2)]	R1 = 0.0416, wR2 = 0.0918

R indices (all data)	R1 = 0.0573, wR2 = 0.0991

Extinction coefficient	0.0056(11)

Largest diff. peak and hole	0.508 and -0.375 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33-37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421-426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	6495(3)	9751(2)	5721(2)	28(1)	1

C2	7992(3)	5663(2)	6820(1)	19(1)	1

C3	7848(3)	5198(2)	7739(2)	23(1)	1

C4	9058(3)	4041(3)	8191(2)	27(1)	1

C5	10458(3)	3323(2)	7736(2)	26(1)	1

C6	10650(3)	3792(3)	6829(2)	25(1)	1

C7	9414(3)	4951(2)	6375(2)	23(1)	1

C8	13062(3)	1444(3)	7817(2)	46(1)	1

C9	7172(3)	4525(2)	2373(1)	17(1)	1

C10	8526(3)	3215(2)	2582(2)	20(1)	1

C11	7858(3)	3318(2)	4064(1)	19(1)	1

C12	6723(3)	5360(2)	1456(2)	22(1)	1

C13	7854(3)	5525(3)	813(2)	25(1)	1

C14	7382(3)	6329(3)	-32(2)	32(1)	1

C15	5786(3)	6969(3)	-253(2)	34(1)	1

C16	4670(3)	6822(3)	379(2)	31(1)	1

C17	5128(3)	6023(3)	1230(2)	27(1)	1

C18	9569(3)	2359(2)	1912(2)	21(1)	1

C19	11192(3)	1651(2)	2064(2)	24(1)	1

C20	12181(3)	820(3)	1451(2)	32(1)	1

C21	11566(3)	695(3)	688(2)	35(1)	1

C22	9945(3)	1384(3)	543(2)	34(1)	1

C23	8946(3)	2208(3)	1148(2)	29(1)	1

C24	2732(3)	7193(2)	3509(2)	20(1)	1

C25	1333(3)	8305(2)	3184(2)	23(1)	1

C26	122(3)	8915(2)	3782(2)	24(1)	1

C27	363(3)	8384(2)	4699(2)	22(1)	1

C28	1790(3)	7280(2)	4970(1)	18(1)	1

N1	6481(2)	4449(2)	3884(1)	19(1)	1

N2	6186(2)	5094(2)	3030(1)	21(1)	1

N3	8893(2)	2664(2)	3446(1)	20(1)	1

N4	2978(2)	6668(2)	4390(1)	17(1)	1

O1	7324(2)	8245(2)	6032(1)	22(1)	1

O2	11563(2)	2159(2)	8244(1)	37(1)	1

P1	6414(1)	7194(1)	6217(1)	18(1)	1

S1	6151(1)	6783(1)	5001(1)	20(1)	1

S2	4505(1)	7948(1)	6980(1)	23(1)	1

Ni1	5000	5000	5000	15(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-O1	1.443(3)

C1-H1A	0.9800

C1-H1B	0.9800

C1-H1C	0.9800

C2-C3	1.396(3)

C2-C7	1.397(3)

C2-P1	1.815(2)

C3-C4	1.378(3)

C3-H3	0.9500

C4-C5	1.394(3)

C4-H4	0.9500

C5-O2	1.373(3)

C5-C6	1.388(3)

C6-C7	1.392(3)

C6-H6	0.9500

C7-H7	0.9500

C8-O2	1.435(3)

C8-H8A	0.9800

C8-H8B	0.9800

C8-H8C	0.9800

C9-N2	1.332(3)

C9-C10	1.429(3)

C9-C12	1.486(3)

C10-N3	1.337(3)

C10-C18	1.482(3)

C11-N3	1.338(3)

C11-N1	1.340(3)

C11-C28i	1.484(3)

C12-C17	1.393(3)

C12-C13	1.405(3)

C13-C14	1.387(3)

C13-H13	0.9500

C14-C15	1.391(4)

C14-H14	0.9500

C15-C16	1.379(4)

C15-H15	0.9500

C16-C17	1.391(3)

C16-H16	0.9500

C17-H17	0.9500

C18-C19	1.394(3)

C18-C23	1.398(3)

C19-C20	1.391(3)

C19-H19	0.9500

C20-C21	1.382(4)

C20-H20	0.9500

C21-C22	1.390(4)

C21-H21	0.9500

C22-C23	1.383(4)

C22-H22	0.9500

C23-H23	0.9500

C24-N4	1.342(3)

C24-C25	1.390(3)

C24-H24	0.9500

C25-C26	1.384(3)

C25-H25	0.9500

C26-C27	1.394(3)

C26-H26	0.9500

C27-C28	1.382(3)

C27-H27	0.9500

C28-N4	1.355(3)

C28-C11i	1.484(3)

N1-N2	1.335(3)

N1-Ni1	2.0823(18)

N4-Ni1	2.1022(19)

O1-P1	1.6166(16)

P1-S2	1.9717(9)

P1-S1	2.0189(8)

S1-Ni1	2.5061(7)

Ni1-N1i	2.0823(18)

Ni1-N4i	2.1022(19)

Ni1-S1i	2.5061(7)

O1-C1-H1A	109.5

O1-C1-H1B	109.5

H1A-C1-H1B	109.5

O1-C1-H1C	109.5

H1A-C1-H1C	109.5

H1B-C1-H1C	109.5

C3-C2-C7	118.3(2)

C3-C2-P1	121.40(17)

C7-C2-P1	120.25(17)

C4-C3-C2	120.9(2)

C4-C3-H3	119.5

C2-C3-H3	119.5

C3-C4-C5	120.2(2)

C3-C4-H4	119.9

C5-C4-H4	119.9

O2-C5-C6	124.7(2)

O2-C5-C4	115.3(2)

C6-C5-C4	120.0(2)

C5-C6-C7	119.4(2)

C5-C6-H6	120.3

C7-C6-H6	120.3

C6-C7-C2	121.2(2)

C6-C7-H7	119.4

C2-C7-H7	119.4

O2-C8-H8A	109.5

O2-C8-H8B	109.5

H8A-C8-H8B	109.5

O2-C8-H8C	109.5

H8A-C8-H8C	109.5

H8B-C8-H8C	109.5

N2-C9-C10	120.0(2)

N2-C9-C12	114.4(2)

C10-C9-C12	125.54(19)

N3-C10-C9	119.1(2)

N3-C10-C18	115.5(2)

C9-C10-C18	125.3(2)

N3-C11-N1	125.2(2)

N3-C11-C28i	118.2(2)

N1-C11-C28i	116.61(19)

C17-C12-C13	118.8(2)

C17-C12-C9	119.1(2)

C13-C12-C9	122.1(2)

C14-C13-C12	120.2(2)

C14-C13-H13	119.9

C12-C13-H13	119.9

C13-C14-C15	120.4(2)

C13-C14-H14	119.8

C15-C14-H14	119.8

C16-C15-C14	119.6(2)

C16-C15-H15	120.2

C14-C15-H15	120.2

C15-C16-C17	120.6(2)

C15-C16-H16	119.7

C17-C16-H16	119.7

C16-C17-C12	120.4(2)

C16-C17-H17	119.8

C12-C17-H17	119.8

C19-C18-C23	119.5(2)

C19-C18-C10	119.3(2)

C23-C18-C10	121.2(2)

C20-C19-C18	120.0(2)

C20-C19-H19	120.0

C18-C19-H19	120.0

C21-C20-C19	120.4(2)

C21-C20-H20	119.8

C19-C20-H20	119.8

C20-C21-C22	119.6(2)

C20-C21-H21	120.2

C22-C21-H21	120.2

C23-C22-C21	120.6(2)

C23-C22-H22	119.7

C21-C22-H22	119.7

C22-C23-C18	119.9(2)

C22-C23-H23	120.1

C18-C23-H23	120.1

N4-C24-C25	122.9(2)

N4-C24-H24	118.5

C25-C24-H24	118.5

C26-C25-C24	119.6(2)

C26-C25-H25	120.2

C24-C25-H25	120.2

C25-C26-C27	118.1(2)

C25-C26-H26	121.0

C27-C26-H26	121.0

C28-C27-C26	118.9(2)

C28-C27-H27	120.6

C26-C27-H27	120.6

N4-C28-C27	123.5(2)

N4-C28-C11i	114.68(19)

C27-C28-C11i	121.9(2)

N2-N1-C11	118.35(18)

N2-N1-Ni1	126.75(15)

C11-N1-Ni1	114.90(14)

C9-N2-N1	119.81(19)

C10-N3-C11	116.6(2)

C24-N4-C28	117.03(19)

C24-N4-Ni1	128.15(15)

C28-N4-Ni1	114.83(14)

C1-O1-P1	121.60(14)

C5-O2-C8	117.1(2)

O1-P1-C2	97.28(9)

O1-P1-S2	111.15(7)

C2-P1-S2	112.24(8)

O1-P1-S1	106.34(6)

C2-P1-S1	109.64(8)

S2-P1-S1	118.06(4)

P1-S1-Ni1	116.58(3)

N1-Ni1-N1i	180.0

N1-Ni1-N4	101.33(7)

N1i-Ni1-N4	78.67(7)

N1-Ni1-N4i	78.67(7)

N1i-Ni1-N4i	101.33(7)

N4-Ni1-N4i	180.00(9)

N1-Ni1-S1	85.10(5)

N1i-Ni1-S1	94.90(5)

N4-Ni1-S1	88.20(5)

N4i-Ni1-S1	91.80(5)

N1-Ni1-S1i	94.90(5)

N1i-Ni1-S1i	85.10(5)

N4-Ni1-S1i	91.80(5)

N4i-Ni1-S1i	88.20(5)

S1-Ni1-S1i	180.0

Symmetry transformations used to generate equivalent atoms:

(i) -x+1,-y+1,-z+1

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	29(1) 	20(1)	37(1) 	-1(1)	-5(1) 	-11(1)

C2	21(1) 	19(1)	21(1) 	-6(1)	-2(1) 	-11(1)

C3	24(1) 	24(1)	22(1) 	-8(1)	3(1) 	-10(1)

C4	33(1) 	26(1)	21(1) 	-3(1)	-2(1) 	-11(1)

C5	26(1) 	18(1)	34(1) 	-7(1)	-9(1) 	-6(1)

C6	22(1) 	25(1)	32(1) 	-13(1)	2(1) 	-9(1)

C7	24(1) 	26(1)	23(1) 	-9(1)	3(1) 	-14(1)

C8	34(2) 	30(2)	63(2) 	-10(1)	-11(1) 	2(1)

C9	17(1) 	21(1)	18(1) 	-6(1)	1(1) 	-10(1)

C10	21(1) 	22(1)	21(1) 	-5(1)	-1(1) 	-12(1)

C11	19(1) 	20(1)	21(1) 	-7(1)	2(1) 	-11(1)

C12	26(1) 	20(1)	20(1) 	-6(1)	0(1) 	-10(1)

C13	27(1) 	27(1)	24(1) 	-8(1)	4(1) 	-12(1)

C14	39(2) 	29(1)	27(1) 	-9(1)	8(1) 	-13(1)

C15	49(2) 	29(1)	19(1) 	-3(1)	-2(1) 	-10(1)

C16	29(1) 	36(2)	23(1) 	-7(1)	-7(1) 	-5(1)

C17	27(1) 	31(1)	24(1) 	-9(1)	1(1) 	-11(1)

C18	23(1) 	21(1)	21(1) 	-4(1)	1(1) 	-9(1)

C19	24(1) 	25(1)	21(1) 	-5(1)	1(1) 	-9(1)

C20	25(1) 	29(1)	35(1) 	-5(1)	5(1) 	-7(1)

C21	41(2) 	28(1)	29(1) 	-11(1)	10(1) 	-8(1)

C22	44(2) 	29(1)	26(1) 	-10(1)	-5(1) 	-8(1)

C23	31(1) 	28(1)	27(1) 	-7(1)	-7(1) 	-10(1)

C24	23(1) 	22(1)	18(1) 	-5(1)	1(1) 	-11(1)

C25	30(1) 	22(1)	19(1) 	0(1)	-5(1) 	-13(1)

C26	23(1) 	19(1)	28(1) 	-2(1)	-6(1) 	-7(1)

C27	21(1) 	23(1)	24(1) 	-8(1)	1(1) 	-9(1)

C28	22(1) 	19(1)	17(1) 	-5(1)	-1(1) 	-11(1)

N1	22(1) 	21(1)	19(1) 	-5(1)	1(1) 	-12(1)

N2	24(1) 	24(1)	18(1) 	-5(1)	-1(1) 	-12(1)

N3	21(1) 	22(1)	20(1) 	-6(1)	1(1) 	-10(1)

N4	20(1) 	18(1)	18(1) 	-5(1)	0(1) 	-9(1)

O1	22(1) 	20(1)	29(1) 	-4(1)	-3(1) 	-12(1)

O2	34(1) 	26(1)	42(1) 	-5(1)	-11(1) 	-1(1)

P1	19(1) 	19(1)	20(1) 	-5(1)	0(1) 	-10(1)

S1	25(1) 	23(1)	18(1) 	-4(1)	-1(1) 	-14(1)

S2	20(1) 	24(1)	27(1) 	-10(1)	3(1) 	-9(1)

Ni1	16(1) 	17(1)	13(1) 	-4(1)	0(1) 	-7(1)