|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005slh0248

Empirical formula 	C18H15Br8I5N6

Formula weight 	1589.14

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P-1

Unit cell dimensions	a = 8.156(2) Å	a = 90.94(2)°

b = 14.103(4) Å	b = 99.31(2)°

c = 16.380(6) Å	g  = 100.91(2)°

Volume	1823.6(10) Å3

Z	2

Density (calculated)	2.894 Mg / m3

Absorption coefficient	13.049 mm-1

F(000)	1420

Crystal	cut needle; orange

Crystal size	0.46 ´ 0.04 ´ 0.02 mm3

q range for data collection	3.06 - 27.50°

Index ranges	-10 £ h £ 10, -18 £ k £ 18, -21 £ l £ 21

Reflections collected	36780

Independent reflections	8317 [Rint = 0.0851]

Completeness to q = 27.50°	99.1 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.7803 and 0.0654

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	8317 / 0 / 338

Goodness-of-fit on F2	1.015

Final R indices [F2 > 2s(F2)]	R1 = 0.0517, wR2 = 0.1027

R indices (all data)	R1 = 0.1154, wR2 = 0.1239

Extinction coefficient	0.00031(8)

Largest diff. peak and hole	2.021 and -2.051 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33-37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421-426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details: There are two fully occupied and two partially occupied IBr2- ions present in the asymmetric unit. The negative charges are counter-balanced by protonation of the pyridine nitrogens.

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	10848(11)	1998(7)	3586(6)	27(2)	1

C2	10115(11)	594(7)	2842(6)	24(2)	1

C3	9202(11)	1918(7)	2324(6)	23(2)	1

N1	9975(9)	2466(5)	3007(5)	23(2)	1

N2	10995(9)	1072(6)	3519(5)	24(2)	1

N3	9180(9)	973(5)	2209(5)	25(2)	1

C4	11687(11)	2544(7)	4359(6)	25(2)	1

C5	12436(13)	2081(9)	5015(6)	37(3)	1

C6	13214(15)	2689(14)	5734(8)	70(5)	1

C7	13098(16)	3665(14)	5769(10)	72(5)	1

C8	12315(19)	4031(11)	5135(10)	70(4)	1

N4	11612(11)	3487(7)	4436(6)	40(2)	1

C9	10026(11)	-464(7)	2780(6)	22(2)	1

C10	10779(12)	-955(8)	3377(7)	32(2)	1

C11	10570(14)	-1951(9)	3296(8)	48(3)	1

C12	9547(15)	-2441(9)	2582(9)	51(3)	1

C13	8798(15)	-1927(8)	2001(8)	46(3)	1

N5	9052(10)	-947(6)	2100(6)	35(2)	1

C14	8291(11)	2385(7)	1667(6)	23(2)	1

C15	7563(11)	1900(7)	920(6)	29(2)	1

C16	6756(13)	2435(13)	287(7)	65(5)	1

C17	6693(16)	3403(14)	467(12)	72(5)	1

C18	7359(16)	3805(11)	1193(11)	64(4)	1

N6	8165(11)	3344(6)	1783(6)	42(2)	1

Br1	7838(1)	388(1)	4339(1)	40(1)	1

I1	5000	0	5000	30(1)	1

Br2	4446(1)	-1655(1)	2207(1)	41(1)	1

I2	4154(1)	155(1)	2087(1)	40(1)	1

Br3	-3156(1)	-634(1)	312(1)	38(1)	1

I3	0	0	0	32(1)	1

Br4	9936(1)	6084(1)	10802(1)	40(1)	1

I4	8131(1)	6752(1)	9552(1)	44(1)	1

Br5	3606(1)	2201(1)	1913(1)	47(1)	1

Br6	7388(2)	3332(1)	4949(1)	50(1)	1

I5	5614(1)	2835(1)	3497(1)	38(1)	1

Br7	5349(1)	5856(1)	1784(1)	51(1)	1

Br8	-168(1)	5115(1)	3303(1)	37(1)	1

I6	2671(1)	5462(1)	2537(1)	35(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-N2	1.338(12)

C1-N1	1.350(12)

C1-C4	1.467(13)

C2-N2	1.317(12)

C2-N3	1.363(12)

C2-C9	1.481(13)

C3-N3	1.339(12)

C3-N1	1.343(12)

C3-C14	1.448(13)

C4-N4	1.347(13)

C4-C5	1.385(14)

C5-C6	1.430(18)

C5-H5	0.9500

C6-C7	1.40(2)

C6-H6	0.9500

C7-C8	1.30(2)

C7-H7	0.9500

C8-N4	1.350(15)

C8-H8	0.9500

N4-H4	0.8800

C9-C10	1.343(14)

C9-N5	1.349(12)

C10-C11	1.384(15)

C10-H10	0.9500

C11-C12	1.408(17)

C11-H11	0.9500

C12-C13	1.344(17)

C12-H12	0.9500

C13-N5	1.361(13)

C13-H13	0.9500

N5-H5A	0.8800

C14-C15	1.378(13)

C14-N6	1.388(12)

C15-C16	1.438(18)

C15-H15	0.9500

C16-C17	1.40(2)

C16-H16	0.9500

C17-C18	1.30(2)

C17-H17	0.9500

C18-N6	1.329(16)

C18-H18	0.9500

N6-H6A	0.8800

Br1-I1	2.6791(12)

I1-Br1i	2.6791(12)

Br2-I2	2.6158(16)

Br3-I3	2.6935(13)

I3-Br3ii	2.6935(13)

Br4-I4	2.6190(17)

Br5-I5	2.8648(18)

Br6-I5	2.5856(17)

Br7-I6	2.6516(16)

Br8-I6	2.7774(15)

N2-C1-N1	125.5(9)

N2-C1-C4	117.1(9)

N1-C1-C4	117.4(8)

N2-C2-N3	126.0(8)

N2-C2-C9	117.6(8)

N3-C2-C9	116.3(8)

N3-C3-N1	125.4(9)

N3-C3-C14	117.4(8)

N1-C3-C14	117.1(8)

C3-N1-C1	114.3(8)

C2-N2-C1	114.7(8)

C3-N3-C2	113.9(8)

N4-C4-C5	120.8(9)

N4-C4-C1	118.7(9)

C5-C4-C1	120.3(9)

C4-C5-C6	115.2(11)

C4-C5-H5	122.4

C6-C5-H5	122.4

C7-C6-C5	120.7(12)

C7-C6-H6	119.6

C5-C6-H6	119.6

C8-C7-C6	119.8(13)

C8-C7-H7	120.1

C6-C7-H7	120.1

C7-C8-N4	121.1(15)

C7-C8-H8	119.4

N4-C8-H8	119.4

C4-N4-C8	122.2(12)

C4-N4-H4	118.9

C8-N4-H4	118.9

C10-C9-N5	119.6(9)

C10-C9-C2	123.6(9)

N5-C9-C2	116.8(8)

C9-C10-C11	120.4(10)

C9-C10-H10	119.8

C11-C10-H10	119.8

C10-C11-C12	119.0(11)

C10-C11-H11	120.5

C12-C11-H11	120.5

C13-C12-C11	118.9(11)

C13-C12-H12	120.6

C11-C12-H12	120.6

C12-C13-N5	120.2(11)

C12-C13-H13	119.9

N5-C13-H13	119.9

C9-N5-C13	121.8(9)

C9-N5-H5A	119.1

C13-N5-H5A	119.1

C15-C14-N6	119.1(9)

C15-C14-C3	121.3(9)

N6-C14-C3	119.6(8)

C14-C15-C16	117.5(11)

C14-C15-H15	121.2

C16-C15-H15	121.2

C17-C16-C15	119.0(12)

C17-C16-H16	120.5

C15-C16-H16	120.5

C18-C17-C16	120.1(13)

C18-C17-H17	119.9

C16-C17-H17	119.9

C17-C18-N6	122.5(14)

C17-C18-H18	118.7

N6-C18-H18	118.7

C18-N6-C14	121.6(11)

C18-N6-H6A	119.2

C14-N6-H6A	119.2

Br1-I1-Br1i	180.0

Br3-I3-Br3ii	180.00(6)

Br6-I5-Br5	177.49(5)

Br7-I6-Br8	177.79(5)

Symmetry transformations used to generate equivalent atoms:

(i) -x+1,-y,-z+1    (ii) -x,-y,-z

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	19(5) 	35(6)	29(6) 	1(5)	11(4) 	6(4)

C2	26(5) 	20(5)	30(6) 	6(4)	12(4) 	7(4)

C3	22(5) 	23(5)	27(6) 	4(4)	11(4) 	5(4)

N1	24(4) 	23(4)	21(4) 	-2(4)	2(3) 	3(3)

N2	23(4) 	27(5)	22(5) 	0(4)	5(3) 	6(3)

N3	24(4) 	22(4)	27(5) 	-5(4)	6(3) 	1(3)

C4	23(5) 	30(6)	25(6) 	3(4)	6(4) 	10(4)

C5	37(6) 	55(7)	23(6) 	-1(5)	4(5) 	21(5)

C6	41(7) 	149(17)	27(7) 	19(9)	2(6) 	38(9)

C7	36(7) 	114(15)	58(10) 	-43(10)	2(7) 	3(8)

C8	76(10) 	59(9)	64(11) 	-45(9)	11(8) 	-10(8)

N4	43(5) 	43(6)	39(6) 	-4(5)	11(4) 	18(4)

C9	23(5) 	24(5)	24(5) 	-3(4)	10(4) 	9(4)

C10	24(5) 	36(6)	33(6) 	-3(5)	2(4) 	3(4)

C11	45(7) 	51(8)	54(8) 	19(7)	6(6) 	24(6)

C12	59(8) 	27(6)	72(10) 	3(6)	16(7) 	12(6)

C13	53(7) 	23(6)	54(8) 	-3(6)	-2(6) 	0(5)

N5	34(5) 	31(5)	39(6) 	2(4)	3(4) 	11(4)

C14	20(5) 	22(5)	23(5) 	2(4)	2(4) 	-3(4)

C15	26(5) 	30(6)	27(6) 	-2(5)	4(4) 	-9(4)

C16	17(6) 	135(15)	27(7) 	5(8)	2(5) 	-21(7)

C17	31(7) 	99(14)	91(13) 	66(11)	10(8) 	15(8)

C18	49(8) 	57(9)	100(13) 	49(9)	25(8) 	31(7)

N6	39(5) 	27(5)	56(7) 	-3(5)	8(5) 	0(4)

Br1	29(1) 	52(1)	43(1) 	11(1)	16(1) 	10(1)

I1	24(1) 	34(1)	35(1) 	6(1)	5(1) 	10(1)

Br2	41(1) 	46(1)	35(1) 	10(1)	6(1) 	11(1)

I2	31(1) 	57(1)	32(1) 	8(1)	6(1) 	5(1)

Br3	33(1) 	47(1)	32(1) 	0(1)	4(1) 	6(1)

I3	38(1) 	34(1)	26(1) 	-1(1)	2(1) 	11(1)

Br4	48(1) 	35(1)	42(1) 	0(1)	21(1) 	6(1)

I4	35(1) 	49(1)	46(1) 	-5(1)	10(1) 	1(1)

Br5	36(1) 	67(1)	35(1) 	9(1)	7(1) 	4(1)

Br6	50(1) 	61(1)	38(1) 	7(1)	2(1) 	11(1)

I5	31(1) 	49(1)	38(1) 	10(1)	11(1) 	10(1)

Br7	37(1) 	56(1)	58(1) 	0(1)	8(1) 	7(1)

Br8	45(1) 	30(1)	40(1) 	4(1)	8(1) 	12(1)

I6	34(1) 	31(1)	36(1) 	-2(1)	-4(1) 	7(1)