|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2007src0193  (306-310-3B)

Empirical formula 	C24H16Cl16F32N12O8P12

Formula weight 	2147.33

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	C2/m

Unit cell dimensions	a = 20.9041(7) Å	a = 90°

b = 14.5008(5) Å	b = 102.021(2)°

c = 5.9078(2) Å	g  = 90°

Volume	1751.54(10) Å3

Z	1

Density (calculated)	2.036 Mg / m3

Absorption coefficient	1.039 mm-1

F(000)	1048

Crystal	rod; colourless

Crystal size	0.45 ´ 0.10 ´ 0.10 mm3

q range for data collection	3.30 - 27.49°

Index ranges	-27 £ h £ 27, -18 £ k £ 18, -7 £ l £ 7

Reflections collected	9086

Independent reflections	2099 [Rint = 0.0447]

Completeness to q = 27.49°	99.7 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9032 and 0.6521

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2099 / 0 / 124

Goodness-of-fit on F2	1.156

Final R indices [F2 > 2s(F2)]	R1 = 0.0840, wR2 = 0.2468

R indices (all data)	R1 = 0.0870, wR2 = 0.2484

Largest diff. peak and hole	1.745 and -0.841 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS Version 2.10. (G. M. Sheldrick (2003)) Bruker AXS Inc., Madison, Wisconsin, USA. Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: PLATON  (A.L. Spek, J. Appl. Crystallogr. 2003, 36, 7).

Special details:

P1-P2 = 2.747, P2 - P2 = 2.733, Max deviation from mean plane = 0.141 (N2).

P2 = R, P2a = R, P2b = S, P2c = S.

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	1334(3)	1862(5)	-1100(14)	24(2)	1

C2	952(4)	1773(5)	-3575(13)	22(1)	1

C3	214(3)	1886(5)	-3751(12)	22(2)	1

N1	3121(3)	939(4)	-70(11)	21(1)	1

N2	2022(4)	0	244(16)	20(2)	1

O1	2009(2)	1690(4)	-1157(9)	22(1)	1

F1	1069(2)	947(3)	-4445(9)	34(1)	1

F2	1145(2)	2421(4)	-4951(9)	35(1)	1

F3	17(2)	1193(4)	-2546(9)	36(1)	1

F4	109(2)	2679(4)	-2719(10)	42(1)	1

P1	3482(1)	0	-310(4)	18(1)	1

P2	2408(1)	942(1)	472(3)	17(1)	1

Cl1	3783(1)	0	-3303(4)	29(1)	1

Cl2	4349(1)	0	1903(4)	26(1)	1

Cl3	2448(1)	1455(1)	3635(3)	25(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-O1	1.439(8)

C1-C2	1.519(10)

C2-F1	1.345(9)

C2-F2	1.358(9)

C2-C3	1.534(10)

C3-F4	1.340(9)

C3-F3	1.345(9)

C3-C3i	1.558(14)

N1-P1	1.577(6)

N1-P2	1.587(6)

N2-P2	1.578(4)

N2-P2ii	1.578(4)

O1-P2	1.570(5)

P1-N1ii	1.577(6)

P1-Cl1	1.997(4)

P1-Cl2	2.002(3)

P2-Cl3	1.996(2)

O1-C1-C2	106.5(6)

F1-C2-F2	106.6(6)

F1-C2-C1	110.0(6)

F2-C2-C1	110.8(6)

F1-C2-C3	109.3(6)

F2-C2-C3	107.8(6)

C1-C2-C3	112.1(6)

F4-C3-F3	107.7(6)

F4-C3-C2	108.6(6)

F3-C3-C2	107.3(6)

F4-C3-C3i	108.4(5)

F3-C3-C3i	108.8(5)

C2-C3-C3i	115.8(8)

P1-N1-P2	120.5(4)

P2-N2-P2ii	120.0(5)

C1-O1-P2	120.3(5)

N1ii-P1-N1	119.4(4)

N1ii-P1-Cl1	109.0(2)

N1-P1-Cl1	109.0(2)

N1ii-P1-Cl2	109.0(2)

N1-P1-Cl2	109.0(2)

Cl1-P1-Cl2	99.69(15)

O1-P2-N2	110.4(4)

O1-P2-N1	106.3(3)

N2-P2-N1	117.7(4)

O1-P2-Cl3	103.3(2)

N2-P2-Cl3	108.8(3)

N1-P2-Cl3	109.4(3)

Symmetry transformations used to generate equivalent atoms:

(i) -x,y,-z-1    (ii) x,-y,z

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	15(3) 	22(3)	31(4) 	-1(3)	-2(3) 	4(3)

C2	19(3) 	21(3)	28(4) 	3(3)	7(3) 	1(3)

C3	18(3) 	25(4)	24(4) 	-3(3)	3(3) 	-3(3)

N1	15(3) 	21(3)	28(3) 	1(2)	7(2) 	-2(2)

N2	12(4) 	21(4)	27(4) 	0	7(3) 	0

O1	14(2) 	23(3)	27(3) 	5(2)	1(2) 	0(2)

F1	26(2) 	33(3)	38(3) 	-14(2)	-4(2) 	8(2)

F2	21(2) 	48(3)	34(3) 	19(2)	2(2) 	-4(2)

F3	22(2) 	53(3)	30(3) 	16(2)	-3(2) 	-11(2)

F4	26(2) 	43(3)	50(3) 	-23(3)	-6(2) 	12(2)

P1	13(1) 	23(1)	17(1) 	0	4(1) 	0

P2	14(1) 	18(1)	19(1) 	0(1)	3(1) 	0(1)

Cl1	24(1) 	44(2)	19(1) 	0	8(1) 	0

Cl2	14(1) 	41(2)	21(1) 	0	1(1) 	0

Cl3	26(1) 	26(1)	22(1) 	-4(1)	6(1) 	0(1)