|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2006sjc0030  (P3)

Empirical formula 	C8H4Cl2N2

Formula weight 	199.03

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	C2/c

Unit cell dimensions	a = 3.8278(2) Å	a = 90°

b = 18.9050(12) Å	b = 95.649(4)°

c = 10.8874(6) Å	g  = 90°

Volume	784.04(8) Å3

Z	4

Density (calculated)	1.686 Mg / m3

Absorption coefficient	0.760 mm-1

F(000)	400

Crystal	block; colourless

Crystal size	0.12 ´ 0.05 ´ 0.02 mm3

q range for data collection	3.76 - 27.50°

Index ranges	-4 £ h £ 4, -24 £ k £ 24, -14 £ l £ 14

Reflections collected	5765

Independent reflections	899 [Rint = 0.0366]

Completeness to q = 27.50°	99.2 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9850 and 0.9143

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	899 / 0 / 55

Goodness-of-fit on F2	1.098

Final R indices [F2 > 2s(F2)]	R1 = 0.0279, wR2 = 0.0693

R indices (all data)	R1 = 0.0311, wR2 = 0.0717

Largest diff. peak and hole	0.277 and -0.207 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33-37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421-426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Cl1	2727(1)	3085(1)	1194(1)	26(1)	1

N1	2965(3)	4456(1)	1353(1)	18(1)	1

C3	2949(4)	5728(1)	1345(1)	20(1)	1

C1	3969(4)	3877(1)	1914(1)	18(1)	1

C2	3970(4)	5081(1)	1919(1)	16(1)	1

C4	3965(4)	6349(1)	1924(1)	22(1)	1

Table 3. Bond lengths [Å] and angles [°].

Cl1-C1	1.7340(14)

N1-C1	1.2942(19)

N1-C2	1.3697(18)

C3-C4	1.370(2)

C3-C2	1.4114(19)

C1-C1i	1.432(3)

C2-C2i	1.423(3)

C4-C4i	1.416(3)

C1-N1-C2	117.42(12)

C4-C3-C2	119.05(13)

N1-C1-C1i	122.16(8)

N1-C1-Cl1	117.49(11)

C1i-C1-Cl1	120.34(5)

N1-C2-C3	119.69(13)

N1-C2-C2i	120.41(8)

C3-C2-C2i	119.89(8)

C3-C4-C4i	121.06(9)

Symmetry transformations used to generate equivalent atoms:

(i) -x+1,y,-z+1/2

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Cl1	33(1) 	18(1)	25(1) 	-5(1)	-2(1) 	-4(1)

N1	17(1) 	20(1)	16(1) 	-1(1)	0(1) 	-1(1)

C3	18(1) 	23(1)	18(1) 	3(1)	1(1) 	2(1)

C1	19(1) 	18(1)	17(1) 	-3(1)	2(1) 	-2(1)

C2	15(1) 	18(1)	15(1) 	-1(1)	1(1) 	0(1)

C4	23(1) 	17(1)	26(1) 	4(1)	3(1) 	2(1)