|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2007src0178

Empirical formula 	C16H26Cl2N2O3Si2

Formula weight 	421.47

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 7.14930(10) Å	a = 90°

b = 18.6099(6) Å	b = 113.221(2)°

c = 8.8649(2) Å	g  = 90°

Volume	1083.91(5) Å3

Z	2

Density (calculated)	1.291 Mg / m3

Absorption coefficient	0.427 mm-1

F(000)	444

Crystal	Slab; Colourless

Crystal size	0.18 ´ 0.12 ´ 0.06 mm3

q range for data collection	3.12 - 27.48°

Index ranges	-9 £ h £ 9, -24 £ k £ 24, -11 £ l £ 11

Reflections collected	16224

Independent reflections	2475 [Rint = 0.0511]

Completeness to q = 27.48°	99.6 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9748 and 0.9271

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2475 / 0 / 122

Goodness-of-fit on F2	1.279

Final R indices [F2 > 2s(F2)]	R1 = 0.0435, wR2 = 0.1141

R indices (all data)	R1 = 0.0499, wR2 = 0.1266

Extinction coefficient	0.136(10)

Largest diff. peak and hole	0.803 and -0.593 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: Sir2004 (Burla, M.C., Caliandro, R., Carrozzini, B., Cascarano, G., De Caro, L., Giacovazzo, C. & Polidori, G. (2004). J. Appl. Cryst. 37, 258). Structure refinement: SHELXL97 (Sheldrick, G. M. (1997). University of Göttingen, Germany). Graphics: PLATON/PLUTON  (Spek, A. L. (1990). Acta Cryst. A46, C34).

Special details:

Hydrogen atoms were fixed as riding models.

Atom O2 is disordered over two sites at 50 % occupancy per site.

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	3987(3)	1586(1)	6701(2)	20(1)	1

C2	3287(3)	1719(1)	7944(2)	22(1)	1

C3	1247(3)	1819(1)	7542(2)	26(1)	1

C4	-113(3)	1790(1)	5891(2)	26(1)	1

C5	614(3)	1650(1)	4716(2)	22(1)	1

C6	3369(2)	1388(1)	3801(2)	20(1)	1

C7	878(3)	17(1)	2740(3)	39(1)	1

C8	4379(4)	343(1)	1676(3)	45(1)	1

N1	2645(2)	1542(1)	5122(2)	19(1)	1

O1	5908(2)	1493(1)	6943(1)	25(1)	1

O2	5260(15)	47(7)	4947(17)	26(1)	0.50

Si1	3459(1)	392(1)	3353(1)	22(1)	1

Cl1	3605(1)	3292(1)	5313(1)	25(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-O1	1.315(2)

C1-N1	1.352(2)

C1-C2	1.400(2)

C2-C3	1.371(3)

C2-H2	0.9500

C3-C4	1.403(3)

C3-H3	0.9500

C4-C5	1.361(3)

C4-H4	0.9500

C5-N1	1.367(2)

C5-H5	0.9500

C6-N1	1.483(2)

C6-Si1	1.9027(18)

C6-H6A	0.9900

C6-H6B	0.9900

C7-Si1	1.843(2)

C7-H7A	0.9800

C7-H7B	0.9800

C7-H7C	0.9800

C8-Si1	1.850(2)

C8-H8A	0.9800

C8-H8B	0.9800

C8-H8C	0.9800

O1-H1	0.8400

O2-Si1	1.622(14)

O2-Si1i	1.640(14)

Si1-O2i	1.640(14)

O1-C1-N1	115.46(15)

O1-C1-C2	124.69(15)

N1-C1-C2	119.85(15)

C3-C2-C1	119.55(16)

C3-C2-H2	120.2

C1-C2-H2	120.2

C2-C3-C4	119.65(17)

C2-C3-H3	120.2

C4-C3-H3	120.2

C5-C4-C3	119.32(16)

C5-C4-H4	120.3

C3-C4-H4	120.3

C4-C5-N1	120.88(16)

C4-C5-H5	119.6

N1-C5-H5	119.6

N1-C6-Si1	113.82(11)

N1-C6-H6A	108.8

Si1-C6-H6A	108.8

N1-C6-H6B	108.8

Si1-C6-H6B	108.8

H6A-C6-H6B	107.7

Si1-C7-H7A	109.5

Si1-C7-H7B	109.5

H7A-C7-H7B	109.5

Si1-C7-H7C	109.5

H7A-C7-H7C	109.5

H7B-C7-H7C	109.5

Si1-C8-H8A	109.5

Si1-C8-H8B	109.5

H8A-C8-H8B	109.5

Si1-C8-H8C	109.5

H8A-C8-H8C	109.5

H8B-C8-H8C	109.5

C1-N1-C5	120.70(15)

C1-N1-C6	120.22(14)

C5-N1-C6	119.06(13)

C1-O1-H1	109.5

Si1-O2-Si1i	164.0(4)

O2-Si1-C7	117.7(3)

O2i-Si1-C7	102.3(3)

O2-Si1-C8	105.6(4)

O2i-Si1-C8	117.9(4)

C7-Si1-C8	112.13(11)

O2-Si1-C6	106.5(5)

O2i-Si1-C6	110.2(5)

C7-Si1-C6	108.54(9)

C8-Si1-C6	105.53(9)

Symmetry transformations used to generate equivalent atoms:

(i) -x+1,-y,-z+1

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	21(1) 	17(1)	19(1) 	0(1)	5(1) 	0(1)

C2	28(1) 	21(1)	17(1) 	0(1)	8(1) 	-1(1)

C3	30(1) 	24(1)	27(1) 	0(1)	16(1) 	-2(1)

C4	19(1) 	29(1)	32(1) 	0(1)	10(1) 	-1(1)

C5	19(1) 	21(1)	22(1) 	2(1)	4(1) 	-1(1)

C6	21(1) 	24(1)	14(1) 	1(1)	5(1) 	0(1)

C7	35(1) 	21(1)	60(1) 	3(1)	17(1) 	-1(1)

C8	67(2) 	39(1)	42(1) 	-10(1)	36(1) 	-5(1)

N1	20(1) 	18(1)	17(1) 	0(1)	6(1) 	0(1)

O1	18(1) 	37(1)	16(1) 	-4(1)	2(1) 	3(1)

O2	27(5) 	25(3)	21(2) 	2(2)	3(3) 	7(3)

Si1	25(1) 	23(1)	15(1) 	0(1)	5(1) 	5(1)

Cl1	25(1) 	29(1)	16(1) 	1(1)	2(1) 	-4(1)

Table 5. Hydrogen coordinates [´ 104] and isotropic displacement parameters [Å2 ´ 103].

Atom 	x	y	z	Ueq	S.o.f.

H2	4220	1740	9058	27	1

H3	756	1907	8377	31	1

H4	-1527	1867	5598	32	1

H5	-304	1628	3597	27	1

H6A	4750	1593	4117	24	1

H6B	2460	1633	2785	24	1

H7A	849	-473	2325	59	1

H7B	-93	317	1877	59	1

H7C	507	7	3693	59	1

H8A	5762	539	2059	67	1

H8B	3476	624	736	67	1

H8C	4387	-159	1345	67	1

H1	6641	1544	7946	38	1

Table 6. Hydrogen bonds [Å and °].

D-H···A	d(D-H)	d(H···A)	d(D···A)	Ð(DHA)

O1-H1...Cl1ii	0.84	2.04	2.8738(12)	174.9

Symmetry transformations used to generate equivalent atoms:

(i) -x+1,-y,-z+1    (ii) x+1/2,-y+1/2,z+1/2