|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2007src0238

Empirical formula 	C13H21NO2Si

Formula weight 	251.40

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 7.23190(10) Å	a = 90°

b = 11.0720(3) Å	b = 90°

c = 18.1646(5) Å	g  = 90°

Volume	1454.47(6) Å3

Z	4

Density (calculated)	1.148 Mg / m3

Absorption coefficient	0.153 mm-1

F(000)	544

Crystal	Block; Colourless

Crystal size	0.40 ´ 0.40 ´ 0.34 mm3

q range for data collection	3.03 - 27.47°

Index ranges	-9 £ h £ 8, -14 £ k £ 14, -23 £ l £ 23

Reflections collected	17363

Independent reflections	3314 [Rint = 0.0369]

Completeness to q = 27.47°	99.3 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9497 and 0.9412

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3314 / 0 / 160

Goodness-of-fit on F2	1.261

Final R indices [F2 > 2s(F2)]	R1 = 0.0457, wR2 = 0.1094

R indices (all data)	R1 = 0.0492, wR2 = 0.1123

Absolute structure parameter	0.06(12)

Extinction coefficient	0.212(11)

Largest diff. peak and hole	0.555 and -0.985 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: Sir2004 (Burla, M.C., Caliandro, R., Carrozzini, B., Cascarano, G., De Caro, L., Giacovazzo, C. & Polidori, G. (2004). J. Appl. Cryst. 37, 258). Structure refinement: SHELXL97 (Sheldrick, G. M. (1997). University of Göttingen, Germany). Graphics: PLATON/PLUTON  (Spek, A. L. (1990). Acta Cryst. A46, C34).

Special details:

Hydrogen atoms were fixed as riding models.

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	725(3)	1554(2)	966(1)	36(1)	1

C2	2726(3)	3982(2)	908(1)	32(1)	1

C3	4989(3)	1712(2)	1062(1)	36(1)	1

C4	1153(2)	2229(1)	2680(1)	18(1)	1

C5	-308(2)	3225(1)	2596(1)	20(1)	1

C6	-3411(3)	3939(2)	2824(1)	35(1)	1

C7	-2704(2)	1804(2)	3087(1)	27(1)	1

C8	1848(2)	2205(2)	3474(1)	20(1)	1

C9	2418(2)	3268(2)	3817(1)	27(1)	1

C10	3163(3)	3233(2)	4519(1)	35(1)	1

C11	3329(3)	2146(2)	4886(1)	40(1)	1

C12	2727(3)	1092(2)	4557(1)	38(1)	1

C13	1992(3)	1117(2)	3848(1)	27(1)	1

N1	-2059(2)	2968(1)	2803(1)	22(1)	1

O1	2707(1)	2468(1)	2219(1)	21(1)	1

O2	137(2)	4223(1)	2361(1)	31(1)	1

Si1	2740(1)	2440(1)	1308(1)	21(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-Si1	1.864(2)

C1-H1A	0.9800

C1-H1B	0.9800

C1-H1C	0.9800

C2-Si1	1.8559(18)

C2-H2A	0.9800

C2-H2B	0.9800

C2-H2C	0.9800

C3-Si1	1.8697(19)

C3-H3A	0.9800

C3-H3B	0.9800

C3-H3C	0.9800

C4-O1	1.4266(17)

C4-C8	1.526(2)

C4-C5	1.535(2)

C4-H4	1.0000

C5-O2	1.227(2)

C5-N1	1.351(2)

C6-N1	1.454(2)

C6-H6A	0.9800

C6-H6B	0.9800

C6-H6C	0.9800

C7-N1	1.465(2)

C7-H7A	0.9800

C7-H7B	0.9800

C7-H7C	0.9800

C8-C13	1.387(2)

C8-C9	1.394(2)

C9-C10	1.385(3)

C9-H9	0.9500

C10-C11	1.381(3)

C10-H10	0.9500

C11-C12	1.381(3)

C11-H11	0.9500

C12-C13	1.393(2)

C12-H12	0.9500

C13-H13	0.9500

O1-Si1	1.6553(11)

Si1-C1-H1A	109.5

Si1-C1-H1B	109.5

H1A-C1-H1B	109.5

Si1-C1-H1C	109.5

H1A-C1-H1C	109.5

H1B-C1-H1C	109.5

Si1-C2-H2A	109.5

Si1-C2-H2B	109.5

H2A-C2-H2B	109.5

Si1-C2-H2C	109.5

H2A-C2-H2C	109.5

H2B-C2-H2C	109.5

Si1-C3-H3A	109.5

Si1-C3-H3B	109.5

H3A-C3-H3B	109.5

Si1-C3-H3C	109.5

H3A-C3-H3C	109.5

H3B-C3-H3C	109.5

O1-C4-C8	107.36(12)

O1-C4-C5	110.46(11)

C8-C4-C5	109.48(12)

O1-C4-H4	109.8

C8-C4-H4	109.8

C5-C4-H4	109.8

O2-C5-N1	122.14(15)

O2-C5-C4	120.09(14)

N1-C5-C4	117.75(13)

N1-C6-H6A	109.5

N1-C6-H6B	109.5

H6A-C6-H6B	109.5

N1-C6-H6C	109.5

H6A-C6-H6C	109.5

H6B-C6-H6C	109.5

N1-C7-H7A	109.5

N1-C7-H7B	109.5

H7A-C7-H7B	109.5

N1-C7-H7C	109.5

H7A-C7-H7C	109.5

H7B-C7-H7C	109.5

C13-C8-C9	119.47(14)

C13-C8-C4	120.13(14)

C9-C8-C4	120.34(14)

C10-C9-C8	120.21(16)

C10-C9-H9	119.9

C8-C9-H9	119.9

C11-C10-C9	120.15(17)

C11-C10-H10	119.9

C9-C10-H10	119.9

C12-C11-C10	120.00(16)

C12-C11-H11	120.0

C10-C11-H11	120.0

C11-C12-C13	120.24(18)

C11-C12-H12	119.9

C13-C12-H12	119.9

C8-C13-C12	119.90(16)

C8-C13-H13	120.0

C12-C13-H13	120.0

C5-N1-C6	118.85(14)

C5-N1-C7	125.57(14)

C6-N1-C7	115.28(14)

C4-O1-Si1	126.51(9)

O1-Si1-C2	112.01(7)

O1-Si1-C1	109.41(7)

C2-Si1-C1	110.44(10)

O1-Si1-C3	105.03(8)

C2-Si1-C3	107.95(9)

C1-Si1-C3	111.91(10)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	37(1) 	44(1)	25(1) 	-7(1)	-5(1) 	-3(1)

C2	41(1) 	29(1)	27(1) 	4(1)	8(1) 	6(1)

C3	33(1) 	39(1)	34(1) 	5(1)	14(1) 	11(1)

C4	16(1) 	20(1)	17(1) 	-1(1)	2(1) 	-2(1)

C5	18(1) 	22(1)	20(1) 	2(1)	0(1) 	-2(1)

C6	19(1) 	25(1)	60(1) 	-2(1)	4(1) 	1(1)

C7	22(1) 	24(1)	34(1) 	2(1)	4(1) 	-5(1)

C8	15(1) 	28(1)	18(1) 	-2(1)	2(1) 	1(1)

C9	20(1) 	32(1)	29(1) 	-7(1)	3(1) 	-3(1)

C10	24(1) 	52(1)	29(1) 	-16(1)	0(1) 	-4(1)

C11	26(1) 	74(2)	21(1) 	-7(1)	-5(1) 	8(1)

C12	38(1) 	49(1)	26(1) 	9(1)	-2(1) 	13(1)

C13	29(1) 	28(1)	24(1) 	1(1)	0(1) 	3(1)

N1	16(1) 	20(1)	30(1) 	2(1)	2(1) 	-1(1)

O1	17(1) 	29(1)	17(1) 	0(1)	3(1) 	-2(1)

O2	25(1) 	21(1)	47(1) 	11(1)	6(1) 	-1(1)

Si1	22(1) 	23(1)	18(1) 	0(1)	3(1) 	2(1)

Table 5. Hydrogen coordinates [´ 104] and isotropic displacement parameters [Å2 ´ 103].

Atom 	x	y	z	Ueq	S.o.f.

H1A	742	747	1187	53	1

H1B	798	1482	429	53	1

H1C	-424	1968	1101	53	1

H2A	1541	4374	1015	49	1

H2B	2895	3930	373	49	1

H2C	3734	4457	1123	49	1

H3A	6010	2186	1267	53	1

H3B	5109	1675	525	53	1

H3C	5025	892	1265	53	1

H4	603	1428	2550	21	1

H6A	-2895	4659	2587	52	1

H6B	-3719	4125	3337	52	1

H6C	-4532	3687	2563	52	1

H7A	-1849	1165	2933	40	1

H7B	-3940	1633	2893	40	1

H7C	-2754	1834	3626	40	1

H9	2295	4019	3568	32	1

H10	3561	3959	4749	42	1

H11	3856	2122	5364	48	1

H12	2814	348	4814	45	1

H13	1590	390	3621	32	1