|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2007src0763

Empirical formula 	C19H28ClNO2S

Formula weight 	369.93

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pna21

Unit cell dimensions	a = 15.4076(3) Å	a = 90°

b = 12.9924(4) Å	b = 90°

c = 9.3800(3) Å	g  = 90°

Volume	1877.70(9) Å3

Z	4

Density (calculated)	1.309 Mg / m3

Absorption coefficient	0.326 mm-1

F(000)	792

Crystal	Rod; Colourless

Crystal size	0.24 ´ 0.10 ´ 0.10 mm3

q range for data collection	2.99 - 28.50°

Index ranges	-20 £ h £ 17, -14 £ k £ 17, -12 £ l £ 12

Reflections collected	10624

Independent reflections	4506 [Rint = 0.0506]

Completeness to q = 28.50°	99.3 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.7458 and 0.6519

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4506 / 1 / 220

Goodness-of-fit on F2	1.074

Final R indices [F2 > 2s(F2)]	R1 = 0.0699, wR2 = 0.1726

R indices (all data)	R1 = 0.0743, wR2 = 0.1761

Absolute structure parameter	0.40(12)

Largest diff. peak and hole	1.193 and -0.769 e Å-3

Diffractometer: Bruker-Nonius APEX II CCD camera (f scans and w scans to fill asymmetric unit). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS 2007/2 - Bruker Nonius area detector scaling and absorption correction. Structure solution: Sir2004 (Burla, M.C., Caliandro, R., Carrozzini, B., Cascarano, G., De Caro, L., Giacovazzo, C. & Polidori, G. (2004). J. Appl. Cryst. 37, 258).  Structure refinement: SHELXL97 (Sheldrick, G. M. (1997). University of Göttingen, Germany). Graphics: PLATON/PLUTON  (Spek, A. L. (1990). Acta Cryst. A46, C34).

Special details:

The structure is a mixture of enantiomers with a refined ratio of 0.40 (12).

All hydrogen atoms have been fixed as riding models.

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	6588(3)	84(3)	4155(7)	30(1)	1

C2	5781(3)	562(3)	4821(5)	24(1)	1

C3	5669(3)	1715(3)	4487(5)	24(1)	1

C4	4831(3)	2177(3)	5167(4)	20(1)	1

C5	4717(3)	2159(4)	2553(4)	23(1)	1

C6	5647(3)	2017(4)	2915(5)	32(1)	1

C7	4989(3)	3070(3)	6201(4)	20(1)	1

C8	5506(3)	3982(3)	5568(5)	24(1)	1

C9	5584(3)	4854(3)	6652(5)	28(1)	1

C10	6019(3)	4469(4)	8020(5)	30(1)	1

C11	5533(3)	3563(4)	8666(5)	33(1)	1

C12	5428(3)	2699(3)	7578(5)	27(1)	1

C13	2898(2)	1193(2)	4013(5)	17(1)	1

C14	2667(3)	712(3)	2746(4)	25(1)	1

C15	2420(3)	-320(4)	2756(5)	29(1)	1

C16	2397(2)	-866(2)	4018(5)	21(1)	1

C17	2623(3)	-378(3)	5287(5)	26(1)	1

C18	2872(3)	648(3)	5280(5)	23(1)	1

C19	2134(3)	-1985(3)	4030(6)	29(1)	1

N1	4305(2)	2502(2)	3934(5)	17(1)	1

O1	3012(2)	2914(2)	5357(3)	23(1)	1

O2	2936(2)	2943(2)	2706(3)	23(1)	1

S1	3249(1)	2479(1)	4004(1)	16(1)	1

Cl1	4855(1)	-170(1)	4156(2)	41(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-C2	1.524(6)

C1-H1A	0.9800

C1-H1B	0.9800

C1-H1C	0.9800

C2-C3	1.540(5)

C2-Cl1	1.824(4)

C2-H2	1.0000

C3-C6	1.526(7)

C3-C4	1.560(6)

C3-H3	1.0000

C4-N1	1.474(6)

C4-C7	1.532(5)

C4-H4	1.0000

C5-C6	1.484(6)

C5-N1	1.509(6)

C5-H5A	0.9900

C5-H5B	0.9900

C6-H6A	0.9900

C6-H6B	0.9900

C7-C12	1.536(6)

C7-C8	1.546(5)

C7-H7	1.0000

C8-C9	1.527(5)

C8-H8A	0.9900

C8-H8B	0.9900

C9-C10	1.532(7)

C9-H9A	0.9900

C9-H9B	0.9900

C10-C11	1.521(7)

C10-H10A	0.9900

C10-H10B	0.9900

C11-C12	1.526(6)

C11-H11A	0.9900

C11-H11B	0.9900

C12-H12A	0.9900

C12-H12B	0.9900

C13-C18	1.384(6)

C13-C14	1.389(6)

C13-S1	1.756(3)

C14-C15	1.393(6)

C14-H14	0.9500

C15-C16	1.382(7)

C15-H15	0.9500

C16-C17	1.393(6)

C16-C19	1.509(5)

C17-C18	1.388(6)

C17-H17	0.9500

C18-H18	0.9500

C19-H19A	0.9800

C19-H19B	0.9800

C19-H19C	0.9800

N1-S1	1.629(3)

O1-S1	1.436(3)

O2-S1	1.442(3)

C2-C1-H1A	109.5

C2-C1-H1B	109.5

H1A-C1-H1B	109.5

C2-C1-H1C	109.5

H1A-C1-H1C	109.5

H1B-C1-H1C	109.5

C1-C2-C3	113.8(3)

C1-C2-Cl1	106.6(3)

C3-C2-Cl1	110.5(3)

C1-C2-H2	108.6

C3-C2-H2	108.6

Cl1-C2-H2	108.6

C6-C3-C2	116.7(4)

C6-C3-C4	106.1(3)

C2-C3-C4	112.6(3)

C6-C3-H3	107.0

C2-C3-H3	107.0

C4-C3-H3	107.0

N1-C4-C7	111.6(3)

N1-C4-C3	104.2(3)

C7-C4-C3	114.8(3)

N1-C4-H4	108.7

C7-C4-H4	108.7

C3-C4-H4	108.7

C6-C5-N1	104.2(3)

C6-C5-H5A	110.9

N1-C5-H5A	110.9

C6-C5-H5B	110.9

N1-C5-H5B	110.9

H5A-C5-H5B	108.9

C5-C6-C3	106.0(4)

C5-C6-H6A	110.5

C3-C6-H6A	110.5

C5-C6-H6B	110.5

C3-C6-H6B	110.5

H6A-C6-H6B	108.7

C4-C7-C12	111.4(3)

C4-C7-C8	114.8(3)

C12-C7-C8	109.7(3)

C4-C7-H7	106.8

C12-C7-H7	106.8

C8-C7-H7	106.8

C9-C8-C7	110.7(4)

C9-C8-H8A	109.5

C7-C8-H8A	109.5

C9-C8-H8B	109.5

C7-C8-H8B	109.5

H8A-C8-H8B	108.1

C8-C9-C10	110.5(4)

C8-C9-H9A	109.5

C10-C9-H9A	109.5

C8-C9-H9B	109.5

C10-C9-H9B	109.5

H9A-C9-H9B	108.1

C11-C10-C9	111.8(4)

C11-C10-H10A	109.3

C9-C10-H10A	109.3

C11-C10-H10B	109.3

C9-C10-H10B	109.3

H10A-C10-H10B	107.9

C10-C11-C12	110.8(4)

C10-C11-H11A	109.5

C12-C11-H11A	109.5

C10-C11-H11B	109.5

C12-C11-H11B	109.5

H11A-C11-H11B	108.1

C11-C12-C7	112.2(3)

C11-C12-H12A	109.2

C7-C12-H12A	109.2

C11-C12-H12B	109.2

C7-C12-H12B	109.2

H12A-C12-H12B	107.9

C18-C13-C14	119.9(3)

C18-C13-S1	119.9(3)

C14-C13-S1	120.2(3)

C13-C14-C15	119.8(4)

C13-C14-H14	120.1

C15-C14-H14	120.1

C16-C15-C14	120.5(4)

C16-C15-H15	119.8

C14-C15-H15	119.8

C15-C16-C17	119.5(3)

C15-C16-C19	120.5(4)

C17-C16-C19	120.0(4)

C18-C17-C16	120.2(4)

C18-C17-H17	119.9

C16-C17-H17	119.9

C13-C18-C17	120.2(4)

C13-C18-H18	119.9

C17-C18-H18	119.9

C16-C19-H19A	109.5

C16-C19-H19B	109.5

H19A-C19-H19B	109.5

C16-C19-H19C	109.5

H19A-C19-H19C	109.5

H19B-C19-H19C	109.5

C4-N1-C5	110.9(3)

C4-N1-S1	120.9(3)

C5-N1-S1	116.7(3)

O1-S1-O2	119.83(15)

O1-S1-N1	106.3(2)

O2-S1-N1	107.0(2)

O1-S1-C13	107.0(2)

O2-S1-C13	107.4(2)

N1-S1-C13	108.96(15)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	27(2) 	18(2)	46(3) 	0(2)	6(2) 	5(1)

C2	21(2) 	16(2)	33(2) 	-1(2)	-2(2) 	1(1)

C3	24(2) 	18(2)	29(2) 	1(2)	0(2) 	0(1)

C4	25(2) 	17(2)	18(2) 	-1(1)	1(2) 	-1(2)

C5	22(2) 	31(2)	16(2) 	1(2)	5(2) 	5(2)

C6	29(2) 	31(2)	36(3) 	-3(2)	7(2) 	5(2)

C7	23(2) 	16(2)	21(2) 	-4(1)	3(2) 	-3(1)

C8	27(2) 	13(2)	31(2) 	-2(2)	-1(2) 	0(1)

C9	21(2) 	19(2)	43(3) 	-10(2)	2(2) 	-5(2)

C10	28(2) 	31(2)	30(2) 	-10(2)	-3(2) 	-2(2)

C11	34(2) 	33(2)	31(3) 	-6(2)	-3(2) 	-6(2)

C12	30(2) 	22(2)	27(2) 	1(2)	-4(2) 	-2(2)

C13	15(1) 	15(1)	22(2) 	2(2)	2(2) 	0(1)

C14	38(3) 	21(2)	15(2) 	1(2)	-2(2) 	-6(2)

C15	49(3) 	20(2)	19(2) 	-6(2)	-4(2) 	-13(2)

C16	19(2) 	17(1)	27(2) 	-4(2)	-4(2) 	-2(1)

C17	33(2) 	20(2)	23(2) 	1(2)	1(2) 	-9(2)

C18	27(2) 	23(2)	18(2) 	-2(2)	0(2) 	-7(2)

C19	34(2) 	20(2)	32(2) 	4(2)	4(2) 	-5(1)

N1	10(1) 	18(1)	22(1) 	-2(1)	-6(2) 	0(1)

O1	25(2) 	21(2)	24(2) 	-7(1)	4(1) 	0(1)

O2	19(1) 	19(2)	32(2) 	6(1)	-4(1) 	4(1)

S1	16(1) 	13(1)	20(1) 	-2(1)	0(1) 	1(1)

Cl1	30(1) 	19(1)	74(1) 	-12(1)	2(1) 	-4(1)

Table 5. Hydrogen coordinates [´ 104] and isotropic displacement parameters [Å2 ´ 103].

Atom 	x	y	z	Ueq	S.o.f.

H1A	6527	78	3115	46	1

H1B	6657	-623	4503	46	1

H1C	7099	490	4420	46	1

H2	5813	473	5878	28	1

H3	6174	2081	4925	28	1

H4	4516	1618	5683	24	1

H5A	4457	1506	2216	28	1

H5B	4645	2689	1804	28	1

H6A	5973	2664	2758	38	1

H6B	5907	1469	2320	38	1

H7	4406	3343	6476	24	1

H8A	6093	3746	5289	28	1

H8B	5208	4238	4702	28	1

H9A	5000	5125	6878	33	1

H9B	5932	5421	6239	33	1

H10A	6623	4258	7804	36	1

H10B	6043	5037	8722	36	1

H11A	4954	3793	8993	39	1

H11B	5856	3302	9505	39	1

H12A	5076	2140	8004	32	1

H12B	6006	2413	7345	32	1

H14	2678	1085	1875	30	1

H15	2265	-649	1888	35	1

H17	2607	-749	6160	31	1

H18	3025	979	6148	27	1

H19A	1576	-2064	3539	43	1

H19B	2077	-2222	5017	43	1

H19C	2576	-2395	3540	43	1