|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2007src0196

Empirical formula 	C27H41GaI3MoO2P

Formula weight 	974.93

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 9.2979(5) Å	a = 90°

b = 18.4632(8) Å	b = 99.325(3)°

c = 18.9798(9) Å	g  = 90°

Volume	3215.2(3) Å3

Z	4

Density (calculated)	2.014 Mg / m3

Absorption coefficient	4.180 mm-1

F(000)	1864

Crystal	Plate; Red

Crystal size	0.18 ´ 0.05 ´ 0.02 mm3

q range for data collection	3.05 - 25.03°

Index ranges	-11 £ h £ 11, -21 £ k £ 21, -22 £ l £ 21

Reflections collected	20355

Independent reflections	5554 [Rint = 0.0731]

Completeness to q = 25.03°	97.8 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9211 and 0.5199

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	5554 / 145 / 320

Goodness-of-fit on F2	1.077

Final R indices [F2 > 2s(F2)]	R1 = 0.0731, wR2 = 0.1836

R indices (all data)	R1 = 0.0947, wR2 = 0.2047

Largest diff. peak and hole	2.559 and -1.340 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: Sir2004 (Burla, M.C., Caliandro, R., Carrozzini, B., Cascarano, G., De Caro, L., Giacovazzo, C. & Polidori, G. (2004). J. Appl. Cryst. 37, 258). Structure refinement: SHELXL97 (Sheldrick, G. M. (1997). University of Göttingen, Germany). Graphics: PLATON/PLUTON  (Spek, A. L. (1990). Acta Cryst. A46, C34).

Special details:

The position of atom H1 was refined, with the P1-H1 bond length fixed at a value determined from a search of the Cambridge Structural Database. The remaining hydrogen atoms in the structure were fixed as riding models.

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	3751(15)	1522(8)	9122(8)	35(3)	1

C2	1789(17)	465(8)	9067(8)	40(3)	1

C3	2178(19)	314(8)	10744(8)	45(3)	1

C4	1355(17)	928(8)	10778(8)	40(3)	1

C5	1836(16)	1657(7)	10787(7)	33(2)	1

C6	3272(17)	1928(8)	10820(8)	41(3)	1

C7	4492(17)	1532(9)	10762(8)	45(3)	1

C8	4694(18)	776(10)	10678(8)	51(3)	1

C9	3652(19)	219(9)	10677(8)	46(3)	1

O1	4278(12)	1749(7)	8667(6)	54(3)	1

O2	1350(16)	123(7)	8614(6)	64(3)	1

Ga1	753(2)	1963(1)	9172(1)	27(1)	1

Mo1	2704(1)	1112(1)	9877(1)	27(1)	1

I1	1325(1)	3361(1)	9486(1)	36(1)	1

I2	-1888(1)	1775(1)	9532(1)	37(1)	1

I3	131(1)	2017(1)	7774(1)	40(1)	1

C10	8050(15)	4524(6)	8379(6)	27(2)	1

C11	7314(16)	5275(7)	8355(8)	36(3)	1

C12	8336(15)	5853(7)	8193(8)	33(3)	1

C13	8932(19)	5683(8)	7497(8)	42(3)	1

C14	9621(16)	4922(8)	7508(8)	41(3)	1

C15	8555(15)	4354(7)	7683(7)	30(3)	1

C16	5424(15)	3445(7)	8144(7)	30(3)	1

C17	5833(15)	2952(8)	7539(7)	34(3)	1

C18	4464(16)	2622(8)	7117(7)	37(3)	1

C19	3324(15)	3195(8)	6840(7)	33(3)	1

C20	2979(14)	3698(8)	7438(8)	36(3)	1

C21	4329(16)	4042(7)	7846(7)	35(3)	1

C22	6552(14)	4093(7)	9576(6)	27(2)	1

C23	5885(17)	3469(7)	9963(7)	36(3)	1

C24	5487(18)	3727(10)	10669(7)	46(4)	1

C25	6766(17)	4058(8)	11159(7)	36(3)	1

C26	7397(17)	4662(9)	10767(7)	39(3)	1

C27	7865(17)	4400(8)	10079(7)	38(3)	1

P1	7027(4)	3802(2)	8730(2)	29(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-O1	1.139(17)

C1-Mo1	2.007(14)

C2-O2	1.090(17)

C2-Mo1	2.024(14)

C3-C4	1.37(2)

C3-C9	1.41(2)

C3-Mo1	2.319(14)

C3-H3	0.9500

C4-C5	1.42(2)

C4-Mo1	2.303(14)

C4-H4	0.9500

C5-C6	1.42(2)

C5-Mo1	2.258(13)

C5-H5	0.9500

C6-C7	1.37(2)

C6-Mo1	2.334(14)

C6-H6	0.9500

C7-C8	1.42(2)

C7-Mo1	2.298(15)

C7-H7	0.9500

C8-C9	1.41(2)

C8-Mo1	2.281(15)

C8-H8	0.9500

C9-Mo1	2.317(14)

C9-H9	0.9500

Ga1-Mo1	2.6015(17)

Ga1-I3	2.6235(16)

Ga1-I2	2.6760(17)

Ga1-I1	2.6817(16)

C10-C15	1.505(17)

C10-C11	1.544(17)

C10-P1	1.824(13)

C10-H10	1.0000

C11-C12	1.495(18)

C11-H11A	0.9900

C11-H11B	0.9900

C12-C13	1.55(2)

C12-H12A	0.9900

C12-H12B	0.9900

C13-C14	1.54(2)

C13-H13A	0.9900

C13-H13B	0.9900

C14-C15	1.517(19)

C14-H14A	0.9900

C14-H14B	0.9900

C15-H15A	0.9900

C15-H15B	0.9900

C16-C21	1.545(17)

C16-C17	1.559(18)

C16-P1	1.832(13)

C16-H16	1.0000

C17-C18	1.518(19)

C17-H17A	0.9900

C17-H17B	0.9900

C18-C19	1.53(2)

C18-H18A	0.9900

C18-H18B	0.9900

C19-C20	1.54(2)

C19-H19A	0.9900

C19-H19B	0.9900

C20-C21	1.505(19)

C20-H20A	0.9900

C20-H20B	0.9900

C21-H21A	0.9900

C21-H21B	0.9900

C22-C27	1.530(19)

C22-C23	1.549(18)

C22-P1	1.816(12)

C22-H22	1.0000

C23-C24	1.523(18)

C23-H23A	0.9900

C23-H23B	0.9900

C24-C25	1.51(2)

C24-H24A	0.9900

C24-H24B	0.9900

C25-C26	1.51(2)

C25-H25A	0.9900

C25-H25B	0.9900

C26-C27	1.521(19)

C26-H26A	0.9900

C26-H26B	0.9900

C27-H27A	0.9900

C27-H27B	0.9900

P1-H1	1.43(10)

O1-C1-Mo1	176.3(13)

O2-C2-Mo1	176.6(16)

C4-C3-C9	131.7(15)

C4-C3-Mo1	72.1(8)

C9-C3-Mo1	72.3(8)

C4-C3-H3	114.1

C9-C3-H3	114.1

Mo1-C3-H3	138.5

C3-C4-C5	127.3(15)

C3-C4-Mo1	73.3(9)

C5-C4-Mo1	70.1(8)

C3-C4-H4	116.3

C5-C4-H4	116.3

Mo1-C4-H4	134.9

C6-C5-C4	128.9(14)

C6-C5-Mo1	75.0(8)

C4-C5-Mo1	73.7(8)

C6-C5-H5	115.5

C4-C5-H5	115.5

Mo1-C5-H5	128.9

C7-C6-C5	126.5(14)

C7-C6-Mo1	71.4(9)

C5-C6-Mo1	69.1(8)

C7-C6-H6	116.7

C5-C6-H6	116.7

Mo1-C6-H6	138.7

C6-C7-C8	131.3(15)

C6-C7-Mo1	74.3(9)

C8-C7-Mo1	71.3(9)

C6-C7-H7	114.4

C8-C7-H7	114.4

Mo1-C7-H7	135.9

C9-C8-C7	127.8(15)

C9-C8-Mo1	73.5(9)

C7-C8-Mo1	72.6(8)

C9-C8-H8	116.1

C7-C8-H8	116.1

Mo1-C8-H8	131.5

C3-C9-C8	125.8(15)

C3-C9-Mo1	72.4(8)

C8-C9-Mo1	70.7(8)

C3-C9-H9	117.1

C8-C9-H9	117.1

Mo1-C9-H9	134.0

Mo1-Ga1-I3	124.36(6)

Mo1-Ga1-I2	112.47(6)

I3-Ga1-I2	101.66(6)

Mo1-Ga1-I1	111.72(6)

I3-Ga1-I1	101.08(5)

I2-Ga1-I1	103.00(5)

C1-Mo1-C2	82.7(6)

C1-Mo1-C5	130.8(6)

C2-Mo1-C5	133.3(6)

C1-Mo1-C8	98.2(6)

C2-Mo1-C8	122.8(6)

C5-Mo1-C8	87.9(6)

C1-Mo1-C7	91.0(6)

C2-Mo1-C7	157.0(6)

C5-Mo1-C7	66.2(6)

C8-Mo1-C7	36.1(6)

C1-Mo1-C4	166.2(6)

C2-Mo1-C4	105.3(6)

C5-Mo1-C4	36.2(5)

C8-Mo1-C4	86.9(6)

C7-Mo1-C4	85.6(6)

C1-Mo1-C9	124.0(6)

C2-Mo1-C9	98.4(6)

C5-Mo1-C9	87.8(5)

C8-Mo1-C9	35.8(6)

C7-Mo1-C9	66.9(6)

C4-Mo1-C9	66.7(5)

C1-Mo1-C3	158.3(6)

C2-Mo1-C3	93.1(6)

C5-Mo1-C3	66.3(5)

C8-Mo1-C3	66.2(6)

C7-Mo1-C3	84.6(6)

C4-Mo1-C3	34.6(5)

C9-Mo1-C3	35.4(6)

C1-Mo1-C6	103.3(6)

C2-Mo1-C6	168.3(6)

C5-Mo1-C6	35.9(5)

C8-Mo1-C6	66.8(6)

C7-Mo1-C6	34.4(6)

C4-Mo1-C6	67.0(6)

C9-Mo1-C6	86.7(6)

C3-Mo1-C6	85.0(5)

C1-Mo1-Ga1	77.5(4)

C2-Mo1-Ga1	78.1(4)

C5-Mo1-Ga1	79.6(4)

C8-Mo1-Ga1	158.4(5)

C7-Mo1-Ga1	122.3(4)

C4-Mo1-Ga1	93.0(4)

C9-Mo1-Ga1	158.0(4)

C3-Mo1-Ga1	122.7(4)

C6-Mo1-Ga1	93.3(4)

C15-C10-C11	111.1(11)

C15-C10-P1	115.0(9)

C11-C10-P1	114.3(9)

C15-C10-H10	105.1

C11-C10-H10	105.1

P1-C10-H10	105.1

C12-C11-C10	110.8(12)

C12-C11-H11A	109.5

C10-C11-H11A	109.5

C12-C11-H11B	109.5

C10-C11-H11B	109.5

H11A-C11-H11B	108.1

C11-C12-C13	111.0(12)

C11-C12-H12A	109.4

C13-C12-H12A	109.4

C11-C12-H12B	109.4

C13-C12-H12B	109.4

H12A-C12-H12B	108.0

C14-C13-C12	112.3(12)

C14-C13-H13A	109.1

C12-C13-H13A	109.1

C14-C13-H13B	109.1

C12-C13-H13B	109.1

H13A-C13-H13B	107.9

C15-C14-C13	110.3(12)

C15-C14-H14A	109.6

C13-C14-H14A	109.6

C15-C14-H14B	109.6

C13-C14-H14B	109.6

H14A-C14-H14B	108.1

C10-C15-C14	110.9(11)

C10-C15-H15A	109.5

C14-C15-H15A	109.5

C10-C15-H15B	109.5

C14-C15-H15B	109.5

H15A-C15-H15B	108.1

C21-C16-C17	111.9(11)

C21-C16-P1	112.8(9)

C17-C16-P1	112.7(9)

C21-C16-H16	106.3

C17-C16-H16	106.3

P1-C16-H16	106.3

C18-C17-C16	109.8(11)

C18-C17-H17A	109.7

C16-C17-H17A	109.7

C18-C17-H17B	109.7

C16-C17-H17B	109.7

H17A-C17-H17B	108.2

C17-C18-C19	112.3(11)

C17-C18-H18A	109.1

C19-C18-H18A	109.1

C17-C18-H18B	109.1

C19-C18-H18B	109.1

H18A-C18-H18B	107.9

C18-C19-C20	112.3(11)

C18-C19-H19A	109.1

C20-C19-H19A	109.1

C18-C19-H19B	109.1

C20-C19-H19B	109.1

H19A-C19-H19B	107.9

C21-C20-C19	112.2(11)

C21-C20-H20A	109.2

C19-C20-H20A	109.2

C21-C20-H20B	109.2

C19-C20-H20B	109.2

H20A-C20-H20B	107.9

C20-C21-C16	109.4(11)

C20-C21-H21A	109.8

C16-C21-H21A	109.8

C20-C21-H21B	109.8

C16-C21-H21B	109.8

H21A-C21-H21B	108.2

C27-C22-C23	108.7(11)

C27-C22-P1	112.1(9)

C23-C22-P1	111.9(9)

C27-C22-H22	108.0

C23-C22-H22	108.0

P1-C22-H22	108.0

C24-C23-C22	111.0(11)

C24-C23-H23A	109.4

C22-C23-H23A	109.4

C24-C23-H23B	109.4

C22-C23-H23B	109.4

H23A-C23-H23B	108.0

C25-C24-C23	112.8(13)

C25-C24-H24A	109.0

C23-C24-H24A	109.0

C25-C24-H24B	109.0

C23-C24-H24B	109.0

H24A-C24-H24B	107.8

C26-C25-C24	108.9(12)

C26-C25-H25A	109.9

C24-C25-H25A	109.9

C26-C25-H25B	109.9

C24-C25-H25B	109.9

H25A-C25-H25B	108.3

C25-C26-C27	112.1(13)

C25-C26-H26A	109.2

C27-C26-H26A	109.2

C25-C26-H26B	109.2

C27-C26-H26B	109.2

H26A-C26-H26B	107.9

C26-C27-C22	110.0(12)

C26-C27-H27A	109.7

C22-C27-H27A	109.7

C26-C27-H27B	109.7

C22-C27-H27B	109.7

H27A-C27-H27B	108.2

C22-P1-C10	108.8(6)

C22-P1-C16	110.7(6)

C10-P1-C16	117.6(6)

C22-P1-H1	116(5)

C10-P1-H1	102(5)

C16-P1-H1	101(5)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	25(6) 	40(7)	39(5) 	4(5)	5(5) 	-1(5)

C2	51(9) 	28(6)	37(5) 	-6(5)	-1(5) 	-1(5)

C3	62(7) 	32(5)	41(7) 	12(5)	8(6) 	-1(5)

C4	45(6) 	40(6)	36(6) 	12(5)	11(5) 	-3(4)

C5	41(5) 	33(5)	24(5) 	-3(5)	2(5) 	4(5)

C6	49(6) 	40(5)	29(6) 	-2(5)	-7(5) 	-8(4)

C7	36(5) 	62(6)	33(6) 	8(6)	-8(5) 	-9(5)

C8	39(5) 	69(7)	40(7) 	17(7)	-5(5) 	18(5)

C9	68(7) 	42(5)	29(7) 	12(5)	10(6) 	18(5)

O1	40(6) 	79(8)	47(7) 	18(6)	14(5) 	1(6)

O2	97(10) 	48(7)	44(7) 	-16(5)	0(6) 	-3(7)

Ga1	25(1) 	28(1)	27(1) 	0(1)	1(1) 	3(1)

Mo1	28(1) 	28(1)	26(1) 	2(1)	2(1) 	4(1)

I1	34(1) 	25(1)	45(1) 	-2(1)	-1(1) 	1(1)

I2	29(1) 	33(1)	51(1) 	4(1)	12(1) 	2(1)

I3	39(1) 	51(1)	26(1) 	0(1)	-3(1) 	-3(1)

C10	43(7) 	19(5)	19(6) 	-1(4)	5(5) 	9(4)

C11	35(8) 	26(5)	51(9) 	-2(6)	13(6) 	-5(5)

C12	27(7) 	27(6)	47(8) 	1(6)	7(6) 	-12(5)

C13	62(10) 	32(6)	32(7) 	2(6)	7(6) 	-11(6)

C14	33(8) 	46(7)	48(8) 	-4(6)	18(6) 	-5(6)

C15	35(7) 	32(6)	22(6) 	-1(5)	3(5) 	2(5)

C16	35(6) 	19(6)	32(6) 	-8(5)	-6(5) 	2(4)

C17	31(7) 	43(8)	25(6) 	1(5)	-1(5) 	13(5)

C18	42(8) 	34(7)	30(7) 	-8(5)	-7(6) 	-5(5)

C19	33(7) 	43(7)	19(6) 	5(5)	-7(5) 	-16(5)

C20	23(6) 	45(8)	39(8) 	8(6)	1(5) 	-1(5)

C21	41(7) 	32(7)	27(7) 	-3(5)	-8(5) 	12(5)

C22	35(7) 	24(6)	21(5) 	2(4)	1(4) 	8(5)

C23	48(9) 	33(7)	29(6) 	-13(5)	13(6) 	-16(6)

C24	55(9) 	62(10)	25(7) 	-6(6)	17(6) 	-10(7)

C25	51(8) 	40(7)	19(6) 	0(5)	7(5) 	12(6)

C26	40(8) 	59(9)	17(6) 	5(5)	1(5) 	2(6)

C27	55(9) 	38(8)	21(6) 	-7(5)	7(5) 	-16(6)

P1	29(2) 	31(2)	24(2) 	-2(1)	-1(1) 	-1(1)

Table 5. Hydrogen coordinates [´ 104] and isotropic displacement parameters [Å2 ´ 103].

Atom 	x	y	z	Ueq	S.o.f.

H3	1659	-125	10772	54	1

H4	351	855	10797	48	1

H5	1094	2013	10768	39	1

H6	3400	2435	10890	49	1

H7	5355	1812	10781	54	1

H8	5642	628	10614	61	1

H9	3976	-264	10627	55	1

H10	8964	4575	8734	33	1

H11A	6433	5275	7984	44	1

H11B	7007	5376	8821	44	1

H12A	9158	5893	8593	40	1

H12B	7820	6324	8143	40	1

H13A	8126	5716	7087	50	1

H13B	9673	6049	7427	50	1

H14A	9895	4816	7036	49	1

H14B	10517	4908	7869	49	1

H15A	7703	4336	7296	36	1

H15B	9030	3873	7715	36	1

H16	4907	3127	8448	36	1

H17A	6344	3242	7217	40	1

H17B	6499	2562	7750	40	1

H18A	4039	2276	7426	44	1

H18B	4725	2348	6708	44	1

H19A	2417	2950	6615	40	1

H19B	3685	3489	6469	40	1

H20A	2302	4082	7226	43	1

H20B	2485	3415	7772	43	1

H21A	4071	4336	8243	42	1

H21B	4776	4366	7527	42	1

H22	5805	4486	9477	33	1

H23A	5002	3284	9654	43	1

H23B	6596	3067	10053	43	1

H24A	4697	4090	10572	56	1

H24B	5112	3311	10915	56	1

H25A	6440	4252	11593	44	1

H25B	7519	3685	11306	44	1

H26A	8249	4872	11081	47	1

H26B	6659	5049	10654	47	1

H27A	8620	4020	10188	46	1

H27B	8290	4807	9843	46	1

H1	8010(130)	3200(60)	8760(70)	30(30)	1