|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2007src0078y / LAS-1037-241

Empirical formula 	C7H10N4O3

Formula weight 	198.19

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 8.5795(3) Å	a = 90°

b = 8.5965(2) Å	b = 98.957(2)°

c = 11.4708(3) Å	g  = 90°

Volume	835.70(4) Å3

Z	4

Density (calculated)	1.575 Mg / m3

Absorption coefficient	0.126 mm-1

F(000)	416

Crystal	Block; Light Yellow

Crystal size	0.36 ´ 0.22 ´ 0.15 mm3

q range for data collection	2.97 - 27.48°

Index ranges	-11 £ h £ 10, -11 £ k £ 9, -14 £ l £ 13

Reflections collected	10301

Independent reflections	1904 [Rint = 0.0366]

Completeness to q = 27.48°	99.8 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9814 and 0.9561

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1904 / 0 / 149

Goodness-of-fit on F2	1.048

Final R indices [F2 > 2s(F2)]	R1 = 0.0349, wR2 = 0.0879

R indices (all data)	R1 = 0.0423, wR2 = 0.0937

Extinction coefficient	0.044(8)

Largest diff. peak and hole	0.317 and -0.218 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS Version 2.10. (G. M. Sheldrick (2003)) Bruker AXS Inc., Madison, Wisconsin, USA. Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP3 for Windows (L. J. Farrugia, J. Appl. Crystallogr. 1997, 30, 565).

Special details:

All the hydrogen atoms not involved in hydrogen bonding were fixed using a standard riding model

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	8239(1)	2972(1)	9344(1)	13(1)	1

C2	9795(1)	3713(1)	7774(1)	14(1)	1

C3	9304(1)	5404(1)	7812(1)	15(1)	1

C4	8388(1)	5755(1)	8784(1)	13(1)	1

C5	7887(1)	4571(1)	9483(1)	12(1)	1

C6	7088(1)	5346(1)	10297(1)	12(1)	1

C7	6494(2)	8156(1)	10623(1)	18(1)	1

N1	9203(1)	2654(1)	8498(1)	14(1)	1

N2	7969(1)	7151(1)	9096(1)	14(1)	1

N3	7162(1)	6871(1)	10041(1)	13(1)	1

N4	6403(1)	4767(1)	11180(1)	17(1)	1

O1	7768(1)	1885(1)	9910(1)	18(1)	1

O2	10688(1)	3296(1)	7103(1)	19(1)	1

O11	10001(1)	-594(1)	8295(1)	20(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-O1	1.2403(15)

C1-N1	1.3965(15)

C1-C5	1.4216(17)

C2-O2	1.2208(14)

C2-N1	1.3819(15)

C2-C3	1.5161(17)

C3-C4	1.4916(15)

C3-H3A	0.9900

C3-H3B	0.9900

C4-N2	1.3179(16)

C4-C5	1.4043(16)

C5-C6	1.4092(16)

C6-N4	1.3429(15)

C6-N3	1.3473(16)

C7-N3	1.4540(16)

C7-H7A	0.9800

C7-H7B	0.9800

C7-H7C	0.9800

N1-H1	0.940(19)

N2-N3	1.3948(13)

N4-H4A	0.889(18)

N4-H4B	0.93(2)

O11-H11A	0.91(2)

O11-H11B	0.91(2)

O1-C1-N1	119.51(11)

O1-C1-C5	125.25(11)

N1-C1-C5	115.24(10)

O2-C2-N1	120.71(11)

O2-C2-C3	120.29(11)

N1-C2-C3	118.99(10)

C4-C3-C2	113.36(10)

C4-C3-H3A	108.9

C2-C3-H3A	108.9

C4-C3-H3B	108.9

C2-C3-H3B	108.9

H3A-C3-H3B	107.7

N2-C4-C5	112.60(10)

N2-C4-C3	125.78(10)

C5-C4-C3	121.62(11)

C4-C5-C6	105.02(11)

C4-C5-C1	123.20(11)

C6-C5-C1	131.73(11)

N4-C6-N3	124.50(11)

N4-C6-C5	129.74(12)

N3-C6-C5	105.74(10)

N3-C7-H7A	109.5

N3-C7-H7B	109.5

H7A-C7-H7B	109.5

N3-C7-H7C	109.5

H7A-C7-H7C	109.5

H7B-C7-H7C	109.5

C2-N1-C1	127.00(10)

C2-N1-H1	116.6(11)

C1-N1-H1	116.4(11)

C4-N2-N3	104.09(9)

C6-N3-N2	112.54(10)

C6-N3-C7	127.12(10)

N2-N3-C7	120.34(10)

C6-N4-H4A	120.2(11)

C6-N4-H4B	124.7(12)

H4A-N4-H4B	115.0(17)

H11A-O11-H11B	104.1(18)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	11(1) 	15(1)	11(1) 	0(1)	1(1) 	-1(1)

C2	14(1) 	15(1)	12(1) 	-1(1)	2(1) 	0(1)

C3	19(1) 	13(1)	14(1) 	2(1)	6(1) 	2(1)

C4	12(1) 	13(1)	13(1) 	0(1)	3(1) 	-1(1)

C5	13(1) 	13(1)	12(1) 	0(1)	3(1) 	0(1)

C6	12(1) 	14(1)	11(1) 	0(1)	2(1) 	-1(1)

C7	21(1) 	14(1)	19(1) 	-3(1)	7(1) 	2(1)

N1	17(1) 	11(1)	15(1) 	-1(1)	5(1) 	1(1)

N2	15(1) 	14(1)	13(1) 	2(1)	7(1) 	0(1)

N3	15(1) 	13(1)	13(1) 	0(1)	7(1) 	0(1)

N4	21(1) 	16(1)	16(1) 	0(1)	10(1) 	-1(1)

O1	21(1) 	13(1)	20(1) 	4(1)	6(1) 	-2(1)

O2	22(1) 	18(1)	20(1) 	-2(1)	10(1) 	2(1)

O11	23(1) 	15(1)	22(1) 	4(1)	7(1) 	-1(1)

Table 5. Hydrogen coordinates [´ 104] and isotropic displacement parameters [Å2 ´ 103].

Atom 	x	y	z	Ueq	S.o.f.

H3A	10261	6065	7910	18	1

H3B	8656	5680	7049	18	1

H7A	5347	8031	10540	26	1

H7B	6741	9139	10260	26	1

H7C	6944	8164	11462	26	1

H1	9490(20)	1610(20)	8419(15)	33(5)	1

H4A	6336(19)	3740(20)	11275(14)	26(4)	1

H4B	5940(20)	5360(20)	11704(17)	41(5)	1

H11A	10850(30)	-840(20)	8839(18)	47(6)	1

H11B	9190(30)	-1120(30)	8537(19)	54(6)	1

Table 6. Hydrogen bonds [Å and °].

D-H···A	d(D-H)	d(H···A)	d(D···A)	Ð(DHA)

N1-H1...O11	0.940(19)	1.95(2)	2.8925(14)	177.3(16)

N4-H4A...O2i	0.889(18)	2.110(18)	2.9383(15)	154.7(15)

N4-H4B...O11i	0.93(2)	2.11(2)	2.9574(14)	150.9(17)

O11-H11A...O1ii	0.91(2)	1.93(2)	2.8128(14)	162.2(18)

O11-H11B...N2iii	0.91(2)	1.98(2)	2.8534(14)	160(2)

Symmetry transformations used to generate equivalent atoms:

(i) x-1/2,-y+1/2,z+1/2    (ii) -x+2,-y,-z+2    (iii) x,y-1,z