|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0040p1

Empirical formula 	C12H20N2O6

Formula weight 	288.30

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 5.749(3) Å	 = 80.40(2)°

b = 6.541(3) Å	 = 78.70(2)°

c = 9.903(5) Å	  = 71.71(3)°

Volume	344.5(3) Å3

Z	1

Density (calculated)	1.390 Mg / m3

Absorption coefficient	0.112 mm1

F(000)	154

Crystal	block; colourless

Crystal size	0.16  0.11  0.07 mm3

 range for data collection	3.30  25.00°

Index ranges	6  h  6, 7  k  7, 11  l  11

Reflections collected	5982

Independent reflections	1199 [Rint = 0.1351]

Completeness to  = 25.00°	98.8 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9922 and 0.9824

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1199 / 0 / 94

Goodness-of-fit on F2	0.984

Final R indices [F2 > 2(F2)]	R1 = 0.0722, wR2 = 0.1665

R indices (all data)	R1 = 0.1812, wR2 = 0.2185

Largest diff. peak and hole	0.242 and 0.249 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	5761(9)	6667(8)	1187(5)	55(1)	1

C2	5841(9)	5703(8)	94(5)	59(2)	1

O1A	7327(6)	7864(6)	1005(3)	66(1)	1

O1B	4461(7)	6409(6)	2266(4)	65(1)	1

C22	7731(9)	825(8)	3525(5)	51(1)	1

C23	9746(9)	1546(8)	2567(5)	57(1)	1

C24	10393(9)	3098(8)	3337(4)	54(1)	1

C25	8428(9)	3425(7)	4636(5)	52(1)	1

N21	7144(7)	1827(6)	4653(4)	51(1)	1

O22	6732(6)	510(5)	3319(3)	61(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.198(6)

C1O1A	1.337(6)

C1C2	1.495(6)

C2C2i	1.499(9)

C2H2A	0.9900

C2H2B	0.9900

O1AH1	0.8400

C22O22	1.247(5)

C22N21	1.322(6)

C22C23	1.493(7)

C23C24	1.535(6)

C23H23A	0.9900

C23H23B	0.9900

C24C25	1.532(6)

C24H24A	0.9900

C24H24B	0.9900

C25N21	1.453(5)

C25H25A	0.9900

C25H25B	0.9900

N21H21	0.8800

O1BC1O1A	122.9(4)

O1BC1C2	124.7(4)

O1AC1C2	112.5(5)

C1C2C2i	113.6(5)

C1C2H2A	108.9

C2iC2H2A	108.9

C1C2H2B	108.9

C2iC2H2B	108.9

H2AC2H2B	107.7

C1O1AH1	109.5

O22C22N21	124.3(4)

O22C22C23	126.4(4)

N21C22C23	109.3(4)

C22C23C24	105.5(4)

C22C23H23A	110.6

C24C23H23A	110.6

C22C23H23B	110.6

C24C23H23B	110.6

H23AC23H23B	108.8

C25C24C23	105.1(3)

C25C24H24A	110.7

C23C24H24A	110.7

C25C24H24B	110.7

C23C24H24B	110.7

H24AC24H24B	108.8

N21C25C24	104.1(3)

N21C25H25A	110.9

C24C25H25A	110.9

N21C25H25B	110.9

C24C25H25B	110.9

H25AC25H25B	109.0

C22N21C25	115.1(4)

C22N21H21	122.5

C25N21H21	122.5

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y+1,z

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	66(3) 	59(3)	54(3) 	13(3)	13(3) 	31(3)

C2	76(4) 	62(3)	50(3) 	18(2)	6(3) 	33(3)

O1A	80(2) 	86(3)	51(2) 	24(2)	1(2) 	52(2)

O1B	77(2) 	83(3)	50(2) 	22(2)	4(2) 	46(2)

C22	59(3) 	56(3)	47(3) 	14(3)	3(2) 	28(3)

C23	67(3) 	61(3)	51(3) 	14(2)	3(3) 	32(3)

C24	59(3) 	65(3)	52(3) 	12(2)	2(2) 	39(3)

C25	59(3) 	57(3)	54(3) 	12(2)	6(2) 	35(3)

N21	60(3) 	58(3)	48(2) 	9(2)	0(2) 	37(2)

O22	70(2) 	72(2)	58(2) 	24(2)	3(2) 	43(2)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

O1AH1...O22ii	0.84	1.77	2.603(4)	173.8

N21H21...O22iii	0.88	2.07	2.935(5)	165.8

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y+1,z    (ii) x,y+1,z    (iii) x+1,y,z+1