|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0053c2c

Empirical formula 	C10H16N4O5

Formula weight 	272.27

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	C2/c

Unit cell dimensions	a = 9.1937(6) Å	 = 90°

b = 13.5734(6) Å	 = 99.252(4)°

c = 10.5047(5) Å	  = 90°

Volume	1293.83(12) Å3

Z	4

Density (calculated)	1.398 Mg / m3

Absorption coefficient	0.113 mm1

F(000)	576

Crystal	fragment; colourless

Crystal size	0.15  0.07  0.02 mm3

 range for data collection	3.00  27.47°

Index ranges	11  h  11, 17  k  17, 13  l  13

Reflections collected	14887

Independent reflections	1488 [Rint = 0.1136]

Completeness to  = 27.47°	99.9 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9977 and 0.9833

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1488 / 2 / 92

Goodness-of-fit on F2	1.072

Final R indices [F2 > 2(F2)]	R1 = 0.0485, wR2 = 0.1051

R indices (all data)	R1 = 0.0664, wR2 = 0.1131

Largest diff. peak and hole	0.297 and 0.304 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2109(2)	2982(1)	5183(2)	18(1)	1

O1A	1821(1)	3024(1)	6308(1)	22(1)	1

O1B	1842(1)	3629(1)	4332(1)	24(1)	1

C22	1926(2)	4182(1)	11476(2)	22(1)	1

C24	3382(2)	3952(1)	10020(2)	20(1)	1

C25	3652(2)	3236(1)	10926(2)	23(1)	1

C26	4023(2)	4145(2)	8833(2)	28(1)	1

N21	2732(2)	3393(1)	11816(1)	22(1)	1

N23	2290(2)	4533(1)	10390(1)	20(1)	1

O1W	0	4231(1)	7500	30(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.248(2)

C1O1A	1.253(2)

C1C1i	1.570(3)

C22N21	1.319(2)

C22N23	1.328(2)

C22H22	0.9500

C24C25	1.356(3)

C24N23	1.380(2)

C24C26	1.485(2)

C25N21	1.374(2)

C25H25	0.9500

C26H26A	0.9800

C26H26B	0.9800

C26H26C	0.9800

N21H21	0.8800

N23H23	0.8800

O1WH1W	0.905(15)

O1BC1O1A	126.55(15)

O1BC1C1i	117.16(18)

O1AC1C1i	116.29(18)

N21C22N23	108.37(15)

N21C22H22	125.8

N23C22H22	125.8

C25C24N23	105.72(15)

C25C24C26	131.56(17)

N23C24C26	122.71(16)

C24C25N21	107.63(15)

C24C25H25	126.2

N21C25H25	126.2

C24C26H26A	109.5

C24C26H26B	109.5

H26AC26H26B	109.5

C24C26H26C	109.5

H26AC26H26C	109.5

H26BC26H26C	109.5

C22N21C25	108.83(15)

C22N21H21	125.6

C25N21H21	125.6

C22N23C24	109.45(15)

C22N23H23	125.3

C24N23H23	125.3

Symmetry transformations used to generate equivalent atoms:

(i) x+1/2,y+1/2,z+1

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	18(1) 	17(1)	18(1) 	2(1)	5(1) 	3(1)

O1A	29(1) 	20(1)	19(1) 	0(1)	10(1) 	3(1)

O1B	35(1) 	17(1)	21(1) 	2(1)	8(1) 	4(1)

C22	24(1) 	20(1)	22(1) 	1(1)	7(1) 	1(1)

C24	19(1) 	22(1)	20(1) 	2(1)	3(1) 	2(1)

C25	23(1) 	24(1)	23(1) 	1(1)	6(1) 	4(1)

C26	26(1) 	36(1)	23(1) 	2(1)	7(1) 	2(1)

N21	27(1) 	21(1)	19(1) 	3(1)	6(1) 	1(1)

N23	23(1) 	17(1)	20(1) 	2(1)	5(1) 	1(1)

O1W	31(1) 	19(1)	45(1) 	0	23(1) 	0

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N21H21...O1Aii	0.88	1.90	2.7376(19)	157.4

N21H21...O1Biii	0.88	2.34	2.9083(19)	122.7

N23H23...O1Biv	0.88	1.91	2.7358(19)	156.2

O1WH1W...O1Av	0.905(15)	1.889(18)	2.7804(16)	168.1(16)

Symmetry transformations used to generate equivalent atoms:

(i) x+1/2,y+1/2,z+1    (ii) x+1/2,y+1/2,z+2

(iii) x,y,z+1    (iv)  x,y+1,z+1/2    (v) x,y,z+3/2