|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0065p21n

Empirical formula 	C16H32N2O8

Formula weight 	380.44

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 17.308(2) Å	 = 90°

b = 9.0088(14) Å	 = 105.305(7)°

c = 18.932(3) Å	  = 90°

Volume	2847.2(7) Å3

Z	6

Density (calculated)	1.331 Mg / m3

Absorption coefficient	0.106 mm1

F(000)	1236

Crystal	block; colourless

Crystal size	0.18  0.11  0.07 mm3

 range for data collection	2.93  27.48°

Index ranges	22  h  22, 11  k  11, 24  l  23

Reflections collected	51188

Independent reflections	6444 [Rint = 0.3562]

Completeness to  = 27.48°	98.5 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9926 and 0.9812

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6444 / 0 / 364

Goodness-of-fit on F2	1.014

Final R indices [F2 > 2(F2)]	R1 = 0.1472, wR2 = 0.3334

R indices (all data)	R1 = 0.3760, wR2 = 0.4538

Largest diff. peak and hole	0.583 and 0.387 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	1754(5)	411(9)	1583(4)	43(2)	1

C2	2511(5)	342(10)	1961(5)	58(3)	1

C3	2533(6)	1159(10)	2619(5)	72(3)	1

C4	2478(5)	163(10)	3261(5)	61(3)	1

C5	3198(6)	698(11)	3630(5)	61(3)	1

O1A	1115(3)	224(6)	1764(3)	48(2)	1

O1B	1782(3)	1303(6)	1056(3)	57(2)	1

O5A	3837(3)	593(7)	3479(4)	74(2)	1

O5B	3143(3)	1638(7)	4190(3)	62(2)	1

C21	4629(5)	2210(9)	5261(5)	65(3)	1

C23	5246(4)	4433(8)	4863(4)	38(2)	1

C24	5183(4)	2085(8)	4183(4)	48(2)	1

N22	4774(4)	3050(7)	4627(4)	47(2)	1

C31	8322(5)	10006(11)	1685(5)	54(2)	1

C32	7757(5)	11215(10)	1296(5)	58(3)	1

C33	7060(5)	10580(10)	736(4)	57(3)	1

C34	7313(4)	9921(9)	92(4)	47(2)	1

C35	6650(5)	9009(10)	408(5)	56(2)	1

O31A	9012(3)	10013(7)	1598(3)	67(2)	1

O31B	8129(3)	9081(7)	2103(3)	59(2)	1

O35A	6847(3)	8227(8)	910(3)	64(2)	1

O35B	5971(3)	9047(7)	345(3)	63(2)	1

C41	5154(4)	7885(9)	787(4)	46(2)	1

C43	5206(4)	5609(8)	1509(4)	38(2)	1

C44	4721(4)	4520(9)	1808(4)	44(2)	1

C46	4763(5)	2294(9)	2535(5)	55(2)	1

C47	4623(5)	7897(9)	1872(4)	51(2)	1

C48	5538(5)	2367(9)	1635(5)	54(2)	1

N42	4747(3)	7007(7)	1245(3)	38(2)	1

N45	5211(3)	3237(7)	2140(3)	39(2)	1

C51	3260(5)	5491(10)	23(5)	49(2)	1

C52	2453(5)	4700(10)	350(5)	53(2)	1

C53	2471(5)	3721(10)	953(5)	56(2)	1

C54	2515(4)	4491(10)	1649(4)	49(2)	1

C55	1744(5)	5326(10)	2033(4)	49(2)	1

O51A	3212(3)	6411(6)	533(3)	47(2)	1

O51B	3850(3)	5308(6)	179(3)	54(2)	1

O55A	1767(4)	6024(7)	2643(3)	64(2)	1

O55B	1153(3)	5303(7)	1828(3)	63(2)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1A	1.253(9)

C1O1B	1.291(9)

C1C2	1.481(10)

C2C3	1.437(11)

C2H2A	0.9900

C2H2B	0.9900

C3C4	1.534(12)

C3H3A	0.9900

C3H3B	0.9900

C4C5	1.477(13)

C4H4A	0.9900

C4H4B	0.9900

C5O5A	1.217(9)

C5O5B	1.379(11)

O5BH5	0.8400

C21N22	1.495(10)

C21H21A	0.9800

C21H21B	0.9800

C21H21C	0.9800

C23N22	1.492(9)

C23C23i	1.506(13)

C23H23A	0.9900

C23H23B	0.9900

C24N22	1.508(9)

C24H24A	0.9800

C24H24B	0.9800

C24H24C	0.9800

N22H22	0.9300

C31O31A	1.249(9)

C31O31B	1.254(10)

C31C32	1.518(12)

C32C33	1.494(11)

C32H32A	0.9900

C32H32B	0.9900

C33C34	1.522(10)

C33H33A	0.9900

C33H33B	0.9900

C34C35	1.521(11)

C34H34A	0.9900

C34H34B	0.9900

C35O35B	1.213(9)

C35O35A	1.300(9)

O35AH35	0.8400

C41N42	1.484(8)

C41H41A	0.9800

C41H41B	0.9800

C41H41C	0.9800

C43C44	1.497(10)

C43N42	1.502(9)

C43H43A	0.9900

C43H43B	0.9900

C44N45	1.473(9)

C44H44A	0.9900

C44H44B	0.9900

C46N45	1.479(9)

C46H46A	0.9800

C46H46B	0.9800

C46H46C	0.9800

C47N42	1.494(9)

C47H47A	0.9800

C47H47B	0.9800

C47H47C	0.9800

C48N45	1.460(9)

C48H48A	0.9800

C48H48B	0.9800

C48H48C	0.9800

N42H42	0.9300

N45H45	0.9300

C51O51B	1.192(8)

C51O51A	1.292(9)

C51C52	1.562(11)

C52C53	1.449(11)

C52H52A	0.9900

C52H52B	0.9900

C53C54	1.509(11)

C53H53A	0.9900

C53H53B	0.9900

C54C55	1.537(11)

C54H54A	0.9900

C54H54B	0.9900

C55O55B	1.186(8)

C55O55A	1.326(9)

O55AH55	0.8400

O1AC1O1B	120.7(7)

O1AC1C2	122.5(8)

O1BC1C2	116.8(8)

C3C2C1	118.1(8)

C3C2H2A	107.8

C1C2H2A	107.8

C3C2H2B	107.8

C1C2H2B	107.8

H2AC2H2B	107.1

C2C3C4	113.2(7)

C2C3H3A	108.9

C4C3H3A	108.9

C2C3H3B	108.9

C4C3H3B	108.9

H3AC3H3B	107.8

C5C4C3	117.4(8)

C5C4H4A	107.9

C3C4H4A	107.9

C5C4H4B	107.9

C3C4H4B	107.9

H4AC4H4B	107.2

O5AC5O5B	118.7(10)

O5AC5C4	123.6(9)

O5BC5C4	117.7(7)

C5O5BH5	109.5

N22C21H21A	109.5

N22C21H21B	109.5

H21AC21H21B	109.5

N22C21H21C	109.5

H21AC21H21C	109.5

H21BC21H21C	109.5

N22C23C23i	110.8(7)

N22C23H23A	109.5

C23iC23H23A	109.5

N22C23H23B	109.5

C23iC23H23B	109.5

H23AC23H23B	108.1

N22C24H24A	109.5

N22C24H24B	109.5

H24AC24H24B	109.5

N22C24H24C	109.5

H24AC24H24C	109.5

H24BC24H24C	109.5

C23N22C21	112.1(6)

C23N22C24	110.4(5)

C21N22C24	111.0(6)

C23N22H22	107.7

C21N22H22	107.7

C24N22H22	107.7

O31AC31O31B	120.7(8)

O31AC31C32	116.6(9)

O31BC31C32	122.6(8)

C33C32C31	111.4(7)

C33C32H32A	109.3

C31C32H32A	109.3

C33C32H32B	109.3

C31C32H32B	109.3

H32AC32H32B	108.0

C32C33C34	111.6(7)

C32C33H33A	109.3

C34C33H33A	109.3

C32C33H33B	109.3

C34C33H33B	109.3

H33AC33H33B	108.0

C35C34C33	112.3(7)

C35C34H34A	109.1

C33C34H34A	109.1

C35C34H34B	109.1

C33C34H34B	109.1

H34AC34H34B	107.9

O35BC35O35A	122.3(8)

O35BC35C34	121.1(8)

O35AC35C34	116.6(7)

C35O35AH35	109.5

N42C41H41A	109.5

N42C41H41B	109.5

H41AC41H41B	109.5

N42C41H41C	109.5

H41AC41H41C	109.5

H41BC41H41C	109.5

C44C43N42	112.0(6)

C44C43H43A	109.2

N42C43H43A	109.2

C44C43H43B	109.2

N42C43H43B	109.2

H43AC43H43B	107.9

N45C44C43	111.0(6)

N45C44H44A	109.4

C43C44H44A	109.4

N45C44H44B	109.4

C43C44H44B	109.4

H44AC44H44B	108.0

N45C46H46A	109.5

N45C46H46B	109.5

H46AC46H46B	109.5

N45C46H46C	109.5

H46AC46H46C	109.5

H46BC46H46C	109.5

N42C47H47A	109.5

N42C47H47B	109.5

H47AC47H47B	109.5

N42C47H47C	109.5

H47AC47H47C	109.5

H47BC47H47C	109.5

N45C48H48A	109.5

N45C48H48B	109.5

H48AC48H48B	109.5

N45C48H48C	109.5

H48AC48H48C	109.5

H48BC48H48C	109.5

C41N42C47	111.6(6)

C41N42C43	110.5(5)

C47N42C43	111.1(6)

C41N42H42	107.8

C47N42H42	107.8

C43N42H42	107.8

C48N45C44	114.9(6)

C48N45C46	111.6(6)

C44N45C46	110.3(6)

C48N45H45	106.5

C44N45H45	106.5

C46N45H45	106.5

O51BC51O51A	124.0(8)

O51BC51C52	122.1(8)

O51AC51C52	113.8(7)

C53C52C51	115.5(7)

C53C52H52A	108.4

C51C52H52A	108.4

C53C52H52B	108.4

C51C52H52B	108.4

H52AC52H52B	107.5

C52C53C54	115.2(8)

C52C53H53A	108.5

C54C53H53A	108.5

C52C53H53B	108.5

C54C53H53B	108.5

H53AC53H53B	107.5

C53C54C55	113.5(6)

C53C54H54A	108.9

C55C54H54A	108.9

C53C54H54B	108.9

C55C54H54B	108.9

H54AC54H54B	107.7

O55BC55O55A	121.3(8)

O55BC55C54	123.6(8)

O55AC55C54	115.0(6)

C55O55AH55	109.5

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y1,z+1

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	48(5) 	43(5)	34(5) 	9(4)	3(4) 	15(4)

C2	47(5) 	66(6)	54(6) 	18(5)	3(5) 	20(5)

C3	106(8) 	49(6)	71(8) 	16(5)	39(6) 	22(5)

C4	74(7) 	70(6)	37(5) 	9(5)	14(5) 	22(6)

C5	61(7) 	85(7)	49(6) 	32(6)	35(5) 	28(6)

O1A	36(3) 	60(4)	46(4) 	3(3)	10(3) 	4(3)

O1B	55(4) 	67(4)	55(4) 	9(3)	26(3) 	8(3)

O5A	52(4) 	92(5)	87(5) 	36(4)	34(4) 	15(4)

O5B	35(3) 	102(5)	46(4) 	3(4)	7(3) 	6(3)

C21	61(6) 	55(6)	96(8) 	8(6)	52(6) 	5(5)

C23	28(4) 	45(5)	41(5) 	11(4)	10(3) 	9(4)

C24	41(5) 	45(5)	50(5) 	12(4)	2(4) 	13(4)

N22	32(4) 	53(4)	53(5) 	2(4)	4(3) 	3(3)

C31	46(5) 	88(7)	27(5) 	2(5)	9(4) 	20(5)

C32	53(5) 	59(6)	51(6) 	9(5)	5(5) 	21(5)

C33	57(6) 	71(6)	37(5) 	3(5)	0(4) 	25(5)

C34	41(5) 	65(6)	31(5) 	8(4)	5(4) 	9(4)

C35	48(6) 	82(7)	35(5) 	8(5)	7(4) 	20(5)

O31A	50(4) 	81(5)	74(5) 	13(4)	22(3) 	21(3)

O31B	53(4) 	83(5)	38(4) 	2(3)	7(3) 	9(3)

O35A	47(4) 	103(5)	46(4) 	12(4)	21(3) 	22(4)

O35B	34(3) 	100(5)	58(4) 	15(3)	18(3) 	6(3)

C41	41(5) 	62(6)	39(5) 	4(4)	16(4) 	11(4)

C43	34(4) 	46(5)	35(5) 	3(4)	13(4) 	0(4)

C44	37(4) 	50(5)	48(5) 	0(4)	16(4) 	0(4)

C46	47(5) 	62(6)	60(6) 	5(5)	21(5) 	2(4)

C47	39(5) 	58(6)	59(6) 	5(5)	18(4) 	1(4)

C48	49(5) 	58(6)	62(6) 	17(5)	25(5) 	22(4)

N42	26(4) 	46(4)	45(4) 	6(3)	15(3) 	2(3)

N45	27(3) 	55(4)	32(4) 	8(3)	5(3) 	6(3)

C51	36(5) 	60(6)	52(6) 	6(5)	13(4) 	0(4)

C52	54(5) 	59(6)	53(6) 	1(5)	23(5) 	0(5)

C53	42(5) 	60(6)	63(6) 	4(5)	7(5) 	9(4)

C54	43(5) 	68(6)	39(5) 	13(4)	15(4) 	8(4)

C55	40(5) 	79(7)	25(5) 	0(5)	6(4) 	2(5)

O51A	41(3) 	66(4)	36(3) 	0(3)	15(3) 	10(3)

O51B	37(3) 	80(4)	48(4) 	12(3)	17(3) 	8(3)

O55A	54(4) 	96(5)	40(4) 	8(3)	7(3) 	11(4)

O55B	34(3) 	105(5)	50(4) 	14(3)	11(3) 	11(3)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N42H42...O51A	0.93	1.78	2.697(8)	168.2

N42H42...O51B	0.93	2.44	3.133(8)	131.5

O5BH5...O51Aii	0.84	1.71	2.542(7)	172.8

N22H22...O1Bii	0.93	1.82	2.725(9)	164.7

N22H22...O1Aii	0.93	2.38	3.095(8)	133.1

O35AH35...O1Biii	0.84	1.67	2.498(7)	166.3

N45H45...O31Aiv	0.93	2.09	2.895(8)	144.2

N45H45...O31Biv	0.93	2.10	2.953(8)	152.4

O55AH55...O31Bv	0.84	1.69	2.528(8)	172.4

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y1,z+1    (ii) x+1/2,y1/2,z+1/2    (iii) x+1,y+1,z

(iv)  x+3/2,y1/2,z+1/2    (v) x1/2,y+3/2,z1/2