|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	07skc0003cmcm

Empirical formula 	C5H10NO2.50

Formula weight 	116.14

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Cmcm

Unit cell dimensions	a = 6.8156(6) Å	 = 90°

b = 12.7537(12) Å	 = 90°

c = 14.1899(11) Å	  = 90°

Volume	1233.44(19) Å3

Z	8

Density (calculated)	1.337 Mg / m3

Absorption coefficient	0.107 mm1

F(000)	536

Crystal	plate; colourless

Crystal size	0.15  0.07  0.01 mm3

 range for data collection	3.19  27.48°

Index ranges	8  h  8, 16  k  11, 18  l  16

Reflections collected	4539

Independent reflections	800 [Rint = 0.0636]

Completeness to  = 27.48°	99.4 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9989 and 0.9842

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	800 / 0 / 58

Goodness-of-fit on F2	1.167

Final R indices [F2 > 2(F2)]	R1 = 0.0587, wR2 = 0.1116

R indices (all data)	R1 = 0.0893, wR2 = 0.1283

Largest diff. peak and hole	0.309 and 0.292 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	0	3041(2)	4852(2)	26(1)	1

C2	0	3750(2)	5698(2)	26(1)	1

C3	0	3141(2)	6618(2)	24(1)	1

C4	0	3831(3)	7500	25(1)	1

O1B	0	2091(2)	4899(1)	36(1)	1

O1A	0	3565(2)	4042(1)	32(1)	1

C22	0	1399(3)	2500	25(1)	1

C25	0	314(2)	3045(2)	34(1)	1

N21	0	798(2)	3274(2)	29(1)	1

O22	0	2392(2)	2500	26(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.213(3)

C1O1A	1.329(3)

C1C2	1.503(4)

C2C3	1.519(3)

C2H2A	0.9900

C2H2B	0.9900

C3C4	1.530(3)

C3H3A	0.9900

C3H3B	0.9900

C4C3i	1.530(3)

C4H4A	0.9900

C4H4B	0.9900

O1AH1	0.8400

C22O22	1.267(5)

C22N21ii	1.339(3)

C22N21	1.339(3)

C25N21	1.456(4)

C25C25ii	1.546(6)

C25H25A	0.9900

C25H25B	0.9900

N21H21	0.8800

O1BC1O1A	123.4(3)

O1BC1C2	123.8(2)

O1AC1C2	112.8(2)

C1C2C3	112.2(2)

C1C2H2A	109.2

C3C2H2A	109.2

C1C2H2B	109.2

C3C2H2B	109.2

H2AC2H2B	107.9

C2C3C4	114.2(2)

C2C3H3A	108.7

C4C3H3A	108.7

C2C3H3B	108.7

C4C3H3B	108.7

H3AC3H3B	107.6

C3C4C3i	109.8(3)

C3C4H4A	109.7

C3iC4H4A	109.7

C3C4H4B	109.7

C3iC4H4B	109.7

H4AC4H4B	108.2

C1O1AH1	109.5

O22C22N21ii	124.90(17)

O22C22N21	124.90(17)

N21iiC22N21	110.2(3)

N21C25C25ii	102.92(15)

N21C25H25A	111.2

C25iiC25H25A	111.2

N21C25H25B	111.2

C25iiC25H25B	111.2

H25AC25H25B	109.1

C22N21C25	112.0(2)

C22N21H21	124.0

C25N21H21	124.0

Symmetry transformations used to generate equivalent atoms:

(i) x,y,z+3/2    (ii) x,y,z+1/2

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	29(2) 	27(2)	23(1) 	1(1)	0 	0

C2	31(2) 	24(2)	22(1) 	1(1)	0 	0

C3	30(2) 	22(1)	19(1) 	1(1)	0 	0

C4	29(2) 	25(2)	21(2) 	0	0 	0

O1B	61(2) 	24(1)	24(1) 	1(1)	0 	0

O1A	53(1) 	25(1)	19(1) 	1(1)	0 	0

C22	28(2) 	21(2)	26(2) 	0	0 	0

C25	46(2) 	22(2)	34(2) 	1(1)	0 	0

N21	41(2) 	23(1)	24(1) 	0(1)	0 	0

O22	38(2) 	21(2)	20(1) 	0	0 	0

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

O1AH1...O22	0.84	1.82	2.651(2)	171.3

N21H21...O1B	0.88	1.99	2.834(3)	159.2

Symmetry transformations used to generate equivalent atoms:

(i) x,y,z+3/2    (ii) x,y,z+1/2