|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	ssf1328

Empirical formula 	C13H25NO4

Formula weight 	259.34

Temperature 	120(2) K

Wavelength 	0.6905 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 6.6154(15) Å	 = 90°

b = 30.477(7) Å	 = 90.924(2)°

c = 15.282(3) Å	  = 90°

Volume	3080.7(12) Å3

Z	8

Density (calculated)	1.118 Mg / m3

Absorption coefficient	0.082 mm1

F(000)	1136

Crystal	lath; colourless

Crystal size	0.08  0.03  0.01 mm3

 range for data collection	2.90  22.54°

Index ranges	7  h  7, 33  k  33, 16  l  16

Reflections collected	19088

Independent reflections	4405 [Rint = 0.1059]

Completeness to  = 22.54°	99.6 %

Absorption correction	None

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4405 / 0 / 346

Goodness-of-fit on F2	0.971

Final R indices [F2 > 2(F2)]	R1 = 0.0498, wR2 = 0.1073

R indices (all data)	R1 = 0.1103, wR2 = 0.1323

Extinction coefficient	0.028(2)

Largest diff. peak and hole	0.190 and 0.183 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	7271(5)	2061(1)	9825(2)	34(1)	1

C2	6135(4)	1829(1)	10520(2)	39(1)	1

C3	5908(4)	1398(1)	10640(2)	39(1)	1

C4	6758(5)	1065(1)	10077(2)	39(1)	1

C5	7392(5)	303(1)	9956(2)	60(1)	1

O1A	6204(3)	2246(1)	9230(1)	39(1)	1

O1B	9145(3)	2089(1)	9912(1)	38(1)	1

O4A	6510(3)	661(1)	10428(1)	46(1)	1

O4B	7609(3)	1123(1)	9388(1)	46(1)	1

C21	1029(5)	1008(1)	7087(2)	53(1)	1

C22	2598(5)	1071(1)	7820(2)	37(1)	1

C23	2274(4)	1494(1)	8359(2)	34(1)	1

C24	1923(4)	1943(1)	7934(2)	33(1)	1

C26	4724(5)	1046(1)	7439(2)	52(1)	1

C27	2394(5)	688(1)	8472(2)	48(1)	1

C28	3499(5)	2077(1)	7266(2)	42(1)	1

C29	212(5)	2007(1)	7560(2)	42(1)	1

N25	2116(4)	2266(1)	8684(2)	34(1)	1

C31	12085(5)	1743(1)	12415(2)	35(1)	1

C32	11015(4)	1518(1)	11676(2)	39(1)	1

C33	10878(5)	1087(1)	11546(2)	45(1)	1

C34	11745(5)	761(1)	12136(2)	41(1)	1

C35	12302(5)	4(1)	12362(2)	60(1)	1

O31A	11012(3)	1903(1)	13014(1)	38(1)	1

O31B	13952(3)	1789(1)	12358(1)	37(1)	1

O34A	12641(3)	836(1)	12815(1)	48(1)	1

O34B	11442(3)	350(1)	11830(1)	52(1)	1

C41	7354(5)	339(1)	13676(2)	50(1)	1

C42	7640(5)	709(1)	14348(2)	38(1)	1

C43	7228(4)	1140(1)	13846(2)	35(1)	1

C44	6913(4)	1584(1)	14304(2)	32(1)	1

C46	6206(6)	627(1)	15096(2)	59(1)	1

C47	9840(5)	683(1)	14694(2)	51(1)	1

C48	8557(5)	1707(1)	14976(2)	43(1)	1

C49	4803(5)	1637(1)	14688(2)	43(1)	1

N45	7033(4)	1917(1)	13578(2)	34(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.247(3)

C1O1A	1.273(3)

C1C2	1.490(4)

C2C3	1.334(4)

C2H2	0.9500

C3C4	1.451(5)

C3H3	0.9500

C4O4B	1.215(4)

C4O4A	1.352(4)

C5O4A	1.438(4)

C5H5A	0.9800

C5H5B	0.9800

C5H5C	0.9800

C21C22	1.528(4)

C21H21A	0.9800

C21H21B	0.9800

C21H21C	0.9800

C22C26	1.533(4)

C22C27	1.542(4)

C22C23	1.546(4)

C23C24	1.532(4)

C23H23A	0.9900

C23H23B	0.9900

C24N25	1.513(4)

C24C28	1.527(4)

C24C29	1.528(4)

C26H26A	0.9800

C26H26B	0.9800

C26H26C	0.9800

C27H27A	0.9800

C27H27B	0.9800

C27H27C	0.9800

C28H28A	0.9800

C28H28B	0.9800

C28H28C	0.9800

C29H29A	0.9800

C29H29B	0.9800

C29H29C	0.9800

N25H25A	0.9100

N25H25B	0.9100

N25H25C	0.9100

C31O31B	1.247(3)

C31O31A	1.265(4)

C31C32	1.491(4)

C32C33	1.329(4)

C32H32	0.9500

C33C34	1.454(4)

C33H33	0.9500

C34O34A	1.208(3)

C34O34B	1.350(4)

C35O34B	1.443(4)

C35H35A	0.9800

C35H35B	0.9800

C35H35C	0.9800

C41C42	1.537(4)

C41H41A	0.9800

C41H41B	0.9800

C41H41C	0.9800

C42C46	1.518(4)

C42C47	1.542(4)

C42C43	1.543(4)

C43C44	1.538(4)

C43H43A	0.9900

C43H43B	0.9900

C44N45	1.507(4)

C44C48	1.530(4)

C44C49	1.532(4)

C46H46A	0.9800

C46H46B	0.9800

C46H46C	0.9800

C47H47A	0.9800

C47H47B	0.9800

C47H47C	0.9800

C48H48A	0.9800

C48H48B	0.9800

C48H48C	0.9800

C49H49A	0.9800

C49H49B	0.9800

C49H49C	0.9800

N45H45A	0.9100

N45H45B	0.9100

N45H45C	0.9100

O1BC1O1A	125.8(3)

O1BC1C2	117.9(3)

O1AC1C2	116.0(3)

C3C2C1	128.7(3)

C3C2H2	115.7

C1C2H2	115.7

C2C3C4	124.2(3)

C2C3H3	117.9

C4C3H3	117.9

O4BC4O4A	122.6(3)

O4BC4C3	126.9(3)

O4AC4C3	110.5(3)

O4AC5H5A	109.5

O4AC5H5B	109.5

H5AC5H5B	109.5

O4AC5H5C	109.5

H5AC5H5C	109.5

H5BC5H5C	109.5

C4O4AC5	116.0(3)

C22C21H21A	109.5

C22C21H21B	109.5

H21AC21H21B	109.5

C22C21H21C	109.5

H21AC21H21C	109.5

H21BC21H21C	109.5

C21C22C26	109.3(3)

C21C22C27	108.2(3)

C26C22C27	107.4(3)

C21C22C23	113.5(3)

C26C22C23	112.3(3)

C27C22C23	105.8(2)

C24C23C22	122.7(2)

C24C23H23A	106.6

C22C23H23A	106.6

C24C23H23B	106.6

C22C23H23B	106.6

H23AC23H23B	106.6

N25C24C28	106.4(2)

N25C24C29	105.5(2)

C28C24C29	110.6(2)

N25C24C23	104.4(2)

C28C24C23	115.0(3)

C29C24C23	113.9(3)

C22C26H26A	109.5

C22C26H26B	109.5

H26AC26H26B	109.5

C22C26H26C	109.5

H26AC26H26C	109.5

H26BC26H26C	109.5

C22C27H27A	109.5

C22C27H27B	109.5

H27AC27H27B	109.5

C22C27H27C	109.5

H27AC27H27C	109.5

H27BC27H27C	109.5

C24C28H28A	109.5

C24C28H28B	109.5

H28AC28H28B	109.5

C24C28H28C	109.5

H28AC28H28C	109.5

H28BC28H28C	109.5

C24C29H29A	109.5

C24C29H29B	109.5

H29AC29H29B	109.5

C24C29H29C	109.5

H29AC29H29C	109.5

H29BC29H29C	109.5

C24N25H25A	109.5

C24N25H25B	109.5

H25AN25H25B	109.5

C24N25H25C	109.5

H25AN25H25C	109.5

H25BN25H25C	109.5

O31BC31O31A	125.1(3)

O31BC31C32	117.3(3)

O31AC31C32	117.4(3)

C33C32C31	126.8(3)

C33C32H32	116.6

C31C32H32	116.6

C32C33C34	123.8(3)

C32C33H33	118.1

C34C33H33	118.1

O34AC34O34B	122.7(3)

O34AC34C33	125.9(3)

O34BC34C33	111.3(3)

O34BC35H35A	109.5

O34BC35H35B	109.5

H35AC35H35B	109.5

O34BC35H35C	109.5

H35AC35H35C	109.5

H35BC35H35C	109.5

C34O34BC35	115.3(2)

C42C41H41A	109.5

C42C41H41B	109.5

H41AC41H41B	109.5

C42C41H41C	109.5

H41AC41H41C	109.5

H41BC41H41C	109.5

C46C42C41	108.0(3)

C46C42C47	109.3(3)

C41C42C47	107.2(3)

C46C42C43	114.1(3)

C41C42C43	105.9(2)

C47C42C43	111.9(3)

C44C43C42	123.1(2)

C44C43H43A	106.6

C42C43H43A	106.6

C44C43H43B	106.6

C42C43H43B	106.6

H43AC43H43B	106.5

N45C44C48	106.4(2)

N45C44C49	105.7(2)

C48C44C49	111.0(2)

N45C44C43	104.4(2)

C48C44C43	114.9(2)

C49C44C43	113.5(3)

C42C46H46A	109.5

C42C46H46B	109.5

H46AC46H46B	109.5

C42C46H46C	109.5

H46AC46H46C	109.5

H46BC46H46C	109.5

C42C47H47A	109.5

C42C47H47B	109.5

H47AC47H47B	109.5

C42C47H47C	109.5

H47AC47H47C	109.5

H47BC47H47C	109.5

C44C48H48A	109.5

C44C48H48B	109.5

H48AC48H48B	109.5

C44C48H48C	109.5

H48AC48H48C	109.5

H48BC48H48C	109.5

C44C49H49A	109.5

C44C49H49B	109.5

H49AC49H49B	109.5

C44C49H49C	109.5

H49AC49H49C	109.5

H49BC49H49C	109.5

C44N45H45A	109.5

C44N45H45B	109.5

H45AN45H45B	109.5

C44N45H45C	109.5

H45AN45H45C	109.5

H45BN45H45C	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	38(2) 	34(2)	29(2) 	5(2)	1(2) 	1(2)

C2	31(2) 	50(2)	35(2) 	1(2)	1(1) 	5(2)

C3	34(2) 	48(2)	35(2) 	8(2)	2(1) 	4(2)

C4	31(2) 	43(2)	42(2) 	7(2)	6(2) 	2(2)

C5	60(3) 	42(2)	79(3) 	4(2)	2(2) 	6(2)

O1A	37(1) 	43(1)	35(1) 	7(1)	6(1) 	1(1)

O1B	30(1) 	48(2)	37(1) 	4(1)	2(1) 	2(1)

O4A	44(1) 	39(2)	55(1) 	9(1)	1(1) 	0(1)

O4B	47(1) 	49(2)	41(1) 	2(1)	2(1) 	3(1)

C21	65(2) 	43(2)	49(2) 	7(2)	16(2) 	4(2)

C22	41(2) 	38(2)	32(2) 	1(2)	5(2) 	4(2)

C23	32(2) 	39(2)	30(2) 	1(2)	4(1) 	1(2)

C24	36(2) 	36(2)	28(2) 	5(2)	3(1) 	3(2)

C26	58(2) 	50(2)	48(2) 	1(2)	6(2) 	14(2)

C27	54(2) 	41(2)	47(2) 	0(2)	6(2) 	3(2)

C28	44(2) 	43(2)	38(2) 	2(2)	1(2) 	1(2)

C29	42(2) 	44(2)	40(2) 	2(2)	12(2) 	6(2)

N25	32(2) 	36(2)	33(2) 	2(1)	2(1) 	0(1)

C31	33(2) 	39(2)	33(2) 	2(2)	7(2) 	0(2)

C32	33(2) 	48(2)	36(2) 	3(2)	5(1) 	5(2)

C33	39(2) 	50(3)	45(2) 	8(2)	14(2) 	3(2)

C34	30(2) 	44(2)	48(2) 	11(2)	8(2) 	0(2)

C35	67(3) 	38(2)	74(3) 	1(2)	22(2) 	8(2)

O31A	36(1) 	41(1)	37(1) 	6(1)	3(1) 	1(1)

O31B	32(1) 	50(2)	31(1) 	2(1)	2(1) 	4(1)

O34A	50(1) 	45(2)	49(2) 	3(1)	16(1) 	2(1)

O34B	51(2) 	42(2)	61(2) 	8(1)	16(1) 	2(1)

C41	55(2) 	39(2)	56(2) 	1(2)	12(2) 	3(2)

C42	44(2) 	35(2)	35(2) 	1(2)	5(2) 	3(2)

C43	34(2) 	39(2)	32(2) 	0(2)	7(1) 	2(2)

C44	34(2) 	36(2)	27(2) 	5(2)	4(1) 	4(2)

C46	74(3) 	45(2)	58(2) 	13(2)	8(2) 	2(2)

C47	58(2) 	45(2)	48(2) 	3(2)	18(2) 	9(2)

C48	52(2) 	43(2)	33(2) 	2(2)	10(2) 	2(2)

C49	43(2) 	48(2)	37(2) 	6(2)	3(2) 	7(2)

N45	30(2) 	38(2)	34(2) 	4(1)	1(1) 	0(1)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N45H45A...O31A	0.91	1.89	2.783(3)	165.7

N25H25A...O1A	0.91	1.92	2.818(3)	168.7

N45H45B...O1Ai	0.91	1.89	2.795(3)	170.8

N45H45C...O31Bii	0.91	1.86	2.768(3)	178.0

N25H25B...O1Bii	0.91	1.88	2.791(3)	177.3

N25H25C...O31Aiii	0.91	1.92	2.825(3)	170.1

Symmetry transformations used to generate equivalent atoms:

(i) x,y+1/2,z+1/2    (ii) x1,y,z    (iii) x1,y+1/2,z1/2