|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	ssg0302

Empirical formula 	C47H100N4O12

Formula weight 	913.31

Temperature 	120(2) K

Wavelength 	0.6911 Å

Crystal system 	Monoclinic

Space group 	C2

Unit cell dimensions	a = 23.089(7) Å	 = 90°

b = 6.403(2) Å	 = 94.025(3)°

c = 18.496(6) Å	  = 90°

Volume	2727.7(15) Å3

Z	2

Density (calculated)	1.112 Mg / m3

Absorption coefficient	0.079 mm1

F(000)	1012

Crystal	needle; colourless

Crystal size	0.20  0.02  0.02 mm3

 range for data collection	2.84  26.66°

Index ranges	29  h  29, 8  k  8, 24  l  23

Reflections collected	12018

Independent reflections	6130 [Rint = 0.0492]

Completeness to  = 26.66°	99.1 %

Absorption correction	None

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6130 / 1 / 305

Goodness-of-fit on F2	1.029

Final R indices [F2 > 2(F2)]	R1 = 0.0498, wR2 = 0.1268

R indices (all data)	R1 = 0.0581, wR2 = 0.1331

Absolute structure parameter	1.7(9)

Largest diff. peak and hole	0.527 and 0.209 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2658(1)	6667(3)	1448(1)	21(1)	1

C2	2790(1)	7678(3)	2184(1)	23(1)	1

C3	3368(1)	6903(4)	2541(1)	25(1)	1

C4	3472(1)	7707(4)	3323(1)	26(1)	1

C5	3079(1)	6617(3)	3825(1)	22(1)	1

O1A	2657(1)	7824(2)	886(1)	28(1)	1

O1B	2564(1)	4758(2)	1431(1)	27(1)	1

O5A	2736(1)	7673(2)	4177(1)	25(1)	1

O5B	3122(1)	4650(2)	3874(1)	25(1)	1

C21	4538(1)	1608(5)	2220(1)	36(1)	1

C22	4464(1)	1483(3)	1386(1)	25(1)	1

C23	3805(1)	1766(3)	1182(1)	23(1)	1

C24	3546(1)	2082(3)	395(1)	22(1)	1

C26	4840(1)	3194(4)	1084(1)	36(1)	1

C27	4677(1)	651(4)	1159(1)	37(1)	1

C28	3709(1)	428(4)	145(1)	28(1)	1

C29	3642(1)	4273(3)	101(1)	28(1)	1

N25	2897(1)	1883(3)	457(1)	22(1)	1

C31	428(1)	1961(4)	4150(1)	35(1)	1

C32	45(1)	3518(4)	4316(1)	38(1)	1

C33	0	4831(5)	5000	34(1)	1

O31A	342(1)	120(3)	4034(1)	58(1)	1

O31B	947(1)	2791(3)	4142(1)	42(1)	1

C41	1450(1)	1134(4)	1877(1)	36(1)	1

C42	1289(1)	2222(3)	2579(1)	25(1)	1

C43	1783(1)	1680(3)	3161(1)	23(1)	1

C44	1723(1)	2061(3)	3976(1)	20(1)	1

C46	1257(1)	4577(4)	2426(1)	32(1)	1

C47	690(1)	1423(4)	2761(1)	33(1)	1

C48	1343(1)	440(4)	4318(1)	29(1)	1

C49	1542(1)	4263(3)	4171(1)	28(1)	1

N45	2331(1)	1759(3)	4330(1)	20(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.242(3)

C1O1A	1.277(2)

C1C2	1.518(3)

C2C3	1.529(3)

C2H2A	0.9900

C2H2B	0.9900

C3C4	1.538(3)

C3H3A	0.9900

C3H3B	0.9900

C4C5	1.513(3)

C4H4A	0.9900

C4H4B	0.9900

C5O5A	1.259(2)

C5O5B	1.266(3)

C21C22	1.543(3)

C21H21A	0.9800

C21H21B	0.9800

C21H21C	0.9800

C22C27	1.522(3)

C22C26	1.528(3)

C22C23	1.552(3)

C23C24	1.547(2)

C23H23A	0.9900

C23H23B	0.9900

C24N25	1.516(2)

C24C28	1.523(3)

C24C29	1.526(3)

C26H26A	0.9800

C26H26B	0.9800

C26H26C	0.9800

C27H27A	0.9800

C27H27B	0.9800

C27H27C	0.9800

C28H28A	0.9800

C28H28B	0.9800

C28H28C	0.9800

C29H29A	0.9800

C29H29B	0.9800

C29H29C	0.9800

N25H25A	0.7700

N25H25B	0.9255

N25H25C	0.9983

C31O31A	1.217(3)

C31O31B	1.310(3)

C31C32	1.494(3)

C32C33	1.528(3)

C32H32A	0.9900

C32H32B	0.9900

C33C32i	1.528(3)

C33H33A	0.9900

C33H33B	0.9900

O31BH31	0.8400

C41C42	1.542(3)

C41H41A	0.9800

C41H41B	0.9800

C41H41C	0.9800

C42C47	1.535(3)

C42C46	1.536(3)

C42C43	1.551(3)

C43C44	1.542(3)

C43H43A	0.9900

C43H43B	0.9900

C44N45	1.519(2)

C44C49	1.521(3)

C44C48	1.525(3)

C46H46A	0.9800

C46H46B	0.9800

C46H46C	0.9800

C47H47A	0.9800

C47H47B	0.9800

C47H47C	0.9800

C48H48A	0.9800

C48H48B	0.9800

C48H48C	0.9800

C49H49A	0.9800

C49H49B	0.9800

C49H49C	0.9800

N45H45A	0.9100

N45H45B	0.9100

N45H45C	0.9100

O1BC1O1A	124.07(17)

O1BC1C2	117.79(17)

O1AC1C2	118.15(18)

C1C2C3	111.31(16)

C1C2H2A	109.4

C3C2H2A	109.4

C1C2H2B	109.4

C3C2H2B	109.4

H2AC2H2B	108.0

C2C3C4	111.86(16)

C2C3H3A	109.2

C4C3H3A	109.2

C2C3H3B	109.2

C4C3H3B	109.2

H3AC3H3B	107.9

C5C4C3	111.19(16)

C5C4H4A	109.4

C3C4H4A	109.4

C5C4H4B	109.4

C3C4H4B	109.4

H4AC4H4B	108.0

O5AC5O5B	123.06(18)

O5AC5C4	119.78(19)

O5BC5C4	117.15(17)

C22C21H21A	109.5

C22C21H21B	109.5

H21AC21H21B	109.5

C22C21H21C	109.5

H21AC21H21C	109.5

H21BC21H21C	109.5

C27C22C26	109.86(18)

C27C22C21	107.93(19)

C26C22C21	107.65(18)

C27C22C23	111.59(17)

C26C22C23	113.53(17)

C21C22C23	105.99(15)

C24C23C22	123.55(15)

C24C23H23A	106.4

C22C23H23A	106.4

C24C23H23B	106.4

C22C23H23B	106.4

H23AC23H23B	106.5

N25C24C28	106.44(15)

N25C24C29	105.87(15)

C28C24C29	110.82(16)

N25C24C23	103.77(14)

C28C24C23	115.38(16)

C29C24C23	113.57(16)

C22C26H26A	109.5

C22C26H26B	109.5

H26AC26H26B	109.5

C22C26H26C	109.5

H26AC26H26C	109.5

H26BC26H26C	109.5

C22C27H27A	109.5

C22C27H27B	109.5

H27AC27H27B	109.5

C22C27H27C	109.5

H27AC27H27C	109.5

H27BC27H27C	109.5

C24C28H28A	109.5

C24C28H28B	109.5

H28AC28H28B	109.5

C24C28H28C	109.5

H28AC28H28C	109.5

H28BC28H28C	109.5

C24C29H29A	109.5

C24C29H29B	109.5

H29AC29H29B	109.5

C24C29H29C	109.5

H29AC29H29C	109.5

H29BC29H29C	109.5

C24N25H25A	109.5

C24N25H25B	115.0

H25AN25H25B	110.2

C24N25H25C	112.9

H25AN25H25C	103.3

H25BN25H25C	105.3

O31AC31O31B	123.5(2)

O31AC31C32	123.8(2)

O31BC31C32	112.7(2)

C31C32C33	116.50(18)

C31C32H32A	108.2

C33C32H32A	108.2

C31C32H32B	108.2

C33C32H32B	108.2

H32AC32H32B	107.3

C32C33C32i	113.3(3)

C32C33H33A	108.9

C32iC33H33A	108.9

C32C33H33B	108.9

C32iC33H33B	108.9

H33AC33H33B	107.7

C31O31BH31	109.5

C42C41H41A	109.5

C42C41H41B	109.5

H41AC41H41B	109.5

C42C41H41C	109.5

H41AC41H41C	109.5

H41BC41H41C	109.5

C47C42C46	109.60(18)

C47C42C41	107.91(17)

C46C42C41	107.40(18)

C47C42C43	113.77(16)

C46C42C43	111.80(17)

C41C42C43	106.02(16)

C44C43C42	122.11(15)

C44C43H43A	106.8

C42C43H43A	106.8

C44C43H43B	106.8

C42C43H43B	106.8

H43AC43H43B	106.7

N45C44C49	106.10(15)

N45C44C48	105.99(15)

C49C44C48	110.88(17)

N45C44C43	104.98(14)

C49C44C43	115.01(16)

C48C44C43	113.03(16)

C42C46H46A	109.5

C42C46H46B	109.5

H46AC46H46B	109.5

C42C46H46C	109.5

H46AC46H46C	109.5

H46BC46H46C	109.5

C42C47H47A	109.5

C42C47H47B	109.5

H47AC47H47B	109.5

C42C47H47C	109.5

H47AC47H47C	109.5

H47BC47H47C	109.5

C44C48H48A	109.5

C44C48H48B	109.5

H48AC48H48B	109.5

C44C48H48C	109.5

H48AC48H48C	109.5

H48BC48H48C	109.5

C44C49H49A	109.5

C44C49H49B	109.5

H49AC49H49B	109.5

C44C49H49C	109.5

H49AC49H49C	109.5

H49BC49H49C	109.5

C44N45H45A	109.5

C44N45H45B	109.5

H45AN45H45B	109.5

C44N45H45C	109.5

H45AN45H45C	109.5

H45BN45H45C	109.5

Symmetry transformations used to generate equivalent atoms:

(i) x,y,z+1

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	18(1) 	26(1)	20(1) 	1(1)	1(1) 	2(1)

C2	23(1) 	26(1)	20(1) 	3(1)	1(1) 	0(1)

C3	22(1) 	33(1)	19(1) 	1(1)	2(1) 	0(1)

C4	24(1) 	32(1)	22(1) 	0(1)	1(1) 	7(1)

C5	20(1) 	29(1)	17(1) 	1(1)	2(1) 	2(1)

O1A	35(1) 	26(1)	21(1) 	1(1)	4(1) 	4(1)

O1B	34(1) 	24(1)	23(1) 	1(1)	1(1) 	1(1)

O5A	27(1) 	25(1)	23(1) 	1(1)	1(1) 	3(1)

O5B	21(1) 	23(1)	30(1) 	1(1)	1(1) 	1(1)

C21	27(1) 	55(2)	25(1) 	0(1)	6(1) 	2(1)

C22	20(1) 	29(1)	24(1) 	1(1)	2(1) 	1(1)

C23	22(1) 	27(1)	20(1) 	1(1)	2(1) 	1(1)

C24	19(1) 	25(1)	20(1) 	1(1)	1(1) 	1(1)

C26	26(1) 	39(1)	41(1) 	6(1)	3(1) 	7(1)

C27	32(1) 	34(1)	43(1) 	4(1)	10(1) 	9(1)

C28	28(1) 	31(1)	24(1) 	3(1)	1(1) 	5(1)

C29	26(1) 	27(1)	29(1) 	7(1)	1(1) 	1(1)

N25	22(1) 	22(1)	20(1) 	2(1)	3(1) 	1(1)

C31	31(1) 	41(1)	32(1) 	5(1)	0(1) 	1(1)

C32	29(1) 	46(1)	38(1) 	5(1)	2(1) 	5(1)

C33	22(1) 	34(2)	44(2) 	0	1(1) 	0

O31A	35(1) 	48(1)	88(2) 	16(1)	0(1) 	3(1)

O31B	29(1) 	36(1)	60(1) 	5(1)	1(1) 	2(1)

C41	35(1) 	50(2)	22(1) 	3(1)	4(1) 	1(1)

C42	23(1) 	31(1)	21(1) 	2(1)	3(1) 	0(1)

C43	21(1) 	27(1)	21(1) 	0(1)	1(1) 	2(1)

C44	17(1) 	22(1)	22(1) 	2(1)	2(1) 	1(1)

C46	28(1) 	34(1)	34(1) 	9(1)	6(1) 	0(1)

C47	25(1) 	41(1)	31(1) 	7(1)	5(1) 	6(1)

C48	27(1) 	32(1)	27(1) 	5(1)	1(1) 	7(1)

C49	23(1) 	30(1)	29(1) 	5(1)	2(1) 	4(1)

N45	21(1) 	20(1)	20(1) 	0(1)	1(1) 	0(1)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N25H25C...O1B	1.00	1.73	2.725(2)	172.8

N45H45C...O5B	0.91	1.87	2.774(2)	174.6

N25H25A...O1Aii	0.77	2.03	2.784(2)	168.2

N45H45A...O5Aii	0.91	1.90	2.799(2)	169.6

N25H25B...O1Aiii	0.93	1.87	2.777(2)	167.1

O31BH31...O5Biv	0.84	1.86	2.676(2)	162.9

N45H45B...O5Av	0.91	1.94	2.836(2)	169.7

Symmetry transformations used to generate equivalent atoms:

(i) x,y,z+1    (ii) x,y1,z    (iii) x+1/2,y1/2,z

(iv)  x1/2,y1/2,z    (v) x+1/2,y1/2,z+1