|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0071p1

Empirical formula 	C14H26N2O3S

Formula weight 	302.43

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 9.300(2) Å	 = 76.199(19)°

b = 11.925(3) Å	 = 74.813(13)°

c = 15.450(4) Å	  = 89.758(17)°

Volume	1602.7(7) Å3

Z	4

Density (calculated)	1.253 Mg / m3

Absorption coefficient	0.211 mm1

F(000)	656

Crystal	block; colourless

Crystal size	0.19  0.13  0.03 mm3

 range for data collection	2.93  27.47°

Index ranges	12  h  12, 15  k  15, 19  l  19

Reflections collected	24447

Independent reflections	7102 [Rint = 0.2315]

Completeness to  = 27.47°	96.7 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9937 and 0.9610

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	7102 / 0 / 373

Goodness-of-fit on F2	1.153

Final R indices [F2 > 2(F2)]	R1 = 0.2106, wR2 = 0.2966

R indices (all data)	R1 = 0.3758, wR2 = 0.3708

Largest diff. peak and hole	0.486 and 0.413 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2139(13)	634(11)	6957(10)	48(3)	1

C2	2458(12)	561(9)	7163(9)	42(3)	1

C3	3116(13)	1194(10)	8049(9)	43(3)	1

C4	3561(12)	616(10)	8760(9)	47(3)	1

C5	3264(12)	553(11)	8567(9)	46(3)	1

C6	2588(13)	1181(11)	7700(10)	48(3)	1

N1	1414(11)	1285(8)	6078(7)	48(3)	1

O2A	192(8)	1293(7)	6077(6)	49(2)	1

O2B	2511(9)	2488(7)	6686(6)	55(2)	1

O2C	2319(9)	701(7)	5485(6)	49(2)	1

S2	1825(3)	1323(3)	6284(2)	42(1)	1

C22	3077(12)	50(10)	6679(8)	42(3)	1

C23	2999(12)	142(9)	7660(8)	41(3)	1

C24	2028(12)	672(10)	8550(8)	40(3)	1

C25	2597(13)	1894(10)	8760(9)	54(4)	1

C26	4310(13)	924(10)	5995(8)	50(3)	1

C27	3326(12)	1163(9)	6492(9)	47(3)	1

C28	2021(15)	105(12)	9336(9)	63(4)	1

C29	393(12)	785(10)	8517(9)	52(3)	1

N21	1669(9)	421(7)	6427(7)	42(2)	1

C31	347(12)	5646(9)	7110(9)	40(3)	1

C32	365(12)	4448(10)	7408(9)	41(3)	1

C33	64(12)	3861(11)	8343(10)	46(3)	1

C34	543(13)	4467(10)	9018(9)	48(3)	1

C35	566(12)	5679(10)	8720(9)	44(3)	1

C36	136(13)	6254(10)	7814(9)	46(3)	1

N31	720(10)	6237(8)	6198(7)	48(3)	1

O32A	942(9)	2440(6)	7069(6)	49(2)	1

O32B	2238(9)	4145(7)	5908(6)	50(2)	1

O32C	388(8)	3702(7)	6140(6)	47(2)	1

S32	835(3)	3604(3)	6567(2)	45(1)	1

C42	5993(12)	4918(9)	6587(8)	40(3)	1

C43	6110(12)	4607(10)	7593(8)	47(3)	1

C44	4703(13)	4148(10)	8454(9)	48(3)	1

C45	5343(15)	3743(11)	9287(9)	63(4)	1

C46	5779(13)	3906(10)	6198(10)	56(4)	1

C47	4898(13)	5833(10)	6390(9)	49(3)	1

C48	3786(13)	3137(11)	8360(9)	56(4)	1

C49	3698(15)	5118(11)	8618(10)	63(4)	1

N41	7527(10)	5490(8)	6039(7)	46(3)	1

Table 3. Bond lengths [Å] and angles [°].

C1N1	1.387(15)

C1C2	1.399(16)

C1C6	1.423(17)

C2C3	1.374(16)

C2S2	1.784(13)

C3C4	1.405(17)

C3H3	0.9500

C4C5	1.368(15)

C4H4	0.9500

C5C6	1.354(16)

C5H5	0.9500

C6H6	0.9500

N1H1A	0.8800

N1H1B	0.8800

O2AS2	1.466(8)

O2BS2	1.453(8)

O2CS2	1.463(8)

C22N21	1.497(12)

C22C23	1.528(15)

C22C26	1.539(16)

C22C27	1.546(15)

C23C24	1.539(15)

C23H23A	0.9900

C23H23B	0.9900

C24C28	1.522(16)

C24C25	1.538(16)

C24C29	1.542(15)

C25H25A	0.9800

C25H25B	0.9800

C25H25C	0.9800

C26H26A	0.9800

C26H26B	0.9800

C26H26C	0.9800

C27H27A	0.9800

C27H27B	0.9800

C27H27C	0.9800

C28H28A	0.9800

C28H28B	0.9800

C28H28C	0.9800

C29H29A	0.9800

C29H29B	0.9800

C29H29C	0.9800

N21H21A	0.9100

N21H21B	0.9100

N21H21C	0.9100

C31N31	1.368(14)

C31C32	1.395(15)

C31C36	1.424(17)

C32C33	1.398(16)

C32S32	1.793(12)

C33C34	1.387(17)

C33H33	0.9500

C34C35	1.410(15)

C34H34	0.9500

C35C36	1.357(16)

C35H35	0.9500

C36H36	0.9500

N31H31A	0.8800

N31H31B	0.8800

O32AS32	1.436(8)

O32BS32	1.467(8)

O32CS32	1.449(7)

C42C46	1.506(15)

C42C47	1.521(14)

C42N41	1.522(14)

C42C43	1.541(15)

C43C44	1.589(17)

C43H43A	0.9900

C43H43B	0.9900

C44C49	1.511(16)

C44C45	1.532(16)

C44C48	1.535(15)

C45H45A	0.9800

C45H45B	0.9800

C45H45C	0.9800

C46H46A	0.9800

C46H46B	0.9800

C46H46C	0.9800

C47H47A	0.9800

C47H47B	0.9800

C47H47C	0.9800

C48H48A	0.9800

C48H48B	0.9800

C48H48C	0.9800

C49H49A	0.9800

C49H49B	0.9800

C49H49C	0.9800

N41H41A	0.9100

N41H41B	0.9100

N41H41C	0.9100

N1C1C2	123.2(12)

N1C1C6	119.8(11)

C2C1C6	116.9(12)

C3C2C1	121.9(12)

C3C2S2	118.2(9)

C1C2S2	119.6(10)

C2C3C4	119.1(11)

C2C3H3	120.4

C4C3H3	120.4

C5C4C3	119.4(12)

C5C4H4	120.3

C3C4H4	120.3

C6C5C4	121.8(13)

C6C5H5	119.1

C4C5H5	119.1

C5C6C1	120.6(12)

C5C6H6	119.7

C1C6H6	119.7

C1N1H1A	120.0

C1N1H1B	120.0

H1AN1H1B	120.0

O2BS2O2C	113.7(5)

O2BS2O2A	112.5(5)

O2CS2O2A	111.7(5)

O2BS2C2	105.2(5)

O2CS2C2	106.4(5)

O2AS2C2	106.8(5)

N21C22C23	110.8(10)

N21C22C26	104.9(9)

C23C22C26	108.5(9)

N21C22C27	106.1(8)

C23C22C27	116.3(9)

C26C22C27	109.7(10)

C22C23C24	124.8(9)

C22C23H23A	106.1

C24C23H23A	106.1

C22C23H23B	106.1

C24C23H23B	106.1

H23AC23H23B	106.3

C28C24C25	109.8(10)

C28C24C23	106.6(9)

C25C24C23	113.6(10)

C28C24C29	106.8(10)

C25C24C29	108.3(9)

C23C24C29	111.6(9)

C24C25H25A	109.5

C24C25H25B	109.5

H25AC25H25B	109.5

C24C25H25C	109.5

H25AC25H25C	109.5

H25BC25H25C	109.5

C22C26H26A	109.5

C22C26H26B	109.5

H26AC26H26B	109.5

C22C26H26C	109.5

H26AC26H26C	109.5

H26BC26H26C	109.5

C22C27H27A	109.5

C22C27H27B	109.5

H27AC27H27B	109.5

C22C27H27C	109.5

H27AC27H27C	109.5

H27BC27H27C	109.5

C24C28H28A	109.5

C24C28H28B	109.5

H28AC28H28B	109.5

C24C28H28C	109.5

H28AC28H28C	109.5

H28BC28H28C	109.5

C24C29H29A	109.5

C24C29H29B	109.5

H29AC29H29B	109.5

C24C29H29C	109.5

H29AC29H29C	109.5

H29BC29H29C	109.5

C22N21H21A	109.5

C22N21H21B	109.5

H21AN21H21B	109.5

C22N21H21C	109.5

H21AN21H21C	109.5

H21BN21H21C	109.5

N31C31C32	123.7(12)

N31C31C36	120.0(10)

C32C31C36	116.3(11)

C31C32C33	122.6(12)

C31C32S32	119.3(10)

C33C32S32	117.9(9)

C34C33C32	120.2(11)

C34C33H33	119.9

C32C33H33	119.9

C33C34C35	117.4(12)

C33C34H34	121.3

C35C34H34	121.3

C36C35C34	122.6(12)

C36C35H35	118.7

C34C35H35	118.7

C35C36C31	120.8(11)

C35C36H36	119.6

C31C36H36	119.6

C31N31H31A	120.0

C31N31H31B	120.0

H31AN31H31B	120.0

O32AS32O32C	112.3(5)

O32AS32O32B	114.3(5)

O32CS32O32B	111.8(5)

O32AS32C32	106.4(5)

O32CS32C32	105.2(5)

O32BS32C32	106.0(5)

C46C42C47	110.9(9)

C46C42N41	106.2(10)

C47C42N41	105.2(9)

C46C42C43	115.5(10)

C47C42C43	114.7(10)

N41C42C43	103.1(8)

C42C43C44	122.4(9)

C42C43H43A	106.7

C44C43H43A	106.7

C42C43H43B	106.7

C44C43H43B	106.7

H43AC43H43B	106.6

C49C44C45	108.4(11)

C49C44C48	109.3(10)

C45C44C48	109.3(10)

C49C44C43	110.6(10)

C45C44C43	105.3(9)

C48C44C43	113.7(11)

C44C45H45A	109.5

C44C45H45B	109.5

H45AC45H45B	109.5

C44C45H45C	109.5

H45AC45H45C	109.5

H45BC45H45C	109.5

C42C46H46A	109.5

C42C46H46B	109.5

H46AC46H46B	109.5

C42C46H46C	109.5

H46AC46H46C	109.5

H46BC46H46C	109.5

C42C47H47A	109.5

C42C47H47B	109.5

H47AC47H47B	109.5

C42C47H47C	109.5

H47AC47H47C	109.5

H47BC47H47C	109.5

C44C48H48A	109.5

C44C48H48B	109.5

H48AC48H48B	109.5

C44C48H48C	109.5

H48AC48H48C	109.5

H48BC48H48C	109.5

C44C49H49A	109.5

C44C49H49B	109.5

H49AC49H49B	109.5

C44C49H49C	109.5

H49AC49H49C	109.5

H49BC49H49C	109.5

C42N41H41A	109.5

C42N41H41B	109.5

H41AN41H41B	109.5

C42N41H41C	109.5

H41AN41H41C	109.5

H41BN41H41C	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	43(7) 	51(8)	62(9) 	15(7)	35(7) 	14(6)

C2	44(7) 	30(7)	55(9) 	3(6)	24(7) 	4(5)

C3	45(7) 	36(7)	65(9) 	19(7)	37(7) 	3(5)

C4	40(7) 	47(8)	50(8) 	8(6)	24(6) 	16(6)

C5	36(7) 	53(8)	53(9) 	6(7)	25(7) 	7(6)

C6	40(7) 	42(7)	74(10) 	28(7)	27(7) 	8(6)

N1	62(7) 	29(5)	62(8) 	19(5)	26(6) 	2(5)

O2A	44(5) 	47(5)	63(6) 	21(4)	18(4) 	5(4)

O2B	48(5) 	48(5)	78(7) 	27(5)	24(5) 	2(4)

O2C	48(5) 	48(5)	59(6) 	16(4)	29(5) 	6(4)

S2	39(2) 	41(2)	53(2) 	18(2)	18(2) 	3(1)

C22	32(6) 	52(7)	50(8) 	12(6)	28(6) 	1(5)

C23	33(6) 	38(7)	66(9) 	20(6)	32(6) 	5(5)

C24	37(6) 	41(7)	46(8) 	5(6)	21(6) 	1(5)

C25	47(8) 	61(9)	48(8) 	3(7)	16(7) 	8(6)

C26	54(8) 	55(8)	50(8) 	18(6)	27(7) 	4(6)

C27	28(6) 	42(7)	80(10) 	22(7)	23(7) 	10(5)

C28	58(9) 	87(11)	51(9) 	26(8)	20(7) 	4(8)

C29	43(7) 	55(8)	55(9) 	10(7)	12(7) 	7(6)

N21	33(5) 	38(6)	53(7) 	7(5)	15(5) 	0(4)

C31	37(6) 	32(7)	53(8) 	4(6)	23(6) 	6(5)

C32	31(6) 	47(7)	49(8) 	14(6)	15(6) 	4(5)

C33	26(6) 	45(7)	71(10) 	24(7)	13(6) 	3(5)

C34	48(7) 	44(8)	51(9) 	4(7)	15(7) 	7(6)

C35	31(6) 	43(7)	55(9) 	21(7)	1(6) 	4(5)

C36	43(7) 	37(7)	63(9) 	15(7)	21(7) 	2(5)

N31	58(7) 	37(6)	57(7) 	21(5)	23(6) 	2(5)

O32A	62(5) 	36(5)	56(6) 	14(4)	24(5) 	12(4)

O32B	54(5) 	54(5)	50(5) 	11(4)	28(5) 	5(4)

O32C	42(5) 	49(5)	57(6) 	19(4)	22(4) 	5(4)

S32	42(2) 	42(2)	61(2) 	19(2)	24(2) 	7(1)

C42	39(7) 	34(6)	60(8) 	16(6)	30(6) 	1(5)

C43	40(7) 	46(7)	59(9) 	13(6)	23(7) 	0(5)

C44	48(7) 	34(7)	73(10) 	17(6)	29(7) 	9(5)

C45	65(9) 	61(9)	62(10) 	10(7)	19(8) 	10(7)

C46	42(7) 	47(8)	86(11) 	13(7)	33(8) 	0(6)

C47	46(7) 	39(7)	71(9) 	12(6)	29(7) 	0(5)

C48	44(7) 	60(9)	67(10) 	14(7)	18(7) 	3(6)

C49	57(8) 	60(9)	71(10) 	17(8)	14(8) 	9(7)

N41	44(6) 	45(6)	59(7) 	11(5)	35(5) 	3(5)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N1H1A...O2C	0.88	2.34	2.934(12)	125.4

N1H1B...O32C	0.88	2.23	3.070(11)	159.2

N21H21A...O2A	0.91	2.20	2.918(11)	135.3

N21H21C...O32A	0.91	1.93	2.831(12)	171.2

N31H31A...O32B	0.88	2.34	2.931(13)	124.7

N1H1A...O2Ai	0.88	2.52	3.270(14)	143.9

N21H21B...O2Ci	0.91	1.90	2.793(13)	166.6

N31H31B...O2Aii	0.88	2.20	3.038(12)	158.2

N41H41A...O32Ciii	0.91	1.99	2.880(12)	165.3

N41H41B...O2Biv	0.91	1.93	2.818(12)	165.8

N41H41C...O32Bv	0.91	1.98	2.884(12)	170.7

N41H41C...S32v	0.91	2.96	3.798(10)	153.8

Symmetry transformations used to generate equivalent atoms:

(i) x,y,z+1    (ii) x,y+1,z    (iii) x+1,y,z    (iv)  x+1,y+1,z

(v) x+1,y+1,z+1