|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	04skc0014p21c

Empirical formula 	C7H16N2O6

Formula weight 	224.22

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 8.8190(19) Å	 = 90°

b = 13.100(5) Å	 = 97.52(3)°

c = 8.3959(19) Å	  = 90°

Volume	961.6(5) Å3

Z	4

Density (calculated)	1.549 Mg / m3

Absorption coefficient	0.135 mm1

F(000)	480

Crystal	lath; colourless

Crystal size	0.14  0.04  0.02 mm3

 range for data collection	3.11  27.48°

Index ranges	11  h  11, 16  k  17, 10  l  10

Reflections collected	15357

Independent reflections	2201 [Rint = 0.0483]

Completeness to  = 27.48°	99.8 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9973 and 0.9813

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2201 / 6 / 164

Goodness-of-fit on F2	1.035

Final R indices [F2 > 2(F2)]	R1 = 0.0514, wR2 = 0.1294

R indices (all data)	R1 = 0.0626, wR2 = 0.1366

Largest diff. peak and hole	0.574 and 0.537 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	7341(2)	6335(2)	2053(2)	14(1)	1

C2	8132(2)	5724(1)	618(2)	12(1)	1

C3	7030(2)	5523(1)	603(2)	12(1)	1

C4	7847(2)	5005(1)	2120(2)	12(1)	1

O1A	6142(2)	5950(1)	2771(2)	38(1)	1

O1B	7945(2)	7143(1)	2411(2)	21(1)	1

O2	9460(2)	6225(1)	156(2)	14(1)	1

O3	6238(2)	6418(1)	958(2)	15(1)	1

O4A	7690(2)	5382(1)	3458(2)	15(1)	1

O4B	8611(2)	4210(1)	1924(2)	16(1)	1

C22A	1240(7)	1431(18)	973(12)	14(1)	0.506(5)

C23A	2620(15)	2061(5)	297(8)	14(1)	0.506(5)

C24A	3954(5)	1972(5)	1264(6)	19(1)	0.506(5)

N21A	60(14)	1628(9)	161(14)	13(1)	0.506(5)

N25A	5336(3)	1762(3)	798(4)	13(1)	0.506(5)

C22B	1022(8)	1452(17)	1006(13)	15(1)	0.494(5)

C23B	2630(16)	1829(5)	382(9)	15(1)	0.494(5)

C24B	3765(5)	1432(5)	1427(5)	14(1)	0.494(5)

N21B	4(15)	1556(9)	56(15)	15(1)	0.494(5)

N25B	4852(4)	1030(3)	844(4)	15(1)	0.494(5)

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.239(2)

C1O1A	1.253(2)

C1C2	1.536(3)

C2O2	1.423(2)

C2C3	1.526(3)

C2H2	1.0000

C3O3	1.415(2)

C3C4	1.537(3)

C3H3	1.0000

C4O4A	1.251(2)

C4O4B	1.262(2)

O2H2A	0.8400

O3H3A	0.8400

C22AC23A	1.518(9)

C22AN21A	1.604(15)

C22AH22A	0.9900

C22AH22B	0.9900

C23AC24A	1.519(12)

C23AH23A	0.9900

C23AH23B	0.9900

C24AN25A	1.260(5)

C24AH24A	0.9900

C24AH24B	0.9900

N21AH21A	0.9100

N21AH21B	0.9100

N21AH21C	0.9100

N25AH25A	0.9100

N25AH25B	0.9100

N25AH25C	0.9100

C22BN21B	1.358(16)

C22BC23B	1.528(9)

C22BH22C	0.9900

C22BH22D	0.9900

C23BC24B	1.507(11)

C23BH23C	0.9900

C23BH23D	0.9900

C24BN25B	1.146(6)

C24BH24C	0.9900

C24BH24D	0.9900

N21BH21D	0.9100

N21BH21E	0.9100

N21BH21F	0.9100

N25BH25D	0.9100

N25BH25E	0.9100

N25BH25F	0.9100

O1BC1O1A	126.11(19)

O1BC1C2	118.02(17)

O1AC1C2	115.86(17)

O2C2C3	109.34(15)

O2C2C1	112.37(15)

C3C2C1	110.67(15)

O2C2H2	108.1

C3C2H2	108.1

C1C2H2	108.1

O3C3C2	111.95(15)

O3C3C4	112.47(15)

C2C3C4	111.22(15)

O3C3H3	106.9

C2C3H3	106.9

C4C3H3	106.9

O4AC4O4B	124.51(18)

O4AC4C3	118.33(16)

O4BC4C3	117.15(17)

C2O2H2A	109.5

C3O3H3A	109.5

C23AC22AN21A	106.9(14)

C23AC22AH22A	110.4

N21AC22AH22A	110.3

C23AC22AH22B	110.3

N21AC22AH22B	110.3

H22AC22AH22B	108.6

C24AC23AC22A	113.4(7)

C24AC23AH23A	108.9

C22AC23AH23A	108.9

C24AC23AH23B	108.9

C22AC23AH23B	108.9

H23AC23AH23B	107.7

N25AC24AC23A	129.5(5)

N25AC24AH24A	104.9

C23AC24AH24A	104.9

N25AC24AH24B	104.9

C23AC24AH24B	104.9

H24AC24AH24B	105.8

N21BC22BC23B	114.3(13)

N21BC22BH22C	108.7

C23BC22BH22C	108.7

N21BC22BH22D	108.7

C23BC22BH22D	108.7

H22CC22BH22D	107.6

C24BC23BC22B	110.3(7)

C24BC23BH23C	109.6

C22BC23BH23C	109.6

C24BC23BH23D	109.6

C22BC23BH23D	109.6

H23CC23BH23D	108.1

N25BC24BC23B	119.5(5)

N25BC24BH24C	107.4

C23BC24BH24C	107.5

N25BC24BH24D	107.4

C23BC24BH24D	107.4

H24CC24BH24D	107.0

C22BN21BH21D	109.5

C22BN21BH21E	109.5

H21DN21BH21E	109.5

C22BN21BH21F	109.5

H21DN21BH21F	109.5

H21EN21BH21F	109.5

C24BN25BH25D	109.5

C24BN25BH25E	109.5

H25DN25BH25E	109.5

C24BN25BH25F	109.5

H25DN25BH25F	109.5

H25EN25BH25F	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	14(1) 	15(1)	12(1) 	1(1)	2(1) 	0(1)

C2	11(1) 	12(1)	12(1) 	1(1)	0(1) 	1(1)

C3	11(1) 	11(1)	13(1) 	0(1)	0(1) 	0(1)

C4	9(1) 	13(1)	14(1) 	2(1)	1(1) 	2(1)

O1A	35(1) 	40(1)	32(1) 	20(1)	21(1) 	21(1)

O1B	20(1) 	16(1)	24(1) 	7(1)	2(1) 	2(1)

O2	10(1) 	17(1)	14(1) 	1(1)	1(1) 	1(1)

O3	13(1) 	12(1)	19(1) 	2(1)	1(1) 	2(1)

O4A	15(1) 	16(1)	13(1) 	1(1)	2(1) 	0(1)

O4B	17(1) 	15(1)	16(1) 	2(1)	4(1) 	4(1)

C22A	12(2) 	21(2)	9(2) 	0(2)	1(2) 	5(2)

C23A	12(2) 	21(2)	9(2) 	0(2)	1(2) 	5(2)

C24A	21(2) 	20(3)	16(2) 	4(2)	7(2) 	3(2)

N21A	11(1) 	15(2)	12(2) 	3(1)	1(1) 	2(1)

N25A	11(1) 	15(2)	12(2) 	3(1)	1(1) 	2(1)

C22B	12(2) 	13(2)	18(3) 	0(2)	1(2) 	2(3)

C23B	12(2) 	13(2)	18(3) 	0(2)	1(2) 	2(3)

C24B	13(2) 	16(3)	12(2) 	4(2)	1(1) 	1(2)

N21B	16(2) 	14(2)	13(2) 	1(1)	1(1) 	2(1)

N25B	16(2) 	14(2)	13(2) 	1(1)	1(1) 	2(1)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

O2H2A...O4Bi	0.84	1.83	2.654(2)	165.0

O3H3A...O1Bii	0.84	1.84	2.675(2)	171.0

N21AH21A...O4Biii	0.91	1.94	2.830(13)	164.4

N21BH21D...O4Biii	0.91	1.95	2.852(14)	169.5

N21AH21B...O4Aiv	0.91	1.95	2.812(12)	158.1

N21BH21E...O4Aiv	0.91	1.88	2.755(14)	159.4

N21AH21C...O2v	0.91	1.94	2.845(11)	170.5

N21BH21F...O2v	0.91	2.06	2.948(11)	165.9

N21BH21F...O1Bv	0.91	2.54	3.080(14)	118.8

N25AH25A...O3vi	0.91	2.07	2.861(4)	144.9

N25AH25A...O1Bvi	0.91	2.62	3.163(4)	119.0

N25AH25B...O3vii	0.91	2.17	2.971(4)	146.3

N25AH25B...O4Avii	0.91	2.19	2.883(4)	132.7

N25BH25E...O4Avii	0.91	2.14	2.777(4)	126.2

N25BH25E...O3vii	0.91	2.41	3.134(4)	136.3

N25AH25C...O1Aviii	0.91	1.90	2.761(4)	157.5

N25BH25D...O1Aviii	0.91	1.87	2.681(4)	148.0

N25BH25F...O1Aix	0.91	2.09	2.929(4)	152.3

Symmetry transformations used to generate equivalent atoms:

(i) x+2,y+1,z    (ii) x,y+3/2,z+1/2    (iii) x1,y+1/2,z1/2

(iv)  x+1,y1/2,z+1/2    (v) x+1,y+1,z    (vi) x,y+1,z

(vii) x,y1/2,z+1/2    (viii) x,y1/2,z1/2    (xi) x1,y+1/2,z+1/2