|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0076p21c

Empirical formula 	C6H6NNaO3S

Formula weight 	195.17

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 14.0939(6) Å	 = 90°

b = 4.9227(2) Å	 = 97.321(3)°

c = 11.3731(5) Å	  = 90°

Volume	782.63(6) Å3

Z	4

Density (calculated)	1.656 Mg / m3

Absorption coefficient	0.428 mm1

F(000)	400

Crystal	plate; colourless

Crystal size	0.13  0.09  0.02 mm3

 range for data collection	2.91  27.48°

Index ranges	18  h  18, 6  k  6, 14  l  14

Reflections collected	11452

Independent reflections	1804 [Rint = 0.0716]

Completeness to  = 27.48°	99.9 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9915 and 0.9464

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1804 / 0 / 109

Goodness-of-fit on F2	1.078

Final R indices [F2 > 2(F2)]	R1 = 0.0520, wR2 = 0.1058

R indices (all data)	R1 = 0.0716, wR2 = 0.1150

Largest diff. peak and hole	0.557 and 0.439 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Na1	5537(1)	167(2)	1336(1)	19(1)	1

C1	7394(2)	20(6)	3915(3)	18(1)	1

C2	7549(2)	1705(6)	2972(3)	20(1)	1

C3	8452(2)	1649(7)	2579(3)	29(1)	1

C4	9166(2)	3(8)	3117(4)	38(1)	1

C5	9015(3)	1644(8)	4072(4)	37(1)	1

C6	8126(2)	1671(7)	4460(3)	26(1)	1

N2	6817(2)	3289(5)	2410(2)	20(1)	1

O1A	6344(2)	1941(4)	5407(2)	21(1)	1

O1B	5658(1)	1652(4)	3334(2)	18(1)	1

O1C	5888(2)	2442(4)	4519(2)	20(1)	1

S1	6234(1)	306(1)	4334(1)	16(1)	1

Table 3. Bond lengths [Å] and angles [°].

Na1O1Ai	2.289(2)

Na1O1Bii	2.364(2)

Na1O1B	2.428(2)

Na1O1Ciii	2.482(2)

Na1O1Civ	2.505(2)

Na1N2	2.559(3)

Na1Na1v	3.222(2)

Na1S1ii	3.3603(13)

Na1Na1iv	4.0466(17)

Na1Na1ii	4.0466(17)

C1C6	1.395(4)

C1C2	1.407(4)

C1S1	1.766(3)

C2N2	1.383(4)

C2C3	1.401(4)

C3C4	1.376(5)

C3H3	0.9500

C4C5	1.391(5)

C4H4	0.9500

C5C6	1.380(5)

C5H5	0.9500

C6H6	0.9500

N2H1	0.8800

N2H2	0.8800

O1AS1	1.453(2)

O1ANa1vi	2.289(2)

O1BS1	1.469(2)

O1BNa1iv	2.364(2)

O1CS1	1.463(2)

O1CNa1vii	2.482(2)

O1CNa1ii	2.505(2)

S1Na1iv	3.3603(13)

O1AiNa1O1Bii	159.82(9)

O1AiNa1O1B	101.32(8)

O1BiiNa1O1B	93.58(6)

O1AiNa1O1Ciii	77.35(8)

O1BiiNa1O1Ciii	92.27(8)

O1BNa1O1Ciii	163.01(8)

O1AiNa1O1Civ	82.52(8)

O1BiiNa1O1Civ	82.21(8)

O1BNa1O1Civ	97.07(8)

O1CiiiNa1O1Civ	99.52(7)

O1AiNa1N2	105.99(9)

O1BiiNa1N2	89.99(8)

O1BNa1N2	79.27(8)

O1CiiiNa1N2	84.80(8)

O1CivNa1N2	171.19(9)

O1AiNa1Na1v	74.34(6)

O1BiiNa1Na1v	85.71(6)

O1BNa1Na1v	146.36(8)

O1CiiiNa1Na1v	50.07(6)

O1CivNa1Na1v	49.45(5)

N2Na1Na1v	134.31(8)

O1AiNa1S1ii	138.91(7)

O1BiiNa1S1ii	22.08(5)

O1BNa1S1ii	114.76(6)

O1CiiiNa1S1ii	73.60(6)

O1CivNa1S1ii	74.44(6)

N2Na1S1ii	99.68(7)

Na1vNa1S1ii	64.78(4)

O1AiNa1Na1iv	97.42(5)

O1BiiNa1Na1iv	88.04(6)

O1BNa1Na1iv	31.91(5)

O1CiiiNa1Na1iv	164.53(7)

O1CivNa1Na1iv	65.19(5)

N2Na1Na1iv	110.67(7)

Na1vNa1Na1iv	114.60(5)

S1iiNa1Na1iv	102.89(4)

O1AiNa1Na1ii	166.73(7)

O1BiiNa1Na1ii	32.87(5)

O1BNa1Na1ii	66.41(6)

O1CiiiNa1Na1ii	112.77(5)

O1CivNa1Na1ii	103.39(7)

N2Na1Na1ii	67.81(6)

Na1vNa1Na1ii	118.58(6)

S1iiNa1Na1ii	54.29(2)

Na1ivNa1Na1ii	74.93(4)

C6C1C2	120.8(3)

C6C1S1	119.4(2)

C2C1S1	119.6(2)

N2C2C3	121.2(3)

N2C2C1	120.9(3)

C3C2C1	117.8(3)

C4C3C2	120.8(3)

C4C3H3	119.6

C2C3H3	119.6

C3C4C5	120.9(3)

C3C4H4	119.5

C5C4H4	119.5

C6C5C4	119.4(3)

C6C5H5	120.3

C4C5H5	120.3

C5C6C1	120.1(3)

C5C6H6	119.9

C1C6H6	119.9

C2N2Na1	108.71(18)

C2N2H1	120.0

Na1N2H1	97.3

C2N2H2	120.0

Na1N2H2	63.4

H1N2H2	120.0

S1O1ANa1vi	140.01(13)

S1O1BNa1iv	120.70(11)

S1O1BNa1	121.64(11)

Na1ivO1BNa1	115.22(8)

S1O1CNa1vii	131.56(12)

S1O1CNa1ii	134.85(12)

Na1viiO1CNa1ii	80.48(7)

O1AS1O1C	113.17(12)

O1AS1O1B	112.93(12)

O1CS1O1B	111.51(12)

O1AS1C1	105.55(13)

O1CS1C1	107.60(13)

O1BS1C1	105.44(12)

O1AS1Na1iv	79.61(9)

O1CS1Na1iv	113.20(9)

O1BS1Na1iv	37.23(8)

C1S1Na1iv	132.70(10)

Symmetry transformations used to generate equivalent atoms:

(i) x,y+1/2,z1/2    (ii) x+1,y1/2,z+1/2    (iii) x,y1/2,z1/2

(iv)  x+1,y+1/2,z+1/2    (v) x+1,y,z    (vi) x,y+1/2,z+1/2

(vii) x,y1/2,z+1/2

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Na1	24(1) 	18(1)	14(1) 	1(1)	2(1) 	1(1)

C1	19(1) 	17(1)	19(1) 	2(1)	0(1) 	3(1)

C2	24(2) 	16(2)	19(1) 	1(1)	3(1) 	3(1)

C3	28(2) 	27(2)	34(2) 	1(2)	8(1) 	3(1)

C4	22(2) 	34(2)	59(2) 	4(2)	13(2) 	0(2)

C5	25(2) 	31(2)	54(2) 	7(2)	1(2) 	7(2)

C6	26(2) 	20(2)	31(2) 	3(1)	3(1) 	2(1)

N2	21(1) 	23(1)	17(1) 	7(1)	4(1) 	0(1)

O1A	36(1) 	15(1)	12(1) 	2(1)	3(1) 	2(1)

O1B	23(1) 	16(1)	13(1) 	1(1)	1(1) 	3(1)

O1C	27(1) 	14(1)	18(1) 	2(1)	6(1) 	2(1)

S1	23(1) 	13(1)	12(1) 	0(1)	2(1) 	1(1)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N2H2...O1C	0.88	2.27	2.906(3)	129.0

N2H1...O1Aiii	0.88	2.13	2.912(3)	148.3

N2H1...S1iii	0.88	2.88	3.628(2)	143.4

Symmetry transformations used to generate equivalent atoms:

(i) x,y+1/2,z1/2    (ii) x+1,y1/2,z+1/2    (iii) x,y1/2,z1/2

(iv)  x+1,y+1/2,z+1/2    (v) x+1,y,z    (vi) x,y+1/2,z+1/2

(vii) x,y1/2,z+1/2