|  | # Single Crystal X-Ray Diffraction Service National Crystallography Service Contact: Dr S.K. Callear, S.K.Callear@soton.ac.uk |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2008src0988 (JS Ganesh)

Empirical formula 	C23H26N2O2

Formula weight 	362.46

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 5.4658(2) Å	 = 106.312(2)°

b = 12.1791(4) Å	 = 99.182(2)°

c = 15.8842(5) Å	  = 102.509(2)°

Volume	962.93(6) Å3

Z	2

Density (calculated)	1.250 Mg / m3

Absorption coefficient	0.080 mm1

F(000)	388

Crystal	rod; colourless

Crystal size	0.43  0.11  0.08 mm3

 range for data collection	3.43  27.48°

Index ranges	7  h  7, 15  k  15, 19  l  20

Reflections collected	19642

Independent reflections	4394 [Rint = 0.0733]

Completeness to  = 27.48°	99.8 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9936 and 0.9664

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4394 / 0 / 245

Goodness-of-fit on F2	1.053

Final R indices [F2 > 2(F2)]	R1 = 0.0505, wR2 = 0.1130

R indices (all data)	R1 = 0.0896, wR2 = 0.1299

Extinction coefficient	0.034(4)

Largest diff. peak and hole	0.222 and 0.262 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP-3 (L.G. Farrugia, J. Appl. Cryst. (1997) 30, 565).

Special details:

All hydrogens fixed using a standard riding model.

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	1507(3)	750(1)	1056(1)	19(1)	1

C2	2260(3)	816(2)	244(1)	21(1)	1

C3	2456(3)	1867(2)	323(1)	23(1)	1

C4	1929(3)	2881(2)	74(1)	23(1)	1

C5	1140(3)	2844(2)	717(1)	22(1)	1

C6	896(3)	1788(1)	1292(1)	18(1)	1

C8	1508(3)	1200(1)	2465(1)	21(1)	1

C9	2255(3)	342(2)	2013(1)	22(1)	1

C11	1791(3)	484(1)	1664(1)	19(1)	1

C12	664(3)	2715(2)	2504(1)	22(1)	1

C13	1513(3)	3858(2)	2173(1)	20(1)	1

C14	3726(3)	4043(2)	1523(1)	24(1)	1

C15	5696(3)	5091(2)	1250(1)	28(1)	1

C16	5520(3)	5972(2)	1628(1)	26(1)	1

C17	3327(4)	5804(2)	2274(1)	27(1)	1

C18	1331(3)	4766(2)	2538(1)	24(1)	1

C19	130(3)	1823(2)	2738(1)	23(1)	1

C20	963(3)	1969(2)	3737(1)	23(1)	1

C21	3472(4)	1642(2)	3972(1)	31(1)	1

C22	4294(4)	1863(2)	4988(1)	41(1)	1

C23	4575(4)	3148(2)	5534(1)	43(1)	1

C24	2102(4)	3500(2)	5302(1)	41(1)	1

C25	1245(4)	3259(2)	4289(1)	31(1)	1

N7	143(3)	1808(1)	2110(1)	19(1)	1

N10	53(3)	646(1)	2119(1)	20(1)	1

O1	3671(2)	1303(1)	1724(1)	25(1)	1

O2	2325(3)	1345(1)	3108(1)	33(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1C2	1.402(2)

C1C6	1.404(2)

C1C11	1.501(2)

C2C3	1.380(2)

C2H2	0.9500

C3C4	1.387(2)

C3H3	0.9500

C4C5	1.384(2)

C4H4	0.9500

C5C6	1.400(2)

C5H5	0.9500

C6N7	1.430(2)

C8O2	1.220(2)

C8N7	1.377(2)

C8C9	1.512(2)

C9N10	1.456(2)

C9H9A	0.9900

C9H9B	0.9900

C11O1	1.2376(19)

C11N10	1.347(2)

C12N7	1.470(2)

C12C13	1.517(2)

C12H12A	0.9900

C12H12B	0.9900

C13C14	1.391(2)

C13C18	1.399(2)

C14C15	1.386(2)

C14H14	0.9500

C15C16	1.381(2)

C15H15	0.9500

C16C17	1.384(3)

C16H16	0.9500

C17C18	1.387(2)

C17H17	0.9500

C18H18	0.9500

C19N10	1.464(2)

C19C20	1.528(2)

C19H19A	0.9900

C19H19B	0.9900

C20C21	1.528(2)

C20C25	1.530(2)

C20H20	1.0000

C21C22	1.533(2)

C21H21A	0.9900

C21H21B	0.9900

C22C23	1.522(3)

C22H22A	0.9900

C22H22B	0.9900

C23C24	1.526(3)

C23H23A	0.9900

C23H23B	0.9900

C24C25	1.527(3)

C24H24A	0.9900

C24H24B	0.9900

C25H25A	0.9900

C25H25B	0.9900

C2C1C6	118.99(15)

C2C1C11	115.31(14)

C6C1C11	125.13(15)

C3C2C1	121.90(15)

C3C2H2	119.1

C1C2H2	119.1

C2C3C4	118.87(15)

C2C3H3	120.6

C4C3H3	120.6

C5C4C3	120.33(16)

C5C4H4	119.8

C3C4H4	119.8

C4C5C6	121.34(15)

C4C5H5	119.3

C6C5H5	119.3

C5C6C1	118.52(15)

C5C6N7	118.27(14)

C1C6N7	123.15(15)

O2C8N7	121.92(15)

O2C8C9	121.71(16)

N7C8C9	116.37(14)

N10C9C8	111.92(13)

N10C9H9A	109.2

C8C9H9A	109.2

N10C9H9B	109.2

C8C9H9B	109.2

H9AC9H9B	107.9

O1C11N10	122.98(15)

O1C11C1	119.37(15)

N10C11C1	117.64(14)

N7C12C13	113.69(13)

N7C12H12A	108.8

C13C12H12A	108.8

N7C12H12B	108.8

C13C12H12B	108.8

H12AC12H12B	107.7

C14C13C18	117.92(15)

C14C13C12	122.62(14)

C18C13C12	119.46(14)

C15C14C13	120.96(16)

C15C14H14	119.5

C13C14H14	119.5

C16C15C14	120.65(16)

C16C15H15	119.7

C14C15H15	119.7

C15C16C17	119.14(16)

C15C16H16	120.4

C17C16H16	120.4

C16C17C18	120.44(16)

C16C17H17	119.8

C18C17H17	119.8

C17C18C13	120.86(16)

C17C18H18	119.6

C13C18H18	119.6

N10C19C20	114.63(13)

N10C19H19A	108.6

C20C19H19A	108.6

N10C19H19B	108.6

C20C19H19B	108.6

H19AC19H19B	107.6

C19C20C21	113.12(15)

C19C20C25	108.33(14)

C21C20C25	110.27(14)

C19C20H20	108.3

C21C20H20	108.3

C25C20H20	108.3

C20C21C22	111.07(16)

C20C21H21A	109.4

C22C21H21A	109.4

C20C21H21B	109.4

C22C21H21B	109.4

H21AC21H21B	108.0

C23C22C21	111.44(17)

C23C22H22A	109.3

C21C22H22A	109.3

C23C22H22B	109.3

C21C22H22B	109.3

H22AC22H22B	108.0

C22C23C24	111.26(16)

C22C23H23A	109.4

C24C23H23A	109.4

C22C23H23B	109.4

C24C23H23B	109.4

H23AC23H23B	108.0

C23C24C25	111.31(17)

C23C24H24A	109.4

C25C24H24A	109.4

C23C24H24B	109.4

C25C24H24B	109.4

H24AC24H24B	108.0

C24C25C20	112.32(16)

C24C25H25A	109.1

C20C25H25A	109.1

C24C25H25B	109.1

C20C25H25B	109.1

H25AC25H25B	107.9

C8N7C6	124.13(13)

C8N7C12	115.60(13)

C6N7C12	118.90(14)

C11N10C9	120.92(14)

C11N10C19	120.52(14)

C9N10C19	118.55(14)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	14(1) 	21(1)	21(1) 	7(1)	2(1) 	5(1)

C2	18(1) 	23(1)	22(1) 	11(1)	5(1) 	4(1)

C3	21(1) 	28(1)	20(1) 	7(1)	7(1) 	5(1)

C4	21(1) 	21(1)	26(1) 	5(1)	7(1) 	5(1)

C5	20(1) 	20(1)	26(1) 	7(1)	6(1) 	5(1)

C6	14(1) 	20(1)	20(1) 	7(1)	3(1) 	3(1)

C8	20(1) 	17(1)	24(1) 	5(1)	6(1) 	1(1)

C9	18(1) 	21(1)	24(1) 	6(1)	6(1) 	5(1)

C11	17(1) 	20(1)	21(1) 	10(1)	2(1) 	5(1)

C12	21(1) 	23(1)	24(1) 	12(1)	4(1) 	6(1)

C13	23(1) 	21(1)	22(1) 	9(1)	10(1) 	9(1)

C14	24(1) 	21(1)	30(1) 	13(1)	7(1) 	7(1)

C15	23(1) 	25(1)	34(1) 	12(1)	5(1) 	5(1)

C16	26(1) 	19(1)	35(1) 	8(1)	13(1) 	5(1)

C17	39(1) 	19(1)	29(1) 	11(1)	13(1) 	10(1)

C18	29(1) 	24(1)	22(1) 	10(1)	6(1) 	10(1)

C19	25(1) 	17(1)	25(1) 	6(1)	7(1) 	8(1)

C20	23(1) 	24(1)	23(1) 	6(1)	6(1) 	6(1)

C21	28(1) 	35(1)	28(1) 	10(1)	4(1) 	9(1)

C22	37(1) 	56(1)	29(1) 	14(1)	2(1) 	16(1)

C23	36(1) 	56(2)	26(1) 	5(1)	0(1) 	5(1)

C24	39(1) 	44(1)	28(1) 	1(1)	7(1) 	6(1)

C25	30(1) 	30(1)	29(1) 	2(1)	6(1) 	8(1)

N7	19(1) 	18(1)	20(1) 	8(1)	6(1) 	4(1)

N10	18(1) 	19(1)	23(1) 	6(1)	5(1) 	6(1)

O1	23(1) 	20(1)	31(1) 	10(1)	7(1) 	3(1)

O2	38(1) 	33(1)	34(1) 	14(1)	19(1) 	11(1)