|  | # Single Crystal X-Ray Diffraction Service National Crystallography Service Contact: Dr S.K.Callear, S.K.Callear@soton.ac.uk |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2008src1017  (SM 51L)

Empirical formula 	C10H22N2O2Si2

Formula weight 	258.48

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 10.6069(12) Å	 = 83.058(7)°

b = 10.7107(13) Å	 = 64.192(6)°

c = 10.7782(15) Å	  = 88.751(9)°

Volume	1093.6(2) Å3

Z	3

Density (calculated)	1.177 Mg / m3

Absorption coefficient	0.234 mm1

F(000)	420

Crystal	fragment; colourless

Crystal size	0.14  0.08  0.02 mm3

 range for data collection	2.92  27.48°

Index ranges	13  h  13, 13  k  13, 13  l  13

Reflections collected	15672

Independent reflections	4889 [Rint = 0.1521]

Completeness to  = 27.48°	97.6 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9953 and 0.9680

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4889 / 0 / 226

Goodness-of-fit on F2	1.176

Final R indices [F2 > 2(F2)]	R1 = 0.1451, wR2 = 0.2243

R indices (all data)	R1 = 0.2538, wR2 = 0.2719

Largest diff. peak and hole	0.562 and 0.493 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP-3 (L.G. Farrugia, J. Appl. Cryst. (1997) 30, 565).

Special details:

The poor data is due to poor crystal quality, however all hydrogens were located on the difference map before being fixed using a standard riding model.

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Si1	1623(2)	3279(2)	3377(2)	27(1)	1

Si2	1592(2)	7702(2)	9444(2)	28(1)	1

Si3	4588(2)	8287(2)	3186(2)	26(1)	1

O5	3528(6)	6215(5)	5466(5)	32(1)	1

O22	1336(6)	7024(5)	11118(6)	35(1)	1

O2	3243(6)	5109(5)	1001(5)	32(1)	1

N21	708(7)	6214(6)	9737(6)	23(1)	1

N1	2932(7)	4407(6)	3193(6)	26(2)	1

C2	3561(7)	5166(7)	1962(7)	23(2)	1

N4	4287(7)	6661(6)	3139(6)	27(2)	1

C6	3479(8)	4520(7)	4221(8)	28(2)	1

C5	3762(8)	5870(7)	4338(8)	26(2)	1

C22	676(8)	6118(8)	10587(8)	28(2)	1

C26	1484(8)	5112(7)	9139(8)	27(2)	1

C3	4693(8)	6086(8)	1826(8)	28(2)	1

C12	5871(8)	8484(7)	3886(8)	30(2)	1

C28	3456(9)	7451(8)	8259(8)	35(2)	1

C8	1062(8)	2373(8)	5134(8)	34(2)	1

C27	1475(9)	8154(8)	11102(8)	38(2)	1

C11	2869(9)	8951(8)	4209(9)	40(2)	1

C29	844(10)	8922(8)	8586(9)	39(2)	1

C7	2389(9)	2196(8)	2020(8)	35(2)	1

C10	5335(11)	9028(9)	1356(8)	48(3)	1

C9	121(8)	4147(8)	3285(9)	38(2)	1

Table 3. Bond lengths [Å] and angles [°].

Si1N1	1.790(6)

Si1C9	1.860(9)

Si1C8	1.865(8)

Si1C7	1.866(8)

Si2N21	1.790(6)

Si2C27	1.859(8)

Si2C28	1.863(9)

Si2C29	1.870(8)

Si3N4	1.787(7)

Si3C12	1.847(8)

Si3C11	1.852(9)

Si3C10	1.854(8)

O5C5	1.232(8)

O22C22	1.230(9)

O2C2	1.229(8)

N21C22	1.348(9)

N21C26	1.472(10)

N1C2	1.363(9)

N1C6	1.474(9)

C2C3	1.516(10)

N4C5	1.352(9)

N4C3	1.496(9)

C6C5	1.515(11)

C6H6A	0.9900

C6H6B	0.9900

C22C26i	1.515(11)

C26C22i	1.515(11)

C26H26A	0.9900

C26H26B	0.9900

C3H3A	0.9900

C3H3B	0.9900

C12H12A	0.9800

C12H12B	0.9800

C12H12C	0.9800

C28H28A	0.9800

C28H28B	0.9800

C28H28C	0.9800

C8H8A	0.9800

C8H8B	0.9800

C8H8C	0.9800

C27H27A	0.9800

C27H27B	0.9800

C27H27C	0.9800

C11H11A	0.9800

C11H11B	0.9800

C11H11C	0.9800

C29H29A	0.9800

C29H29B	0.9800

C29H29C	0.9800

C7H7A	0.9800

C7H7B	0.9800

C7H7C	0.9800

C10H10A	0.9800

C10H10B	0.9800

C10H10C	0.9800

C9H9A	0.9800

C9H9B	0.9800

C9H9C	0.9800

N1Si1C9	108.2(4)

N1Si1C8	106.1(3)

C9Si1C8	110.0(4)

N1Si1C7	109.9(3)

C9Si1C7	112.8(4)

C8Si1C7	109.7(4)

N21Si2C27	110.5(3)

N21Si2C28	105.0(3)

C27Si2C28	109.6(4)

N21Si2C29	109.8(3)

C27Si2C29	111.4(4)

C28Si2C29	110.2(4)

N4Si3C12	111.1(3)

N4Si3C11	107.5(4)

C12Si3C11	113.1(4)

N4Si3C10	105.8(4)

C12Si3C10	108.7(4)

C11Si3C10	110.3(4)

C22N21C26	121.1(6)

C22N21Si2	117.8(5)

C26N21Si2	121.0(5)

C2N1C6	116.5(6)

C2N1Si1	117.9(5)

C6N1Si1	125.4(5)

O2C2N1	122.3(7)

O2C2C3	121.2(6)

N1C2C3	116.5(6)

C5N4C3	116.8(6)

C5N4Si3	119.3(5)

C3N4Si3	123.7(5)

N1C6C5	113.2(6)

N1C6H6A	108.9

C5C6H6A	108.9

N1C6H6B	108.9

C5C6H6B	108.9

H6AC6H6B	107.8

O5C5N4	122.5(7)

O5C5C6	121.3(7)

N4C5C6	116.1(6)

O22C22N21	122.0(7)

O22C22C26i	117.7(7)

N21C22C26i	120.3(7)

N21C26C22i	118.5(6)

N21C26H26A	107.7

C22iC26H26A	107.7

N21C26H26B	107.7

C22iC26H26B	107.7

H26AC26H26B	107.1

N4C3C2	111.0(6)

N4C3H3A	109.4

C2C3H3A	109.4

N4C3H3B	109.4

C2C3H3B	109.4

H3AC3H3B	108.0

Si3C12H12A	109.5

Si3C12H12B	109.5

H12AC12H12B	109.5

Si3C12H12C	109.5

H12AC12H12C	109.5

H12BC12H12C	109.5

Si2C28H28A	109.5

Si2C28H28B	109.5

H28AC28H28B	109.5

Si2C28H28C	109.5

H28AC28H28C	109.5

H28BC28H28C	109.5

Si1C8H8A	109.5

Si1C8H8B	109.5

H8AC8H8B	109.5

Si1C8H8C	109.5

H8AC8H8C	109.5

H8BC8H8C	109.5

Si2C27H27A	109.5

Si2C27H27B	109.5

H27AC27H27B	109.5

Si2C27H27C	109.5

H27AC27H27C	109.5

H27BC27H27C	109.5

Si3C11H11A	109.5

Si3C11H11B	109.5

H11AC11H11B	109.5

Si3C11H11C	109.5

H11AC11H11C	109.5

H11BC11H11C	109.5

Si2C29H29A	109.5

Si2C29H29B	109.5

H29AC29H29B	109.5

Si2C29H29C	109.5

H29AC29H29C	109.5

H29BC29H29C	109.5

Si1C7H7A	109.5

Si1C7H7B	109.5

H7AC7H7B	109.5

Si1C7H7C	109.5

H7AC7H7C	109.5

H7BC7H7C	109.5

Si3C10H10A	109.5

Si3C10H10B	109.5

H10AC10H10B	109.5

Si3C10H10C	109.5

H10AC10H10C	109.5

H10BC10H10C	109.5

Si1C9H9A	109.5

Si1C9H9B	109.5

H9AC9H9B	109.5

Si1C9H9C	109.5

H9AC9H9C	109.5

H9BC9H9C	109.5

Symmetry transformations used to generate equivalent atoms:

(i) x,y+1,z+2

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Si1	26(1) 	30(1)	26(1) 	5(1)	14(1) 	1(1)

Si2	31(1) 	28(1)	23(1) 	7(1)	9(1) 	0(1)

Si3	30(1) 	27(1)	23(1) 	3(1)	13(1) 	2(1)

O5	36(3) 	43(4)	21(3) 	4(2)	16(2) 	6(3)

O22	31(3) 	27(3)	38(3) 	8(3)	7(3) 	6(3)

O2	44(3) 	38(3)	21(3) 	3(2)	20(3) 	7(3)

N21	34(4) 	16(3)	22(3) 	2(3)	14(3) 	4(3)

N1	34(4) 	27(4)	20(3) 	2(3)	15(3) 	6(3)

C2	23(4) 	19(4)	21(4) 	2(3)	4(3) 	0(3)

N4	33(4) 	30(4)	16(3) 	1(3)	9(3) 	4(3)

C6	31(4) 	32(5)	26(4) 	6(3)	17(4) 	1(4)

C5	25(4) 	30(5)	33(4) 	8(4)	20(4) 	4(3)

C22	26(4) 	34(5)	21(4) 	4(3)	9(3) 	1(4)

C26	33(4) 	33(5)	20(4) 	5(3)	16(3) 	2(4)

C3	27(4) 	28(5)	28(4) 	17(3)	7(3) 	5(4)

C12	34(5) 	26(5)	27(4) 	3(3)	9(4) 	4(4)

C28	46(5) 	30(5)	31(4) 	3(4)	19(4) 	13(4)

C8	30(4) 	27(5)	43(5) 	1(4)	17(4) 	1(4)

C27	38(5) 	41(5)	32(5) 	4(4)	13(4) 	8(4)

C11	48(6) 	29(5)	51(6) 	13(4)	27(5) 	3(4)

C29	55(6) 	34(5)	33(5) 	1(4)	25(4) 	2(4)

C7	37(5) 	38(5)	29(4) 	10(4)	13(4) 	4(4)

C10	78(7) 	40(6)	29(5) 	0(4)	26(5) 	13(5)

C9	29(5) 	42(6)	40(5) 	15(4)	8(4) 	1(4)