|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	00SRC400

Empirical formula 	C26H17BrFe

Formula weight 	465.16

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 10.2730(3) Å

b = 16.4508(5) Å	 = 96.5376(17)°

c = 11.1879(4) Å

Volume	1878.45(10) Å3

Z	4

Density (calculated)	1.645 Mg / m3

Absorption coefficient	2.939 mm1

F(000)	936

Crystal	Dark Red Plate

Crystal size	0.30  0.10  0.05 mm3

 range for data collection	3.08  25.03°

Index ranges	12  h  11, 19  k  19, 12  l  13

Reflections collected	13165

Independent reflections	3299 [Rint = 0.0660]

Completeness to  = 25.03°	99.6 %

Absorption correction	Empirical

Max. and min. transmission	0.8670 and 0.4726

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3299 / 0 / 254

Goodness-of-fit on F2	1.069

Final R indices [F2 > 2(F2)]	R1 = 0.0525, wR2 = 0.1408

R indices (all data)	R1 = 0.0690, wR2 = 0.1502

Extinction coefficient	0.0029(8)

Largest diff. peak and hole	0.851 and 0.667 e Å3

Diffractometer: Enraf Nonius KappaCCD area detector ( scans and  scans to fill Ewald sphere). Data collection and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Program used to solve structure: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Program used to refine structure: SHELXL97 (G. M. Sheldrick

(1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:  All hydrogen atoms were placed in idealised positions and refined using a riding model.

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Fe1	15126(1)	2817(1)	4520(1)	32(1)	1

Br1	9150(1)	2089(1)	4052(1)	48(1)	1

C1	14661(6)	3927(3)	5165(6)	49(2)	1

C2	13704(6)	3355(3)	5362(6)	48(1)	1

C3	13175(5)	3046(3)	4210(6)	43(1)	1

C4	13826(5)	3424(3)	3330(5)	44(1)	1

C5	14757(6)	3974(3)	3902(6)	51(2)	1

C6	15948(5)	1937(3)	3565(5)	38(1)	1

C7	16920(5)	2488(3)	4052(5)	40(1)	1

C8	16937(5)	2480(3)	5311(5)	40(1)	1

C9	15974(5)	1933(3)	5631(5)	36(1)	1

C10	15338(5)	1582(3)	4533(4)	32(1)	1

C11	14296(5)	1014(3)	4446(5)	36(1)	1

C12	13410(5)	540(3)	4377(5)	35(1)	1

C13	12387(5)	47(3)	4316(4)	29(1)	1

C14	11949(5)	354(3)	5367(4)	32(1)	1

C15	12498(6)	77(3)	6527(5)	39(1)	1

C16	12077(6)	361(4)	7540(5)	45(1)	1

C17	11061(6)	949(4)	7472(5)	45(1)	1

C18	10523(5)	1240(3)	6396(5)	43(1)	1

C19	10943(5)	956(3)	5304(4)	30(1)	1

C20	10426(5)	1233(3)	4155(5)	32(1)	1

C21	10824(5)	923(3)	3093(4)	31(1)	1

C22	10271(6)	1175(3)	1923(5)	41(1)	1

C23	10679(6)	838(4)	928(5)	51(2)	1

C24	11658(6)	241(4)	1000(5)	50(2)	1

C25	12211(5)	13(3)	2103(5)	39(1)	1

C26	11817(5)	318(3)	3172(4)	31(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1C2	1.396(8)

C1C5	1.430(9)

C1Fe1	2.039(5)

C2C3	1.434(9)

C2Fe1	2.029(6)

C3C4	1.398(8)

C3Fe1	2.030(5)

C4C5	1.415(8)

C4Fe1	2.036(5)

C5Fe1	2.045(5)

C6C7	1.411(7)

C6C10	1.435(8)

C6Fe1	2.039(5)

C7C8	1.407(9)

C7Fe1	2.046(5)

C8C9	1.412(8)

C8Fe1	2.044(5)

C9C10	1.444(7)

C9Fe1	2.043(5)

C10C11	1.416(7)

C10Fe1	2.043(5)

C11C12	1.195(7)

C12C13	1.422(7)

C13C14	1.401(7)

C13C26	1.418(7)

C14C19	1.427(7)

C14C15	1.429(7)

C15C16	1.343(8)

C16C17	1.418(9)

C17C18	1.354(8)

C18C19	1.420(8)

C19C20	1.410(7)

C20C21	1.396(7)

C20Br1	1.918(5)

C21C26	1.420(7)

C21C22	1.429(7)

C22C23	1.351(9)

C23C24	1.402(9)

C24C25	1.364(8)

C25C26	1.414(7)

C2C1C5	108.8(5)

C2C1Fe1	69.5(3)

C5C1Fe1	69.7(3)

C1C2C3	107.4(6)

C1C2Fe1	70.3(3)

C3C2Fe1	69.3(3)

C4C3C2	108.2(5)

C4C3Fe1	70.1(3)

C2C3Fe1	69.3(3)

C3C4C5	108.6(5)

C3C4Fe1	69.6(3)

C5C4Fe1	70.1(3)

C4C5C1	107.1(5)

C4C5Fe1	69.4(3)

C1C5Fe1	69.3(3)

C7C6C10	108.7(5)

C7C6Fe1	70.1(3)

C10C6Fe1	69.6(3)

C8C7C6	107.9(5)

C8C7Fe1	69.8(3)

C6C7Fe1	69.5(3)

C7C8C9	109.3(5)

C7C8Fe1	69.9(3)

C9C8Fe1	69.7(3)

C8C9C10	107.5(5)

C8C9Fe1	69.9(3)

C10C9Fe1	69.3(3)

C11C10C6	127.5(5)

C11C10C9	126.0(5)

C6C10C9	106.6(4)

C11C10Fe1	125.2(3)

C6C10Fe1	69.3(3)

C9C10Fe1	69.3(3)

C12C11C10	179.4(6)

C11C12C13	177.9(5)

C14C13C26	120.3(4)

C14C13C12	120.7(4)

C26C13C12	118.9(4)

C13C14C19	120.6(4)

C13C14C15	121.1(5)

C19C14C15	118.3(5)

C16C15C14	121.6(5)

C15C16C17	119.9(5)

C18C17C16	120.8(5)

C17C18C19	121.0(5)

C20C19C18	124.0(5)

C20C19C14	117.7(4)

C18C19C14	118.4(4)

C21C20C19	122.8(4)

C21C20Br1	118.8(4)

C19C20Br1	118.4(4)

C20C21C26	118.8(4)

C20C21C22	123.3(5)

C26C21C22	117.9(5)

C23C22C21	120.5(5)

C22C23C24	121.9(5)

C25C24C23	119.3(6)

C24C25C26	121.2(5)

C25C26C13	120.9(5)

C25C26C21	119.3(4)

C13C26C21	119.7(5)

C2Fe1C3	41.4(2)

C2Fe1C4	68.7(2)

C3Fe1C4	40.2(2)

C2Fe1C6	156.4(2)

C3Fe1C6	120.2(2)

C4Fe1C6	106.6(2)

C2Fe1C1	40.1(2)

C3Fe1C1	68.2(2)

C4Fe1C1	68.3(2)

C6Fe1C1	161.6(2)

C2Fe1C9	107.9(2)

C3Fe1C9	125.5(2)

C4Fe1C9	161.7(2)

C6Fe1C9	68.9(2)

C1Fe1C9	121.5(2)

C2Fe1C10	120.8(2)

C3Fe1C10	106.7(2)

C4Fe1C10	123.6(2)

C6Fe1C10	41.2(2)

C1Fe1C10	156.4(2)

C9Fe1C10	41.41(19)

C2Fe1C8	125.8(2)

C3Fe1C8	163.0(2)

C4Fe1C8	155.9(2)

C6Fe1C8	67.9(2)

C1Fe1C8	109.1(2)

C9Fe1C8	40.4(2)

C10Fe1C8	68.63(19)

C2Fe1C5	68.6(3)

C3Fe1C5	68.2(2)

C4Fe1C5	40.6(2)

C6Fe1C5	123.8(2)

C1Fe1C5	41.0(3)

C9Fe1C5	156.6(2)

C10Fe1C5	160.6(2)

C8Fe1C5	121.6(2)

C2Fe1C7	162.1(2)

C3Fe1C7	155.0(2)

C4Fe1C7	120.4(2)

C6Fe1C7	40.4(2)

C1Fe1C7	125.6(2)

C9Fe1C7	68.4(2)

C10Fe1C7	68.9(2)

C8Fe1C7	40.2(2)

C5Fe1C7	107.3(2)

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	47(3) 	28(3)	71(4) 	11(3)	0(3) 	6(2)

C2	45(3) 	35(3)	66(4) 	6(3)	14(3) 	9(2)

C3	24(3) 	37(3)	67(4) 	6(3)	0(3) 	1(2)

C4	42(3) 	39(3)	52(3) 	7(3)	6(3) 	7(2)

C5	50(4) 	25(3)	78(5) 	5(3)	11(3) 	7(2)

C6	40(3) 	31(2)	43(3) 	3(2)	2(2) 	12(2)

C7	31(3) 	33(3)	57(4) 	3(2)	12(3) 	3(2)

C8	30(3) 	30(3)	59(4) 	8(2)	1(2) 	5(2)

C9	37(3) 	34(2)	35(3) 	1(2)	1(2) 	7(2)

C10	35(3) 	25(2)	36(3) 	2(2)	2(2) 	8(2)

C11	42(3) 	26(2)	39(3) 	2(2)	1(2) 	7(2)

C12	43(3) 	24(2)	36(3) 	2(2)	4(2) 	4(2)

C13	35(3) 	22(2)	30(2) 	0(2)	3(2) 	4(2)

C14	38(3) 	26(2)	30(3) 	4(2)	1(2) 	8(2)

C15	46(3) 	34(3)	35(3) 	5(2)	1(2) 	7(2)

C16	51(4) 	53(3)	30(3) 	9(2)	4(3) 	20(3)

C17	54(4) 	58(3)	27(3) 	9(2)	13(2) 	21(3)

C18	41(3) 	42(3)	48(3) 	10(3)	13(3) 	9(2)

C19	32(3) 	26(2)	31(3) 	1(2)	1(2) 	7(2)

C20	31(3) 	25(2)	41(3) 	1(2)	5(2) 	1(2)

C21	35(3) 	28(2)	29(2) 	6(2)	4(2) 	7(2)

C22	46(3) 	39(3)	35(3) 	7(2)	6(2) 	5(2)

C23	56(4) 	60(4)	33(3) 	13(3)	6(3) 	11(3)

C24	56(4) 	66(4)	30(3) 	7(3)	10(3) 	14(3)

C25	42(3) 	40(3)	35(3) 	4(2)	11(2) 	7(2)

C26	33(3) 	28(2)	31(3) 	1(2)	1(2) 	6(2)

Fe1	30(1) 	22(1)	43(1) 	2(1)	1(1) 	3(1)

Br1	39(1) 	44(1)	61(1) 	7(1)	2(1) 	11(1)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H1	15166	4234	5771	59	1

H2	13451	3200	6120	58	1

H3	12498	2652	4070	52	1

H4	13670	3328	2489	53	1

H5	15336	4311	3519	61	1

H6	15733	1821	2734	46	1

H7	17467	2807	3608	48	1

H8	17506	2792	5861	48	1

H9	15780	1818	6423	43	1

H15	13178	317	6583	46	1

H16	12458	169	8301	54	1

H17	10755	1141	8190	55	1

H18	9855	1641	6371	52	1

H22	9612	1583	1843	49	1

H23	10292	1011	159	61	1

H24	11933	16	289	60	1

H25	12873	418	2154	46	1