|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	00SRC130

Empirical formula 	C44H45O4Sb

Formula weight 	759.55

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 9.5400(19) Å	 = 90°

b = 13.248(3) Å	 = 98.73(3)°

c = 28.592(6) Å	  = 90°

Volume	3571.6(12) Å3

Z	4

Density (calculated)	1.413 Mg / m3

Absorption coefficient	0.816 mm1

F(000)	1568

Crystal	prism; colourless

Crystal size	0.15  0.15  0.1 mm3

 range for data collection	2.11  27.50°

Index ranges	12  h  10, 17  k  17, 34  l  36

Reflections collected	57917

Independent reflections	7391 [Rint = 0.0723]

Completeness to  = 27.50°	90.1 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9229 and 0.8874

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	7391 / 0 / 443

Goodness-of-fit on F2	1.430

Final R indices [F2 > 2(F2)]	R1 = 0.0577, wR2 = 0.1866

R indices (all data)	R1 = 0.0778, wR2 = 0.1945

Largest diff. peak and hole	1.434 and 1.477 e Å3

Diffractometer: Enraf Nonius KappaCCD area detector ( scans and  scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Program used to solve structure:

SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Program used to refine structure: SHELXL97 (G. M. Sheldrick

(1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Sb1	1545(1)	1338(1)	1228(1)	29(1)	1

O1	1704(4)	2560(2)	751(1)	34(1)	1

O2	4055(4)	2377(3)	561(1)	51(1)	1

O3	1221(4)	112(2)	1693(1)	35(1)	1

O4	3509(4)	64(3)	1740(1)	44(1)	1

C1	2379(5)	372(4)	669(2)	31(1)	1

C2	3525(5)	273(4)	678(2)	36(1)	1

C3	3963(6)	896(4)	296(2)	38(1)	1

C4	3286(6)	880(4)	94(2)	42(1)	1

C5	2153(6)	229(4)	105(2)	45(1)	1

C6	1691(6)	402(4)	272(2)	42(1)	1

C7	675(6)	1475(4)	1280(2)	34(1)	1

C8	1559(5)	652(4)	1442(2)	41(1)	1

C9	2993(6)	736(4)	1466(2)	47(2)	1

C10	3598(6)	1621(5)	1341(2)	50(2)	1

C11	2769(6)	2419(5)	1190(2)	50(2)	1

C12	1267(5)	2371(4)	1154(2)	40(1)	1

C13	2309(5)	2225(3)	1751(2)	31(1)	1

C14	1769(6)	2018(4)	2220(2)	43(1)	1

C15	2236(7)	2603(4)	2580(2)	50(2)	1

C16	3121(7)	3382(5)	2465(2)	55(2)	1

C17	3659(7)	3611(4)	1999(2)	53(2)	1

C18	3214(5)	3028(4)	1634(2)	36(1)	1

C19	2928(6)	2735(4)	479(2)	38(1)	1

C20	2888(8)	3407(5)	59(2)	60(2)	1

C21	2178(6)	2893(4)	325(2)	40(1)	1

C22	744(6)	2667(4)	260(2)	48(2)	1

C23	197(7)	2172(4)	603(2)	59(2)	1

C24	984(10)	1886(5)	1012(3)	82(3)	1

C25	2447(10)	2098(5)	1079(2)	78(3)	1

C26	3008(6)	2590(5)	733(2)	49(2)	1

C27	2381(7)	4428(4)	190(2)	62(2)	1

C28	3197(6)	4993(4)	542(2)	45(2)	1

C29	2766(6)	6095(4)	492(2)	44(1)	1

C30	2835(7)	6227(4)	45(2)	47(2)	1

C31	2388(7)	5207(4)	225(2)	55(2)	1

C32	2303(6)	247(4)	1858(2)	34(1)	1

C33	1926(7)	1095(4)	2224(2)	47(2)	1

C34	1649(5)	599(4)	2705(2)	31(1)	1

C35	288(7)	558(5)	2939(2)	56(2)	1

C36	28(8)	74(6)	3371(3)	71(2)	1

C37	1133(9)	354(5)	3575(2)	61(2)	1

C38	2431(8)	299(5)	3346(2)	65(2)	1

C39	2721(6)	153(5)	2917(2)	53(2)	1

C40	2908(7)	1939(5)	2161(2)	57(2)	1

C41	2560(9)	2806(5)	2505(2)	66(2)	1

C42	3428(10)	3640(5)	2279(3)	75(2)	1

C43	3701(12)	3438(6)	1771(3)	92(3)	1

C44	2965(9)	2476(5)	1676(2)	67(2)	1

Table 3. Bond lengths [Å] and angles [°].

Sb1C13	1.952(4)

Sb1O1	2.137(3)

Sb1O3	2.151(3)

Sb1C7	2.152(6)

Sb1C1	2.283(5)

O1C19	1.516(7)

O2C19	1.166(6)

O3C32	1.169(6)

O4C32	1.313(7)

C1C6	1.224(6)

C1C2	1.385(7)

C2C3	1.479(8)

C3C4	1.201(7)

C4C5	1.379(8)

C5C6	1.484(8)

C7C12	1.340(7)

C7C8	1.496(8)

C8C9	1.384(8)

C9C10	1.331(9)

C10C11	1.426(9)

C11C12	1.454(8)

C13C18	1.442(7)

C13C14	1.531(8)

C14C15	1.312(7)

C15C16	1.403(9)

C16C17	1.529(10)

C17C18	1.314(7)

C19C20	1.490(8)

C20C21	1.380(7)

C20C27	1.502(9)

C21C22	1.440(9)

C21C26	1.559(9)

C22C23	1.229(8)

C23C24	1.529(12)

C24C25	1.465(12)

C25C26	1.237(9)

C27C28	1.394(7)

C27C31	1.574(9)

C28C29	1.517(7)

C29C30	1.558(9)

C30C31	1.486(8)

C32C33	1.614(8)

C33C40	1.488(9)

C33C34	1.580(8)

C34C39	1.255(7)

C34C35	1.550(9)

C35C36	1.461(10)

C36C37	1.301(10)

C37C38	1.488(11)

C38C39	1.429(10)

C40C44	1.567(9)

C40C41	1.579(9)

C41C42	1.577(10)

C42C43	1.538(12)

C43C44	1.460(10)

C13Sb1O1	88.78(16)

C13Sb1O3	93.06(17)

O1Sb1O3	175.84(12)

C13Sb1C7	98.9(2)

O1Sb1C7	98.36(16)

O3Sb1C7	77.67(17)

C13Sb1C1	138.06(19)

O1Sb1C1	84.94(15)

O3Sb1C1	96.14(15)

C7Sb1C1	123.08(17)

C19O1Sb1	125.3(3)

C32O3Sb1	110.8(4)

C6C1C2	110.4(5)

C6C1Sb1	115.9(4)

C2C1Sb1	133.7(3)

C1C2C3	130.0(4)

C4C3C2	120.2(5)

C3C4C5	110.0(5)

C4C5C6	130.8(5)

C1C6C5	118.7(5)

C12C7C8	119.6(5)

C12C7Sb1	115.8(4)

C8C7Sb1	124.5(3)

C9C8C7	124.4(5)

C10C9C8	116.7(6)

C9C10C11	119.8(6)

C10C11C12	126.0(5)

C7C12C11	113.6(5)

C18C13C14	128.9(4)

C18C13Sb1	115.7(4)

C14C13Sb1	115.2(3)

C15C14C13	117.5(6)

C14C15C16	113.3(6)

C15C16C17	130.1(5)

C18C17C16	117.6(6)

C17C18C13	112.5(6)

O2C19C20	108.3(6)

O2C19O1	126.5(5)

C20C19O1	125.2(5)

C21C20C19	107.2(5)

C21C20C27	120.3(6)

C19C20C27	108.0(6)

C20C21C22	111.2(6)

C20C21C26	118.7(6)

C22C21C26	130.0(5)

C23C22C21	107.7(6)

C22C23C24	123.0(7)

C25C24C23	129.8(5)

C26C25C24	107.5(7)

C25C26C21	121.9(7)

C28C27C20	119.8(5)

C28C27C31	97.4(5)

C20C27C31	111.4(6)

C27C28C29	109.5(4)

C28C29C30	98.6(4)

C31C30C29	100.8(5)

C30C31C27	111.6(5)

O3C32O4	121.6(5)

O3C32C33	105.9(5)

O4C32C33	132.5(5)

C40C33C34	127.5(5)

C40C33C32	103.7(5)

C34C33C32	111.0(4)

C39C34C35	116.6(5)

C39C34C33	112.7(5)

C35C34C33	130.7(5)

C36C35C34	132.4(5)

C37C36C35	107.4(7)

C36C37C38	119.3(6)

C39C38C37	132.9(6)

C34C39C38	111.3(6)

C33C40C44	123.8(5)

C33C40C41	106.0(6)

C44C40C41	105.0(5)

C42C41C40	94.7(6)

C43C42C41	116.1(6)

C44C43C42	100.4(7)

C43C44C40	108.3(6)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Sb1	34(1) 	25(1)	24(1) 	1(1)	10(1) 	2(1)

O1	39(2) 	28(2)	28(2) 	3(1)	17(2) 	4(2)

O2	54(3) 	48(2)	45(2) 	6(2)	8(2) 	6(2)

O3	38(2) 	28(2)	32(2) 	4(1)	16(2) 	0(2)

O4	46(2) 	42(2)	36(2) 	5(2)	24(2) 	9(2)

C1	37(3) 	24(2)	27(2) 	1(2)	10(2) 	2(2)

C2	38(3) 	34(3)	31(3) 	5(2)	10(2) 	4(2)

C3	41(3) 	33(3)	38(3) 	0(2)	3(2) 	10(2)

C4	56(4) 	31(3)	34(3) 	10(2)	3(2) 	2(3)

C5	56(4) 	45(3)	28(3) 	7(2)	16(2) 	2(3)

C6	45(3) 	36(3)	36(3) 	0(2)	20(2) 	2(2)

C7	36(3) 	37(3)	25(3) 	7(2)	11(2) 	4(2)

C8	33(3) 	39(3)	44(3) 	10(2)	15(2) 	3(2)

C9	34(3) 	44(3)	55(4) 	12(3)	13(3) 	1(2)

C10	29(3) 	66(4)	49(3) 	6(3)	9(2) 	9(3)

C11	42(4) 	59(4)	46(3) 	0(3)	9(3) 	15(3)

C12	36(3) 	42(3)	36(3) 	2(2)	13(2) 	8(2)

C13	31(3) 	27(2)	29(2) 	0(2)	19(2) 	8(2)

C14	61(4) 	30(3)	31(3) 	0(2)	19(2) 	2(3)

C15	70(4) 	40(3)	33(3) 	3(2)	20(3) 	16(3)

C16	63(4) 	39(3)	47(4) 	13(3)	37(3) 	10(3)

C17	61(4) 	34(3)	53(4) 	10(2)	30(3) 	6(3)

C18	31(3) 	34(3)	36(3) 	4(2)	19(2) 	3(2)

C19	55(4) 	27(3)	25(3) 	0(2)	16(2) 	8(2)

C20	78(5) 	47(4)	44(4) 	3(3)	21(3) 	18(3)

C21	54(3) 	32(3)	27(3) 	4(2)	13(2) 	2(2)

C22	53(4) 	39(3)	48(3) 	6(3)	6(3) 	3(3)

C23	53(4) 	38(3)	73(5) 	8(3)	28(3) 	1(3)

C24	119(7) 	34(4)	68(5) 	5(3)	65(5) 	6(4)

C25	133(8) 	60(4)	31(3) 	6(3)	18(4) 	48(5)

C26	42(3) 	60(4)	42(3) 	13(3)	8(3) 	10(3)

C27	75(5) 	37(3)	58(4) 	1(3)	41(3) 	10(3)

C28	56(4) 	32(3)	37(3) 	2(2)	24(3) 	2(2)

C29	41(3) 	39(3)	46(3) 	2(2)	13(2) 	11(2)

C30	46(3) 	40(3)	49(4) 	4(2)	11(3) 	6(2)

C31	64(4) 	42(3)	47(3) 	4(3)	32(3) 	2(3)

C32	49(3) 	25(2)	23(2) 	2(2)	6(2) 	5(2)

C33	72(4) 	35(3)	30(3) 	3(2)	5(3) 	4(3)

C34	35(3) 	26(2)	28(2) 	4(2)	11(2) 	2(2)

C35	54(4) 	45(3)	60(4) 	0(3)	16(3) 	7(3)

C36	65(5) 	74(5)	76(5) 	13(4)	22(4) 	0(4)

C37	100(6) 	40(3)	38(3) 	7(3)	7(3) 	6(4)

C38	78(5) 	56(4)	48(4) 	10(3)	34(3) 	7(3)

C39	43(3) 	59(4)	48(3) 	3(3)	23(3) 	5(3)

C40	68(4) 	42(3)	54(4) 	1(3)	12(3) 	12(3)

C41	115(6) 	41(4)	40(3) 	11(3)	6(4) 	21(4)

C42	97(6) 	65(5)	56(5) 	6(3)	13(4) 	3(4)

C43	137(8) 	76(5)	54(5) 	8(4)	12(5) 	18(5)

C44	114(6) 	52(4)	33(3) 	0(3)	10(3) 	12(4)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H2	4108	322	969	43	1

H3	4766	1301	358	46	1

H4	3496	1252	350	50	1

H5	1583	177	399	54	1

H6	894	813	208	50	1

H8	1116	42	1534	49	1

H9	3508	201	1564	56	1

H10	4558	1718	1352	60	1

H11	3232	3026	1108	61	1

H12	765	2911	1054	47	1

H14	1133	1497	2248	52	1

H15	2005	2511	2881	60	1

H16	3427	3828	2710	65	1

H17	4279	4143	1974	64	1

H18	3457	3124	1334	43	1

H20	3870	3491	3	71	1

H22	310	2860	4	58	1

H23	738	1962	615	70	1

H24	453	1521	1254	98	1

H25	2876	1900	1336	93	1

H26	3951	2785	716	59	1

H27	1415	4368	264	74	1

H28A	4194	4925	515	54	1

H28B	3057	4746	851	54	1

H29A	3432	6532	687	53	1

H29B	1817	6207	565	53	1

H30A	2187	6746	186	56	1

H30B	3789	6387	101	56	1

H31A	3029	4972	435	66	1

H31B	1444	5247	407	66	1

H33	992	1346	2081	56	1

H35	474	908	2774	67	1

H36	899	73	3479	85	1

H37	1151	690	3862	73	1

H38	3209	625	3516	78	1

H39	3592	120	2810	64	1

H40	3871	1703	2279	68	1

H41A	2934	2671	2834	79	1

H41B	1555	2958	2471	79	1

H42A	4337	3722	2479	90	1

H42B	2924	4276	2281	90	1

H43A	4706	3377	1754	110	1

H43B	3293	3960	1554	110	1

H44A	2011	2591	1513	80	1

H44B	3465	2056	1478	80	1