|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	04src0078

Empirical formula 	C13H19BF4N2

Formula weight 	290.11

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P-1

Unit cell dimensions	a = 8.6774(3) Å	a = 107.625(2)°

b = 9.0176(3) Å	b = 96.197(2)°

c = 10.0740(3) Å	g  = 102.871(2)°

Volume	719.23(4) Å3

Z	2

Density (calculated)	1.340 Mg / m3

Absorption coefficient	0.115 mm-1

F(000)	304

Crystal	plate; colourless

Crystal size	0.50 ´ 0.40 ´ 0.10 mm3

q range for data collection	2.95 - 27.50°

Index ranges	-11 £ h £ 11, -11 £ k £ 11, -13 £ l £ 13

Reflections collected	14070

Independent reflections	3278 [Rint = 0.1318]

Completeness to q = 27.50°	99.2 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9886 and 0.9448

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3278 / 0 / 185

Goodness-of-fit on F2	1.031

Final R indices [F2 > 2s(F2)]	R1 = 0.0517, wR2 = 0.1285

R indices (all data)	R1 = 0.0575, wR2 = 0.1338

Extinction coefficient	0.084(10)

Largest diff. peak and hole	0.315 and -0.271 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33-37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421-426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

B1	2740(2)	5130(2)	8069(2)	31(1)	1

F1	1791(2)	4389(2)	6745(1)	64(1)	1

F2	3580(1)	6689(1)	8217(1)	44(1)	1

F3	1793(1)	5177(1)	9101(1)	43(1)	1

F4	3853(1)	4266(1)	8260(1)	43(1)	1

C1	2077(2)	506(2)	791(2)	24(1)	1

C2	1656(2)	-1118(2)	663(2)	30(1)	1

C3	786(2)	-1513(2)	1636(2)	35(1)	1

C4	367(2)	-347(2)	2697(2)	36(1)	1

C5	780(2)	1269(2)	2822(2)	31(1)	1

C6	1640(2)	1664(2)	1836(2)	24(1)	1

C7	2961(2)	2873(2)	541(2)	26(1)	1

C8	3630(2)	630(2)	-1202(2)	33(1)	1

C9	2080(2)	4729(2)	2475(2)	28(1)	1

C10	3403(2)	5512(2)	3794(2)	24(1)	1

C11	3606(2)	7329(2)	4425(2)	26(1)	1

C12	5141(2)	8111(2)	5560(2)	35(1)	1

C13	2155(2)	7698(2)	5041(2)	34(1)	1

N1	2915(2)	1320(2)	3(1)	25(1)	1

N2	2210(2)	3129(1)	1629(1)	24(1)	1

Table 3. Bond lengths [Å] and angles [°].

B1-F1	1.371(2)

B1-F2	1.386(2)

B1-F3	1.390(2)

B1-F4	1.401(2)

C1-C2	1.390(2)

C1-N1	1.392(2)

C1-C6	1.393(2)

C2-C3	1.382(3)

C2-H2	0.9500

C3-C4	1.398(3)

C3-H3	0.9500

C4-C5	1.383(2)

C4-H4	0.9500

C5-C6	1.388(2)

C5-H5	0.9500

C6-N2	1.3898(19)

C7-N2	1.321(2)

C7-N1	1.3299(19)

C7-H7	0.9500

C8-N1	1.457(2)

C8-H8A	0.9800

C8-H8B	0.9800

C8-H8C	0.9800

C9-N2	1.4730(18)

C9-C10	1.525(2)

C9-H9A	0.9900

C9-H9B	0.9900

C10-C11	1.5284(19)

C10-H10A	0.9900

C10-H10B	0.9900

C11-C13	1.520(2)

C11-C12	1.530(2)

C11-H11	1.0000

C12-H12A	0.9800

C12-H12B	0.9800

C12-H12C	0.9800

C13-H13A	0.9800

C13-H13B	0.9800

C13-H13C	0.9800

F1-B1-F2	110.19(15)

F1-B1-F3	109.96(14)

F2-B1-F3	109.63(14)

F1-B1-F4	109.78(16)

F2-B1-F4	108.50(13)

F3-B1-F4	108.75(14)

C2-C1-N1	131.64(14)

C2-C1-C6	121.86(14)

N1-C1-C6	106.49(12)

C3-C2-C1	116.09(15)

C3-C2-H2	122.0

C1-C2-H2	122.0

C2-C3-C4	122.03(15)

C2-C3-H3	119.0

C4-C3-H3	119.0

C5-C4-C3	121.94(16)

C5-C4-H4	119.0

C3-C4-H4	119.0

C4-C5-C6	116.06(16)

C4-C5-H5	122.0

C6-C5-H5	122.0

C5-C6-N2	131.53(14)

C5-C6-C1	122.01(14)

N2-C6-C1	106.45(13)

N2-C7-N1	110.77(13)

N2-C7-H7	124.6

N1-C7-H7	124.6

N1-C8-H8A	109.5

N1-C8-H8B	109.5

H8A-C8-H8B	109.5

N1-C8-H8C	109.5

H8A-C8-H8C	109.5

H8B-C8-H8C	109.5

N2-C9-C10	111.37(12)

N2-C9-H9A	109.4

C10-C9-H9A	109.4

N2-C9-H9B	109.4

C10-C9-H9B	109.4

H9A-C9-H9B	108.0

C9-C10-C11	111.64(12)

C9-C10-H10A	109.3

C11-C10-H10A	109.3

C9-C10-H10B	109.3

C11-C10-H10B	109.3

H10A-C10-H10B	108.0

C13-C11-C10	111.91(13)

C13-C11-C12	110.51(13)

C10-C11-C12	109.69(12)

C13-C11-H11	108.2

C10-C11-H11	108.2

C12-C11-H11	108.2

C11-C12-H12A	109.5

C11-C12-H12B	109.5

H12A-C12-H12B	109.5

C11-C12-H12C	109.5

H12A-C12-H12C	109.5

H12B-C12-H12C	109.5

C11-C13-H13A	109.5

C11-C13-H13B	109.5

H13A-C13-H13B	109.5

C11-C13-H13C	109.5

H13A-C13-H13C	109.5

H13B-C13-H13C	109.5

C7-N1-C1	107.95(13)

C7-N1-C8	124.83(13)

C1-N1-C8	127.22(13)

C7-N2-C6	108.33(12)

C7-N2-C9	124.08(13)

C6-N2-C9	127.56(13)

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

B1	30(1) 	31(1)	32(1) 	13(1)	6(1) 	5(1)

F1	55(1) 	74(1)	42(1) 	11(1)	-12(1) 	-3(1)

F2	45(1) 	34(1)	58(1) 	23(1)	13(1) 	5(1)

F3	47(1) 	36(1)	54(1) 	21(1)	26(1) 	15(1)

F4	48(1) 	45(1)	51(1) 	28(1)	23(1) 	23(1)

C1	21(1) 	23(1)	24(1) 	6(1)	-2(1) 	5(1)

C2	26(1) 	24(1)	35(1) 	7(1)	-4(1) 	6(1)

C3	28(1) 	29(1)	49(1) 	20(1)	-3(1) 	2(1)

C4	27(1) 	45(1)	42(1) 	26(1)	6(1) 	7(1)

C5	25(1) 	38(1)	30(1) 	14(1)	4(1) 	10(1)

C6	21(1) 	25(1)	24(1) 	7(1)	-1(1) 	5(1)

C7	26(1) 	23(1)	24(1) 	7(1)	0(1) 	4(1)

C8	36(1) 	38(1)	25(1) 	6(1)	7(1) 	15(1)

C9	31(1) 	22(1)	26(1) 	2(1)	-1(1) 	10(1)

C10	25(1) 	23(1)	23(1) 	5(1)	2(1) 	6(1)

C11	32(1) 	21(1)	22(1) 	5(1)	3(1) 	5(1)

C12	34(1) 	27(1)	34(1) 	4(1)	-3(1) 	2(1)

C13	40(1) 	33(1)	26(1) 	3(1)	3(1) 	17(1)

N1	26(1) 	24(1)	21(1) 	4(1)	1(1) 	6(1)

N2	26(1) 	21(1)	22(1) 	4(1)	1(1) 	6(1)